## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-08395 | 14846993 | 06/01/2022 00:00 | 12/31/2024 23:59 | BOUNDARY-SACHEEN NO 1 230KV LINE (DERATED) | BOUNDARY-SACHEEN NO 1 230KV LINE (DERATED) | SOB
3 | 22-16315 | 14846842 | 11/01/2022 00:00 | 12/31/2024 23:59 | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | DAY MT SPOKANE-BELL SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
4 | 22-16314 | 14846799 | 11/01/2022 00:00 | 12/31/2024 23:59 | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SACHEEN-DAY MT SPOKANE SECTION OF SACHEEN-BELL NO 1 230KV LINE, -DERATE- | SOB
5 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
6 | 23-01684 | 11460660 | 02/03/2023 15:30 | 12/15/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
7 | 23-03222 | 11461724 | 02/10/2023 18:30 | 12/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
8 | 23-07371 | 14476627 | 06/02/2023 08:00 | 05/31/2024 15:00 | ST. JOHNS: 230/115KV TRANSFORMER 1 | ST. JOHNS: 230/115KV TRANSFORMER 1 | LOAD, SOA
9 | 23-14129 | 14869947 | 08/28/2023 17:00 | 04/25/2024 15:00 | FRANKLIN: 115KV CAP GROUP 1 SECTION 2 INCLUDING PCB B-2114 | FRANKLIN: PCB B-2114, FRANKLIN: 115KV CAP GROUP 1 SECTION 2 INCLUDING PCB B-2114, FRANKLIN: 115KV CAP GROUP 1 SECTION 2 | TCLA
10 | 23-15527 | 14677974 | 09/26/2023 08:00 | 06/14/2024 15:00 | CENTRAL FERRY: 500/230KV TRANSFORMER 1 | CENTRAL FERRY: 500/230KV TRANSFORMER 1 | WOH, WOLM
11 | 23-15950 |  | 10/03/2023 08:00 | 07/31/2026 16:00 | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2) | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2), TACOMA-TPWR NORTHEAST NO 2 230KV LINE
12 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
13 | 24-01603 | 13859445 | 01/11/2024 07:00 | 04/07/2024 18:00 | LADWP - VICTORVILLE-RINALDI 1 500KV LINE | LADWP - VICTORVILLE-RINALDI 1 500KV LINE | PDCI
14 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
15 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
16 | 24-03900 | 15148577 | 01/30/2024 12:00 | 05/15/2024 15:00 | RIVER ROAD-FRUIT VALLEY TAP 115KV LINE | RIVER ROAD-FRUIT VALLEY TAP 115KV LINE | LOAD
17 | 24-02936 | 15033125 | 02/26/2024 08:00 | 04/26/2024 15:00 | MCNARY-FRANKLIN NO 2 230KV LINE | MCNARY-FRANKLIN NO 2 230KV LINE, FRANKLIN: 230/115KV TRANSFORMER 4 | WOM, TCLA
18 | 24-03607 |  | 02/27/2024 07:00 | 04/15/2024 14:00 | -PACW- FISH CREEK-GRACE SECTION OF GOSHEN-FISH CREEK-GRACE 161KV LINE | -PACW- FISH CREEK-GRACE SECTION OF GOSHEN-FISH CREEK-GRACE 161KV LINE
19 | 24-00599 | 14847609 | 02/27/2024 07:00 | 04/29/2024 15:00 | OLYMPIA: OLYMPIA-DAYTON SECTION OF THE OLYMPIA-SHELTON NO 1 115KV LINE INCLUDING PCB B-688 | OLYMPIA: OLYMPIA-DAYTON SECTION OF THE OLYMPIA-SHELTON NO 1 115KV LINE INCLUDING PCB B-688, OLYMPIA-DAYTON SECTION OF OLYMPIA-SHELTON NO 1 115KV LINE, OLYMPIA: PCB B-688 | PA, RP
20 | 24-02909 | 15127008 | 02/28/2024 06:00 | 04/19/2024 18:00 | CITY OF RICHLAND-RICHLAND SECTION OF THE BADGER CANYON-RICHLAND NO 1 115KV LINE | CITY OF RICHLAND-RICHLAND SECTION OF THE BADGER CANYON-RICHLAND NO 1 115KV LINE | TCLA
21 | 24-00118 | 13115076 | 03/01/2024 08:00 | 06/19/2024 18:00 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SCL University - SCL Broad St 115kV Line, SCL Broad St Bank 65B, SCL Broad St Bank 65A, SCL Broad St BKR 120-50, SCL University BKR 120-48, SCL Broad St BKR 120-55 | SOC, NOEL
22 | 23-10013 | 13665404 | 03/18/2024 08:00 | 04/10/2024 16:00 | -EWEB- JESSEN TAP TO THE DANEBO-PRAIRIE #1 115KV LINE | -EWEB- JESSEN TAP TO THE DANEBO-PRAIRIE #1 115KV LINE, JESSEN TAP TO DANEBO-PRAIRIE (EWEB) 115KV LINE, DANEBO-JESSEN SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE, JESSEN-PRAIRIE SECTION OF DANEBO-PRAIRIE (EWEB) 115KV LINE | EWEB
23 | 24-03772 |  | 03/18/2024 08:00 | 04/12/2024 16:00 | BCH - BOUNDARY-NELWAY 1 230KV LINE (2L112) | BCH - BOUNDARY-NELWAY 1 230KV LINE (2L112)
24 | 24-03902 | 15148745 | 03/18/2024 08:00 | 04/12/2024 16:00 | BOUNDARY: A-1220 TERMINAL OF THE BOUNDARY-NELWAY NO 1 230KV LINE (2L112) | BOUNDARY: A-1220 TERMINAL OF THE BOUNDARY-NELWAY NO 1 230KV LINE (2L112) , BOUNDARY-NELWAY NO 1 230KV LINE | BCHT, GEN, NI, NOEL, SOB, SOC
25 | 24-00125 | 13268257 | 03/25/2024 08:00 | 04/06/2024 16:00 | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | TCLA
26 | 23-12043 | 13973506 | 03/25/2024 13:00 | 04/26/2024 16:00 | ALVEY-LANE #1 230KV LINE INCLUDING LANE: PCB'S A-1454, A-1456, THE 230KV A/B AND THE XFMR #1 230KV HIGH SIDE CONDUCTOR | ALVEY-LANE #1 230KV LINE INCLUDING LANE: PCB'S A-1454, A-1456, THE 230KV A/B AND THE XFMR #1 230KV HIGH SIDE CONDUCTOR, LANE: 230/115KV TRANSFORMER 1, ALVEY-LANE NO 1 230KV LINE, LANE: 230KV AUX BUS | EWEB, NWACI
27 | 24-00139 | 13578027 | 04/01/2024 06:30 | 04/02/2024 16:00 | TAFT-BELL NO. 1 500KV LINE INCLUDING BELL: 500KV SERIES CAP GROUP 1 AND PCB 5320 | TAFT-BELL NO. 1 500KV LINE INCLUDING BELL: 500KV SERIES CAP GROUP 1 AND PCB 5320, BELL: PCB 5301, BELL: PCB 5304, BELL: PCB 5320, BELL: PCB 4559, TAFT: PCB 4119, TAFT: PCB 4122, BELL: 500KV REACTOR 1, BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, TAFT: HSGS 7812, TAFT-BELL NO 1 500KV LINE | MT-NW, WOH, GEN, SIG, RP
28 | 24-00501 | 14203939 | 04/01/2024 07:00 | 04/15/2024 15:30 | KEELER: A-899 TERMINAL OF KEELER-PGE ST MARYS NO 1 230KV LINE | KEELER: PCB A-899, KEELER: A-899 TERMINAL OF KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER-PGE ST MARYS NO 1 230KV LINE | SOA, SIG, LOAD
29 | 24-00414 | 14153676 | 04/01/2024 07:00 | 04/01/2024 17:30 | PEARL-KEELER NO 1 500KV LINE INCLUDING PEARL: PCBS 4280, AND 4283 | PEARL-KEELER NO 1 500KV LINE INCLUDING PEARL: PCBS 4280, AND 4283, PEARL: PCB 4280, PEARL: PCB 4283, PEARL-KEELER NO 1 500KV LINE | SOA, NOPE, SIG, NWACI
30 | 24-01377 | 14765569 | 04/01/2024 07:30 | 04/04/2024 17:00 | WENDSON: 230KV MAIN BUS, INCLUDING: PCB'S A-1580 AND A-1581 | WENDSON: 230KV MAIN BUS, WENDSON: PCB A-1580, INCLUDING: PCB'S A-1580 AND A-1581, WENDSON: PCB A-1581, TOLEDO-WENDSON NO 1 230KV LINE, WENDSON: 230/115KV TRANSFORMER 1, WENDSON: PCB B-1784, WENDSON: PCB A-1578, WENDSON: PCB A-1579, WENDSON: PCB A-1582 | LOAD, SCORC
31 | 24-03629 | 15122668 | 04/01/2024 07:30 | 04/02/2024 15:30 | BELLINGHAM: 230/115KV TRANSFORMER 2 INCLUDING PCB'S A-487, B-933 | BELLINGHAM: 230/115KV TRANSFORMER 2 INCLUDING PCB'S A-487, B-933, BELLINGHAM: PCB A-487, BELLINGHAM: PCB B-933, BELLINGHAM: 230/115KV TRANSFORMER 2 | BCHW, LOAD, NOEL, SOC
32 | 24-04630 | 15226340 | 04/01/2024 08:00 | 04/02/2024 16:00 | PSE - SAMMAMISH-NOVELTY HILL NO. 2 230KV LINE | PSE - SAMMAMISH-NOVELTY HILL NO. 2 230KV LINE | NOEL, SOC
33 | 24-04456 | 15199624 | 04/01/2024 08:00 | 04/30/2024 18:00 | SCL - BOTHELL: 240/120KV BANK 64 | SCL - BOTHELL: 240/120KV BANK 64 | SOC, NOEL
34 | 23-06188 | 13230818 | 04/01/2024 08:00 | 04/19/2024 15:00 | PAUL-OLYMPIA NO 1 500KV LINE INCLUDING OLYMPIA 500/230KV BANK NO 5 | PAUL-OLYMPIA NO 1 500KV LINE INCLUDING OLYMPIA 500/230KV BANK NO 5, PAUL-OLYMPIA NO 1 500KV LINE, OLYMPIA: 500/230KV TRANSFORMER 5 | LOAD, RP, SIG, NOEL, IROL, SI
35 | 24-03815 | 15148476 | 04/01/2024 08:00 | 04/11/2024 16:00 | WAGNER LAKE TAP TO WILBUR TAP TO GRAND COULEE-CRESTON NO 1 115KV LINE | WAGNER LAKE TAP TO WILBUR TAP TO GRAND COULEE-CRESTON NO 1 115KV LINE, WAGNER LAKE: 115/34.5KV TRANSFORMER 1, WAGNER LAKE: 34.5KV PCB L-274, WAGNER LAKE: INLAND P+L 34.5KV FEEDER 1 BY AVISTA CORP | LOAD
36 | 24-04134 |  | 04/01/2024 08:00 | 04/03/2024 12:00 | KEELER-PGE ST MARYS NO 1 230KV LINE INCLUDING PCB A-899 | KEELER-PGE ST MARYS NO 1 230KV LINE INCLUDING PCB A-899, KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER: PCB A-899 | LOAD, SOA, NOPE, SIG
37 | 24-04141 |  | 04/01/2024 08:00 | 04/11/2024 15:00 | KEELER: 230KV SVC | KEELER: 230KV SVC, KEELER: PCB A-897, KEELER: 20KV PCB L-1675, KEELER: 230/20KV TRANSFORMER 4 | WOCS, SOA, NOPE, LOAD
38 | 24-00242 | 13945157 | 04/02/2024 08:00 | 04/04/2024 16:00 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1 INCLUDING PCB A-502 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1, SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1 INCLUDING PCB A-502, SANTIAM: PCB A-502 | SCORC, SLAL
39 | 24-00754 | 14398390 | 04/02/2024 08:00 | 04/04/2024 15:00 | CENTRAL FERRY: PCB 5400 | CENTRAL FERRY: PCB 5400 | WOH, WOLM, SIG
40 | 24-04922 | 15277966 | 04/02/2024 08:30 | 04/02/2024 15:30 | SOUTH TACOMA: PCB A-1301 | SOUTH TACOMA: PCB A-1301 | RP
41 | 24-00943 | 14516993 | 04/02/2024 09:00 | 04/11/2024 18:30 | DE MOSS-CONDON WIND SECT OF DE MOSS FOSSIL #1 115 KV LINE | DE MOSS-CONDON WIND SECT OF DE MOSS FOSSIL #1 115 KV LINE, DE MOSS-CONDON WIND SECTION OF DE MOSS-FOSSIL NO 1 115KV LINE | BGEDY
42 | 24-04636 |  | 04/03/2024 13:00 | 04/06/2024 14:00 | KEELER-PGE ST MARYS NO 1 230KV LINE INCLUDING FUTURE PCB A-866 | KEELER-PGE ST MARYS NO 1 230KV LINE INCLUDING FUTURE PCB A-866 , KEELER-PGE ST MARYS NO 1 230KV LINE | LOAD, SOA, NOPE
43 | 24-01355 | 14743840 | 04/04/2024 07:00 | 04/04/2024 15:00 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2 INCLUDING PCB A-1007 | COVINGTON: PCB A-1007, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2 INCLUDING PCB A-1007, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2 | NOEL, SOC, WOCN
44 | 24-00958 | 14524227 | 04/04/2024 08:00 | 04/04/2024 17:00 | JOHN DAY: 500KV WEST BUS INCLUDING PCB'S 4143 & 4134 | JOHN DAY: 500KV WEST BUS INCLUDING PCB'S 4143 & 4134, JOHN DAY: 500KV WEST BUS, JOHN DAY: PCB 4143, JOHN DAY: PCB 4134 | WOJD, NWACI, PDCI, GRZN
45 | 24-00850 | 14931281 | 04/05/2024 08:01 | 04/05/2024 13:00 | KEELER: 230KV WEST MAIN BUS INCLUDING PCB A-870 | KEELER: 230KV WEST MAIN BUS INCLUDING PCB A-870, KEELER: 230KV REACTIVE GROUP 2 REACTOR 1, KEELER: PCB A-873, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 2, KEELER: LBD A-857, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 3, KEELER: PCB A-859, KEELER: PCB A-858, KEELER: 230/115KV TRANSFORMER 1, KEELER: PCB A-860, RIVERGATE-KEELER NO 1&2 230KV LINE, KEELER: PCB A-862, KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: 230KV AUX BUS, KEELER: PCB A-872 | SOA, NOPE, WOCS, LOAD
46 | 24-00950 | 14931271 | 04/05/2024 13:01 | 04/05/2024 15:00 | KEELER-PGE HORIZON NO 1 230KV LINE | KEELER-PGE HORIZON NO 1 230KV LINE, KEELER: PCB A-870 | SOA, NOPE
47 | 24-04644 |  | 04/06/2024 08:00 | 04/15/2024 15:00 | KEELER-PGE ST MARYS NO 1 230KV LINE | KEELER-PGE ST MARYS NO 1 230KV LINE | LOAD, SOA, NOPE
48 | 24-00054 | 12873597 | 04/08/2024 05:00 | 04/18/2024 17:00 | CHIEF JOSEPH: A-580 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 230KV LINE | CHIEF JOSEPH PH-CHIEF JOSEPH NO 2 230KV LINE, CHIEF JOSEPH: A-580 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 230KV LINE | GEN, NOH, FCRPS
49 | 24-04710 | 15246228 | 04/08/2024 07:00 | 04/08/2024 15:00 | MONROE-SNOHOMISH NO 1&2 230KV LINE, INCLUDING PCB A-182 AND THE 230KV AUX BUS SECTION 4 | HORSE RANCH TAP TO MONROE-SNOHOMISH NO 1&2 230KV LINE, MONROE-SNOHOMISH NO 1&2 230KV LINE, INCLUDING PCB A-182 AND THE 230KV AUX BUS SECTION 4, SNOHOMISH: PCB A-182, SNOHOMISH: 230KV AUX BUS SECTION 4, MONROE-SNOHOMISH NO 1&2 230KV LINE | BCHT, BCHW, NOEL, SOC, SIG
50 | 24-03940 | 15156034 | 04/08/2024 07:45 | 04/08/2024 17:00 | WENDSON: 115KV MAIN BUS, INCLUDING: PCB B-1784 AND 230/115KV TRANSFORMER #1 AND THREE-PHASE STAION SERVICE TRANSFORMER | WENDSON: 115KV MAIN BUS, WENDSON: PCB B-1778, INCLUDING: PCB B-1784 AND 230/115KV TRANSFORMER #1 AND THREE-PHASE STAION SERVICE TRANSFORMER, WENDSON: PCB B-1779, WENDSON: PCB B-1783, WENDSON: PCB B-1784, WENDSON: 230/115KV TRANSFORMER 1, WENDSON: PCB A-1578, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1, 230/115KV TIE NO 1 115KV LINE, WENDSON: CENTRAL LINC PUD 115KV FEEDER 1 | LOAD, SCORC
51 | 23-06959 | 13323257 | 04/08/2024 08:00 | 04/10/2024 17:00 | RURAL TAP OF THE HEYBURN-ADELAIDE NO 1 138KV LINE | RURAL TAP OF THE HEYBURN-ADELAIDE NO 1 138KV LINE, RURAL-ROE'S CORNER SECTION OF THE HEYBURN ADELAIDE NO1 138KV LINE, HAY MILL-RURAL SECTION OF THE HEYBURN-ADELAIDE NO 1 138KV LINE, HAY MILL-ROE'S CORNER SECTION OF HEYBURN-ADELAIDE NO 1 138KV LINE, RURAL TAP: UEC 138KV FEEDER NO 1 | SEIL
52 | 24-04649 |  | 04/08/2024 08:00 | 04/11/2024 15:00 | KEELER-PGE HORIZON NO 2 230KV LINE INCLUDING PCB A-899 | KEELER-PGE HORIZON NO 2 230KV LINE INCLUDING PCB A-899 , KEELER-PGE HORIZON NO 2 230KV LINE, KEELER: PCB A-899 | SOA, SIG, NOPE
53 | 24-01387 | 14973525 | 04/08/2024 08:00 | 04/10/2024 15:00 | ROUNDUP-LA GRANDE NO 1 230KV LINE INCLUDING LA GRANDE PCB A-272 | LA GRANDE: PCB A-272, ROUNDUP-LA GRANDE NO 1 230KV LINE INCLUDING LA GRANDE PCB A-272, ROUNDUP-LA GRANDE NO 1 230KV LINE | ID-NW, GEN, SIG, NWACI, PDCI
54 | 24-00905 | 14483978 | 04/09/2024 06:30 | 04/12/2024 17:00 | POTHOLES: A-969 TERMINAL OF THE POTHOLES-GRAND COULEE #1 230KV LINE | POTHOLES: A-969 TERMINAL OF THE POTHOLES-GRAND COULEE #1 230KV LINE, POTHOLES-GRAND COULEE NO 1 230KV LINE, POTHOLES: PCB A-969 | NOH
55 | 24-00077 | 14975191 | 04/09/2024 08:00 | 04/09/2024 15:00 | KEELER: 500KV WEST BUS INCLUDING 500KV CAP GROUP 3 AND PCB'S 4322 AND 4763 (FORCES OUT PEARL-KEELER 1 500KV LINE) | KEELER: PCB 4322, KEELER: 500KV WEST BUS INCLUDING 500KV CAP GROUP 3 AND PCB'S 4322 AND 4763 (FORCES OUT PEARL-KEELER 1 500KV LINE), KEELER: PCB 4763, KEELER: 500KV WEST BUS, PEARL-KEELER NO 1 500KV LINE, KEELER: 500KV CAP GROUP 3 | SOA, NOPE, SIG, NWACI, WOCS
56 | 24-00951 | 14531332 | 04/09/2024 08:00 | 04/09/2024 15:00 | KEELER: 230KV EAST MAIN BUS INCLUDING FUTURE PCB A-866 | KEELER: 230KV EAST MAIN BUS INCLUDING FUTURE PCB A-866, KEELER: PCB A-865, KEELER: PCB A-867, KEELER: 500/230KV TRANSFORMER 2, KEELER: PCB A-899, KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER: PCB A-896, KEELER: 230/115KV TRANSFORMER 3, KEELER: PCB A-897, KEELER: 230KV SVC | SOA, WOCS, SIG, NOPE, LOAD, NWACI
57 | 24-03942 | 15156068 | 04/09/2024 12:00 | 05/21/2024 17:00 | WENDSON: 230/115KV TRANSFORMER 1, INCLUDING: PCBs: A-1578, PCB B-1784 AND A-1578 A/B DISC, B-1784 M/B DISC, B-1784 M/B DISC AND THREE-PHASE STATION SERVICE TRANSFORMER #1 | WENDSON: PCB B-1784, WENDSON: 230/115KV TRANSFORMER 1, INCLUDING: PCBs: A-1578, PCB B-1784 AND A-1578 A/B DISC, B-1784 M/B DISC, B-1784 M/B DISC AND THREE-PHASE STATION SERVICE TRANSFORMER #1, WENDSON: PCB A-1578, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1, 230/115KV TIE NO 1 115KV LINE | LOAD, SCORC
58 | 24-01153 |  | 04/10/2024 07:00 | 04/12/2024 07:00 | 451B-WHITE BLUFFS SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE INCLUDING WHITE BLUFFS: PCB B-263 AND THE 115kV AUX BUS | 451B-WHITE BLUFFS SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE, 451B-WHITE BLUFFS SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE INCLUDING WHITE BLUFFS: PCB B-263 AND THE 115kV AUX BUS, WHITE BLUFFS: PCB B-263, WHITE BLUFFS: 115KV AUX BUS
59 | 24-03864 | 15143860 | 04/10/2024 07:00 | 04/10/2024 16:00 | PEARL: A-1165 TERMINAL OF MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | PEARL: PCB A-1165, PEARL: A-1165 TERMINAL OF MCLOUGHLIN-SHERWOOD NO 1 230KV LINE, PEARL-SHERWOOD SECTION OF MCLOUGHLIN-SHERWOOD NO 1 230KV LINE | SOA, NOPE
60 | 24-00573 | 14316772 | 04/11/2024 07:30 | 04/11/2024 16:00 | GRAND COULEE-BELL NO 6 500KV LINE INCLUDING PCB 5313 AND PCB 5316 | GRAND COULEE-BELL NO 6 500KV LINE INCLUDING PCB 5313 AND PCB 5316, GRAND COULEE-BELL NO 6 500KV LINE, BELL: PCB 5313, BELL: PCB 5316 | GEN, MT-NW, SIG, WOH, NOH
61 | 24-02375 | 14900499 | 04/11/2024 07:30 | 04/11/2024 15:00 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3 INCLUDING PCB A-999 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3 INCLUDING PCB A-999, COVINGTON: PCB A-999, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3 | RP, NOEL, SOC, WOCN
62 | 24-01112 | 14784339 | 04/11/2024 08:00 | 04/11/2024 15:00 | JONES CANYON: 230KV CAP GROUP 1 SECT 2 INCLUDING PCB A-1689 | JONES CANYON: PCB A-1689, JONES CANYON: 230KV CAP GROUP 1 SECT 2 INCLUDING PCB A-1689, JONES CANYON: 230KV CAP GROUP 1 SECTION 2 | WOCS
63 | 24-01478 | 15065687 | 04/11/2024 08:00 | 04/11/2024 15:30 | KEELER: 230/115KV TRANSFORMER 1 | KEELER: 230/115KV TRANSFORMER 1, KEELER: PCB A-860, KEELER: PCB B-1066, KEELER: 13.8KV PCB 1W STATION SERVICE 1 | SOA, LOAD, NOPE
64 | 24-00936 | 14512490 | 04/11/2024 10:00 | 04/11/2024 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
65 | 24-00937 | 14512495 | 04/11/2024 11:00 | 04/11/2024 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
66 | 24-01518 | 14784373 | 04/11/2024 12:30 | 04/11/2024 13:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
67 | 24-03014 | 15078983 | 04/11/2024 13:30 | 04/11/2024 14:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
68 | 24-04655 |  | 04/11/2024 15:01 | 04/17/2024 15:00 | KEELER-PGE HORIZON NO 2 230KV LINE | KEELER-PGE HORIZON NO 2 230KV LINE
69 | 24-01154 |  | 04/12/2024 07:00 | 04/12/2024 17:00 | WHITE BLUFFFS: 115kV MAIN BUS SECTION 2 INCLUDING THE 451B-WHITE BLUFFS SECTION OF BENTON-WHITE BLUFFS NO 2 115kV LINE, WHITE BLUFFS 115kV AUX BUS AND PCB B-263 | 451B-WHITE BLUFFS SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE, WHITE BLUFFFS: 115kV MAIN BUS SECTION 2 INCLUDING THE 451B-WHITE BLUFFS SECTION OF BENTON-WHITE BLUFFS NO 2 115kV LINE, WHITE BLUFFS 115kV AUX BUS AND PCB B-263, WHITE BLUFFS: PCB B-263, WHITE BLUFFS: 115KV AUX BUS, WHITE BLUFFS: 115KV MAIN BUS SECTION 2, WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE, WHITE BLUFFS: 115KV CAP GROUP 1 | TCLA, LOAD
70 | 24-04547 | 15207257 | 04/15/2024 06:30 | 04/15/2024 07:00 | THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH-BIG EDDY NO 5 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T7, THE DALLES PH: 230/13.8KV TRANSFORMER T8 | GEN, FCRPS
71 | 23-00083 | 11346150 | 04/15/2024 07:00 | 04/26/2024 16:00 | MIDWAY-BENTON NO 2 230KV LINE | MIDWAY-BENTON NO 2 230KV LINE, MIDWAY: PCB A-56, BENTON: 230/115KV TRANSFORMER 1, BENTON: PCB B-525 | GEN, TCLA, WOM, LOAD
72 | 24-03455 | 15156219 | 04/15/2024 07:00 | 04/16/2024 16:00 | JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688 | JONES CANYON: PCB A-1688, JONES CANYON: 230KV CAP GROUP 1 SECTION 1 INCLUDING PCB A-1688, JONES CANYON: 230KV CAP GROUP 1 SECTION 1 | WOCS
73 | 24-02432 | 14935541 | 04/15/2024 07:00 | 04/19/2024 07:00 | WHITE BLUFFS: 230/115/13.8kV TRANSFORMER 1 INCLUDING THE ASHE-WHITE BLUFFS NO 1 230kV LINE | WHITE BLUFFS: 230/115/13.8KV TRANSFORMER 1, WHITE BLUFFS: 230/115/13.8kV TRANSFORMER 1 INCLUDING THE ASHE-WHITE BLUFFS NO 1 230kV LINE , ASHE-WHITE BLUFFS NO 1 230KV LINE, WHITE BLUFFS: PCB B-270 | GEN, TCLA, LOAD, FCRPS
74 | 24-00408 | 14894222 | 04/15/2024 08:00 | 04/18/2024 16:00 | CARLTON: 230/115KV TRANSFORMER 1 | CARLTON: 230/115KV TRANSFORMER 1 | LOAD, SOA
75 | 24-00968 | 14522858 | 04/15/2024 08:00 | 04/22/2024 16:00 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | SIFTON: PCB B-1511, NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP, SIFTON: 230/115KV TRANSFORMER 1, SIFTON: 230KV WEST MAIN BUS, SIFTON: 230KV AUX BUS, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 2 230KV LINE, ROSS: PCB A-22, NORTH BONNEVILLE: PCB A-14 | SOA, GEN, WOCS, LOAD
76 | 24-00969 | 14522902 | 04/15/2024 08:00 | 04/22/2024 16:00 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE, NORTH BONNEVILLE: PCB A-16, TROUTDALE: PCB A-125 | GEN, LOAD, WOCS, FCRPS
77 | 24-00247 | 13975578 | 04/15/2024 08:00 | 04/15/2024 16:00 | SANTIAM-ALBANY NO. 1 230KV LINE INCLUDING SANTIAM: PACW 230/69KV TRANSFORMER 2, 230KV LBD A-538, AND 230KV AUX BUS | SANTIAM-ALBANY NO 1 230KV LINE, SANTIAM-ALBANY NO. 1 230KV LINE INCLUDING SANTIAM: PACW 230/69KV TRANSFORMER 2, 230KV LBD A-538, AND 230KV AUX BUS, SANTIAM: 230KV AUX BUS, SANTIAM: PACW 230/69KV TRANSFORMER 2, SANTIAM: LBD A-538, SANTIAM: PCB A-514, SANTIAM: 69KV PCB L-1114, ALBANY: 230/115KV TRANSFORMER 1, ALBANY: PCB B-520 | SCORC, SLAL
78 | 24-01168 | 14833767 | 04/15/2024 08:00 | 04/18/2024 15:00 | LOWER MONUMENTAL: PCB 4600 INCLUDING 500KV REACTOR 1 | LOWER MONUMENTAL: PCB 4600 INCLUDING 500KV REACTOR 1
79 | 24-02018 | 14950353 | 04/15/2024 08:00 | 04/25/2024 15:00 | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE | GRANDVIEW-PROSSER SECTION OF GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE, GRANDVIEW: PCB B-920 | GEN, TCLA, LOAD
80 | 24-01291 | 14743938 | 04/16/2024 07:00 | 04/16/2024 15:00 | BELL-IPL TRENTWOOD SECTION OF BELL-TRENTWOOD NO 1 115KV LINE INCLUDING BELL: 115KV AUX BUS AND PCB B-362 | BELL-IPL TRENTWOOD SECTION OF BELL-TRENTWOOD NO 1 115KV LINE INCLUDING BELL: 115KV AUX BUS AND PCB B-362, BELL: 115KV AUX BUS, BELL: PCB B-362, BELL-IPL TRENTWOOD SECTION OF BELL-TRENTWOOD NO 1 115KV LINE
81 | 24-04310 | 15190688 | 04/16/2024 07:00 | 04/16/2024 09:00 | COLVILLE: 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 INCLUDING PCB'S B-1769, B-1771, B-1773, & B-1780 | COLVILLE: 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 INCLUDING PCB'S B-1769, B-1771, B-1773, & B-1780, COLVILLE: 115KV CAP GROUP 1 SECTION 1, COLVILLE: 115KV CAP GROUP 1 SECTION 2, COLVILLE: 115KV CAP GROUP 1 SECTION 3, COLVILLE: PCB B-1769, COLVILLE: PCB B-1771, COLVILLE: PCB B-1773, COLVILLE: PCB B-1780
82 | 24-01239 | 14668954 | 04/16/2024 07:00 | 04/16/2024 14:00 | GOSHEN-DRUMMOND #1 161KV LINE INCLUDING DRUMMOND 161/115KV XFMR #4 | GOSHEN-DRUMMOND #1 161KV LINE INCLUDING DRUMMOND 161/115KV XFMR #4, DRUMMOND: 161/115KV TRANSFORMER 4, GOSHEN-DRUMMOND NO 1 161KV LINE | GEN, LOAD, SEIL
83 | 24-00065 | 12879880 | 04/16/2024 08:00 | 04/17/2024 16:00 | GRIZZLY: 500KV NORTH BUS, INCLUDING PCB 4058 | GRIZZLY: 500KV NORTH BUS, INCLUDING PCB 4058 | NWACI, COI, PDCI
84 | 24-02390 | 14929445 | 04/16/2024 08:00 | 04/24/2024 15:00 | OLYMPIA-DAYTON SECTION OF OLYMPIA-SHELTON NO 1 115KV LINE | OLYMPIA-DAYTON SECTION OF OLYMPIA-SHELTON NO 1 115KV LINE | PA, RP
85 | 24-00248 | 13990438 | 04/16/2024 08:00 | 04/16/2024 16:00 | TUMBLE CREEK-SANTIAM SECTION OF JONES CANYON-SANTIAM NO. 1 230KV LINE INCLUDING SANTIAM: 230KV AUX BUS AND PCB A-528 | TUMBLE CREEK-SANTIAM SECTION OF JONES CANYON-SANTIAM NO 1 230KV LINE, TUMBLE CREEK-SANTIAM SECTION OF JONES CANYON-SANTIAM NO. 1 230KV LINE INCLUDING SANTIAM: 230KV AUX BUS AND PCB A-528 , SANTIAM: 230KV AUX BUS, SANTIAM: PCB A-528, SANTIAM: PCB A-530 | GEN, WOCS, WOM, SLAL, SCORC
86 | 24-04311 | 15199194 | 04/16/2024 09:30 | 04/16/2024 11:00 | ADDY: 230KV CAP GROUP 1 INCLUDING PCB A-147 | ADDY: 230KV CAP GROUP 1 INCLUDING PCB A-147, ADDY: 230KV CAP GROUP 1, ADDY: PCB A-147 | SOB
87 | 24-03816 | 15142034 | 04/16/2024 12:00 | 04/16/2024 15:00 | DEER PARK: 115KV CAP GROUP 1 INCLUDING PCB B-1913 | DEER PARK: 115KV CAP GROUP 1 INCLUDING PCB B-1913, DEER PARK: PCB B-1913, DEER PARK: 115KV CAP GROUP 1
88 | 24-03788 | 15143075 | 04/17/2024 07:00 | 04/17/2024 09:00 | BELL: 230KV CAP GROUP 10 SECTIONS 1 AND 2 INCLUDING LBDS A-925 AND A-926 | BELL: 230KV CAP GROUP 10 SECTION 1, BELL: 230KV CAP GROUP 10 SECTIONS 1 AND 2 INCLUDING LBDS A-925 AND A-926, BELL: 230KV CAP GROUP 10 SECTION 2, BELL: LBD A-925, BELL: LBD A-926, BELL: PCB A-368 | MT-NW, WOH
89 | 23-17982 | 14751401 | 04/17/2024 07:00 | 04/17/2024 16:00 | BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCB L-482 | BELL: PCB A-376, BELL: 230/115KV TRANSFORMER 6 INCLUDING 13.8KV GROUNDING TRANSFORMER 6 AND PCB L-482, BELL: PCB B-900, BELL: 13.8KV PCB L-482, BELL-AVA BEACON NO 2 115KV LINE, BELL: 230/115KV TRANSFORMER 6, BELL: 13.8KV GROUNDING TRANSFORMER 6 | MT-NW, WOH
90 | 24-01292 | 14784514 | 04/17/2024 07:00 | 04/17/2024 15:00 | BELL: 230KV MAIN BUS SECT 0 INCLUDING 230KV MAIN BUS RING SECT, PCB A-362, PCB A-375, AND PCB A-377 | BELL: 230KV MAIN BUS SECT 0 INCLUDING 230KV MAIN BUS RING SECT, PCB A-362, PCB A-375, AND PCB A-377 , BELL: 230KV MAIN BUS SECTION 0, BELL: 230KV MAIN BUS RING SECTION, BELL: PCB A-362, BELL: PCB A-375, BELL: PCB A-377 | MT-NW, WOH
91 | 23-06253 |  | 04/17/2024 08:00 | 04/17/2024 17:00 | BIG EDDY: 230KV MAIN BUS SECTIONS 3 AND 4 INCLUDING PCB'S A-830, A-832, A-834, A-836, A-840, A-842, A-1310 AND A-838 | BIG EDDY: 230KV MAIN BUS SECTIONS 3 AND 4 INCLUDING PCB'S A-830, A-832, A-834, A-836, A-840, A-842, A-1310 AND A-838
92 | 24-04993 | 15253347 | 04/17/2024 08:00 | 04/17/2024 12:00 | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5320 | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 5320 | WOH
93 | 24-03790 | 15157092 | 04/17/2024 09:00 | 04/17/2024 11:00 | BELL: 230KV CAP GROUP 9 SECTIONS 1 2 AND 3 INCLUDING PCBS A-931 A-932 AND A-933 | BELL: PCB A-931, BELL: 230KV CAP GROUP 9 SECTIONS 1 2 AND 3 INCLUDING PCBS A-931 A-932 AND A-933, BELL: PCB A-932, BELL: PCB A-933, BELL: 230KV CAP GROUP 9 SECTION 1, BELL: 230KV CAP GROUP 9 SECTION 2, BELL: 230KV CAP GROUP 9 SECTION 3, BELL: 230KV CAP GROUP 9 REACTIVE BUS, BELL: PCB A-378 | MT-NW, WOH
94 | 24-03792 | 15157118 | 04/17/2024 11:00 | 04/17/2024 13:00 | BELL: 230KV CAP GROUP 1 | BELL: 230KV CAP GROUP 1, BELL: PCB A-556 | MT-NW, WOH
95 | 24-01293 | 14744115 | 04/18/2024 07:00 | 04/18/2024 15:00 | BELL: 230KV AUX BUS SECTION 2 INCLUDING 230KV CAP GROUP 10 SECTIONS 1 AND 2 | BELL: 230KV AUX BUS SECTION 2 INCLUDING 230KV CAP GROUP 10 SECTIONS 1 AND 2, BELL: 230KV AUX BUS SECTION 2, BELL: 230KV CAP GROUP 10 SECTION 1, BELL: 230KV CAP GROUP 10 SECTION 2, BELL: PCB A-368 | MT-NW, WOH
96 | 24-00067 | 14694554 | 04/18/2024 08:00 | 05/08/2024 16:00 | BUCKLEY-GRIZZLY NO 1 500KV LINE | BUCKLEY-GRIZZLY NO 1 500KV LINE, SLATT-BUCKLEY NO 1 500KV LINE, BUCKLEY-MARION NO 1 500KV LINE | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN, WOM, WOS, WOCS
97 | 24-03795 | 15160925 | 04/18/2024 10:00 | 04/18/2024 12:00 | TRENTWOOD: 115KV CAP GROUP 1 SECTION 1 AND SECTION 2 INCLUDING PCB B-1935, PCB B-1937, PCB B-1938 AND THE 115KV REACTIVE BUS | TRENTWOOD: 115KV CAP GROUP 1 SECTION 1 AND SECTION 2 INCLUDING PCB B-1935, PCB B-1937, PCB B-1938 AND THE 115KV REACTIVE BUS, TRENTWOOD: 115KV CAP GROUP 1 SECTION 1, TRENTWOOD: 115KV CAP GROUP 1 SECTION 2, TRENTWOOD: PCB B-1935, TRENTWOOD: PCB B-1937, TRENTWOOD: PCB B-1938, TRENTWOOD: 115KV REACTIVE BUS | LOAD
98 | 24-02213 | 15114621 | 04/19/2024 06:00 | 04/19/2024 18:00 | TAPTEAL-RICHLAND SECTION OF BADGER CANYON-RICHLAND NO 1 115KV LINE INCLUDING PCB B-504 , THE B-504 M/B DISCONNECT, AND THE RICHLAND 115KV A/B | RICHLAND: CITY OF RICHLAND 115KV FEEDER 1, TAPTEAL-RICHLAND SECTION OF BADGER CANYON-RICHLAND NO 1 115KV LINE INCLUDING PCB B-504 , THE B-504 M/B DISCONNECT, AND THE RICHLAND 115KV A/B, CITY OF RICHLAND TAP TO BADGER CANYON-RICHLAND NO 1 115KV LINE, RICHLAND: PCB B-504, TAPTEAL-RICHLAND SECTION OF BADGER CANYON-RICHLAND NO 1 115KV LINE, TAPTEAL: CITY OF RICHLAND 115KV FEEDER 2, RICHLAND: 115KV AUX BUS | TCLA
99 | 24-01140 |  | 04/19/2024 07:00 | 05/23/2024 14:00 | COLUMBIA FALLS - FLATHEAD #1 230KV LINE INCLUDING FLATHEAD: PCB A-221 | COLUMBIA FALLS - FLATHEAD #1 230KV LINE INCLUDING FLATHEAD: PCB A-221, COLUMBIA FALLS-FLATHEAD NO 1 230KV LINE, FLATHEAD: PCB A-221 | GEN, LOAD, MT-NW, FLAT
100 | 24-04392 | 15199477 | 04/20/2024 07:00 | 04/28/2024 16:00 | TPWR COWLITZ-COVINGTON SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | TPWR COWLITZ-COVINGTON SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE | RP, SOA, NOPE
101 | 24-04394 | 15199585 | 04/20/2024 07:00 | 04/20/2024 08:00 | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE INCLUDING COWLITZ TAP | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE INCLUDING COWLITZ TAP, COWLITZ TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE | RP, NOEL, SOC, LOAD
102 | 24-04578 | 15225386 | 04/22/2024 04:30 | 04/26/2024 15:00 | -COE- LIBBY PH-LIBBY NO 2 230KV LINE | LIBBY PH: 230/13.8KV TRANSFORMER T2, -COE- LIBBY PH-LIBBY NO 2 230KV LINE, LIBBY PH: 230/13.8KV TRANSFORMER T3, LIBBY: PCB A-1587, LIBBY PH: 230/13.8KV BANK T2, LIBBY PH: MOD-2-LS, LIBBY PH: MOD-3-LS, LIBBY PH-LIBBY NO 2 230KV LINE | MT-NW, FLAT, GEN, FCRPS
103 | 24-02216 | 15153764 | 04/22/2024 06:00 | 04/23/2024 17:00 | RICHLAND: 115KV MAIN BUS INCLUDING RICHLAND PCB B-504 | RICHLAND: PCB B-312, RICHLAND: 115KV MAIN BUS INCLUDING RICHLAND PCB B-504, RICHLAND: PCB B-502, RICHLAND: PCB B-506, RICHLAND: CAP GROUP 1 SECTION 1 (NEW), RICHLAND: CAP GROUP 2 SECTION 1 (NEW), RICHLAND: PCB B-504, RICHLAND: 115KV MAIN BUS, CITY OF RICHLAND-RICHLAND SECTION OF THE BADGER CANYON-RICHLAND NO 1 115KV LINE | TCLA, LOAD
104 | 24-03030 | 15156653 | 04/22/2024 07:00 | 04/22/2024 17:00 | LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-640, 230/13.8KV TRANSFORMER 1, 13.8KV SS TRANSFORMERS AND 13.8KV GROUNDING BANK | LONGVIEW: 230KV SOUTH MAIN BUS, LONGVIEW: 230KV SOUTH MAIN BUS INCLUDING PCB A-640, 230/13.8KV TRANSFORMER 1, 13.8KV SS TRANSFORMERS AND 13.8KV GROUNDING BANK, LONGVIEW: PCB A-640, LONGVIEW: PCB A-98, LONGVIEW: PCB A-100, LONGVIEW: PCB A-104, LONGVIEW: PCB A-106, LONGVIEW: PCB A-1960, LONGVIEW-ALLSTON NO 1 230KV LINE, LONGVIEW-ALLSTON NO 2 230KV LINE, LONGVIEW: 230/115KV TRANSFORMER 3, LONGVIEW: PCB B-328 | SOA, LOAD, NOPE
105 | 24-04386 | 15204755 | 04/22/2024 07:00 | 04/22/2024 14:00 | DRUMMOND: PCB B-1682 INCLUDING 115KV CAP GROUP #1 | DRUMMOND: PCB B-1682 INCLUDING 115KV CAP GROUP #1, DRUMMOND: 115KV CAP GROUP 1, DRUMMOND: PCB B-1682 | SEIL, LOAD
106 | 23-12720 | 15206756 | 04/22/2024 07:00 | 04/22/2024 17:00 | WHITE BLUFFS-GATEWAY (COR) SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE INCLUDING WHITE BLUFFS: 115KV MAIN BUS SECTION 1, 115KV AUX BUS AND PCB B-247 | WHITE BLUFFS: 115KV MAIN BUS SECTION 1, WHITE BLUFFS-GATEWAY (COR) SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE INCLUDING WHITE BLUFFS: 115KV MAIN BUS SECTION 1, 115KV AUX BUS AND PCB B-247, WHITE BLUFFS: 115KV AUX BUS, WHITE BLUFFS: PCB B-247, HORN RAPIDS-WHITE BLUFFS SECTION OF RED MOUNTAIN-WHITE BLUFFS NO 1 115KV LINE, BENTON-WHITE BLUFFS NO 1 115KV LINE, ASHE-WHITE BLUFFS NO 1 230KV LINE, WHITE BLUFFS-GATEWAY SECTION OF WHITE BLUFFS-STEVENS DRIVE NO 2 115KV LINE | GEN, TCLA, LOAD, FCRPS
107 | 24-03626 | 15156697 | 04/22/2024 07:00 | 04/22/2024 16:00 | BOARDMAN-B-1103 SECTION OF THE BOARDMAN-ALKALI NO 1 115KV LINE | BOARDMAN: PCB B-1102, BOARDMAN-B-1103 SECTION OF THE BOARDMAN-ALKALI NO 1 115KV LINE, BOARDMAN-HORN BUTTE SECTION OF BOARDMAN-ALKALI NO 1 115KV LINE
108 | 24-00444 | 14156390 | 04/22/2024 08:00 | 05/02/2024 18:00 | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE | SPEARFISH-E. E. CLOUSE SECTION OF CHENOWETH-GOLDENDALE NO 1 115KV LINE
109 | 23-08465 | 13974231 | 04/22/2024 08:00 | 04/25/2024 15:00 | HATWAI: 500/230KV TRANSFORMER 1 | HATWAI: 500/230KV TRANSFORMER 1 | ID-NW, MT-NW
110 | 24-02410 | 14935590 | 04/22/2024 08:00 | 04/26/2024 17:00 | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE, REDMOND: PCB A-252 | LOAD, COR, NWACI
111 | 24-01050 | 14671648 | 04/22/2024 08:00 | 04/26/2024 15:00 | SCHULTZ-WAUTOMA NO 1 500KV LINE | SCHULTZ-WAUTOMA NO 1 500KV LINE, SCHULTZ: PCB 5170, SCHULTZ: PCB 5173, WAUTOMA: PCB 5244, WAUTOMA: PCB 5241 | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
112 | 24-00814 | 15206097 | 04/22/2024 08:00 | 04/22/2024 15:00 | HATWAI: 230KV MAIN BUS | HATWAI: 230KV MAIN BUS, HATWAI: PCB A-113, HATWAI: PCB A-124, HATWAI: PCB A-127, HATWAI: PCB A-129, HATWAI-AVA LOLO NO 2 230KV LINE, HATWAI-AVA MOSCOW NO 3 230KV LINE, HATWAI-AVA NORTH LEWISTON NO 1 230KV LINE | WOH
113 | 24-01134 | 14767418 | 04/22/2024 08:00 | 05/02/2024 15:00 | ROSS-ST JOHNS NO 1 230KV LINE | ROSS-ST JOHNS NO 1 230KV LINE, ST JOHNS: PCB B-48, ROSS: PCB A-32, ST. JOHNS: 230/115KV TRANSFORMER 1 | LOAD, SOA, NOPE, NOEL, SOC
114 | 24-01138 | 14736957 | 04/22/2024 08:00 | 05/02/2024 15:00 | ST JOHNS-KEELER NO 2 115KV LINE | ST JOHNS-KEELER NO 2 115KV LINE | LOAD, SOA, NOPE
115 | 24-04548 | 15207260 | 04/22/2024 12:00 | 04/22/2024 12:30 | THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH-BIG EDDY NO 5 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T7, THE DALLES PH: 230/13.8KV TRANSFORMER T8 | GEN, FCRPS
116 | 24-04549 | 15211425 | 04/22/2024 13:00 | 04/22/2024 13:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T3, THE DALLES PH: 230/13.8KV TRANSFORMER T4 | GEN, FCRPS
117 | 24-04559 | 15206435 | 04/23/2024 08:00 | 04/24/2024 16:00 | PSE - ROCKY REACH-CASCADE & CASCADE-WHITE RIVER 230KV LINE | PSE - ROCKY REACH-CASCADE & CASCADE-WHITE RIVER 230KV LINE
118 | 24-01232 |  | 04/24/2024 07:00 | 04/24/2024 16:00 | MCNARY: 230KV MAIN BUS SECTION 3 | MCNARY: 230KV MAIN BUS SECTION 3, MCNARY-ROSS NO 1 345KV LINE, ROSS: 345/230KV TRANSFORMER 4, MCNARY PH-MCNARY NO 5 230KV LINE, MCNARY-PACW WALLULA NO 2 230KV LINE, MCNARY: 230/115KV TRANSFORMER 9, MCNARY: 345/230KV TRANSFORMER 8 | WOCS, WOM, FCRPS, SOA, NOPE, LOAD, GEN
119 | 24-01240 | 14671194 | 04/24/2024 08:00 | 04/24/2024 15:00 | EAST ELLENSBURG-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, INCLUDING THE ELLENSBURG 115KV WEST AUX BUS AND PCB B-182 | EAST ELLENSBURG-ELLENSBURG SECTION OF COLUMBIA-ELLENSBURG NO 1 115KV LINE, ELLENSBURG: PCB B-182, INCLUDING THE ELLENSBURG 115KV WEST AUX BUS AND PCB B-182, ELLENSBURG: 115KV WEST AUX BUS | TCLA
120 | 24-03393 | 15087158 | 04/24/2024 08:00 | 04/24/2024 12:00 | SANDCREEK: 115KV CAP GROUP 1 SECTIONS 1, 2 AND 3 INCLUDING 115KV REACTIVE BUS AND LBD B-1364, LBD B-1365 AND LBD B-1369 | SANDCREEK: 115KV CAP GROUP 1 SECTIONS 1, 2 AND 3 INCLUDING 115KV REACTIVE BUS AND LBD B-1364, LBD B-1365 AND LBD B-1369 , SAND CREEK: 115KV CAP GROUP 1 SECTION 1, SAND CREEK: 115KV CAP GROUP 1 SECTION 2, SAND CREEK: 115KV CAP GROUP 1 SECTION 3, SAND CREEK: LBD B-1364, SAND CREEK: LBD B-1365, SAND CREEK: LBD B-1369
121 | 24-03396 | 15086840 | 04/24/2024 14:00 | 04/24/2024 16:00 | BONNERS FERRY: 115KV CAP GROUP 2 SECTION 1 INCLUDING PCB B-1777 | BONNERS FERRY: 115KV CAP GROUP 2 SECTION 1, BONNERS FERRY: 115KV CAP GROUP 2 SECTION 1 INCLUDING PCB B-1777, BONNERS FERRY: PCB B-1777
122 | 23-16097 | 14027816 | 04/25/2024 07:00 | 05/02/2024 18:00 | PG&E - ROUND MOUNTAIN-TABLE MOUNTAIN 2 500KV LINE | PG&E - ROUND MOUNTAIN-TABLE MOUNTAIN 2 500KV LINE | COI
123 | 24-03384 | 15087189 | 04/25/2024 08:00 | 04/25/2024 10:00 | SANDPOINT: 115KV CAP GROUP 1 INCLUDING PCB B-817 | SANDPOINT: 115KV CAP GROUP 1 INCLUDING PCB B-817, SANDPOINT: 115KV CAP GROUP 1, SANDPOINT: PCB B-817
124 | 24-04231 | 15190917 | 04/25/2024 08:00 | 05/08/2024 15:00 | THAYER DRIVE-RICHLAND SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE INCLUDING RICHLAND PCB B-502 | THAYER DRIVE-RICHLAND SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE, THAYER DRIVE-RICHLAND SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE INCLUDING RICHLAND PCB B-502, RICHLAND: PCB B-502 | TCLA
125 | 24-01149 | 14676717 | 04/25/2024 10:00 | 04/25/2024 11:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
126 | 24-00815 | 14450273 | 04/25/2024 10:30 | 04/25/2024 12:30 | CAPTAIN JACK: PCB 4998 INCLUDING 500KV REACTOR 1 | CAPTAIN JACK: PCB 4998, CAPTAIN JACK: PCB 4998 INCLUDING 500KV REACTOR 1, CAPTAIN JACK: 500KV REACTOR 1 | COI, NWACI
127 | 24-01150 | 14677155 | 04/25/2024 11:00 | 04/25/2024 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
128 | 24-03630 | 15157108 | 04/25/2024 12:00 | 04/25/2024 14:00 | CUSICK: 230KV CAP GROUP 1 | CUSICK: 230KV CAP GROUP 1 | SOB
129 | 24-01519 | 14784399 | 04/25/2024 12:30 | 04/25/2024 13:30 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
130 | 24-03015 | 15078986 | 04/25/2024 13:30 | 04/25/2024 14:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
131 | 23-12049 | 13946533 | 04/26/2024 12:00 | 04/26/2024 16:00 | LANE: 230/115KV TRANSFORMER 1 | LANE: 230/115KV TRANSFORMER 1 | EWEB
132 | 24-04341 |  | 04/26/2024 14:00 | 05/14/2024 08:00 | WAUTOMA: SCHULTZ NO 1 500KV SERIES CAPS | WAUTOMA: SCHULTZ NO 1 500KV SERIES CAPS
133 | 24-00592 | 14311474 | 04/26/2024 16:30 | 04/26/2024 17:00 | MCNARY PH-MCNARY NO 5 230KV LINE | MCNARY PH-MCNARY NO 5 230KV LINE | GEN, FCRPS, WOM
134 | 24-04457 | 15199855 | 04/27/2024 08:00 | 04/30/2024 18:00 | SCL - SNOHOMISH-BOTHELL 2 230KV LINE | SCL - SNOHOMISH-BOTHELL 2 230KV LINE, SNOHOMISH-BOTHELL NO 2 230KV LINE | NOEL, SOC
135 | 24-04416 | 15237856 | 04/28/2024 15:00 | 04/28/2024 16:00 | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE INCLUDING COWLITZ TAP | CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE, CENTRALIA SWITCHING STATION-TPWR COWLITZ SECTION OF CHEHALIS-COVINGTON NO 1 230KV LINE INCLUDING COWLITZ TAP, COWLITZ TAP TO CHEHALIS-COVINGTON NO 1 230KV LINE | RP, NOEL, SOC, LOAD
136 | 23-02776 | 12908900 | 04/29/2024 07:00 | 06/28/2024 16:00 | GARRISON: 500/230KV TRANSFORMER 1 | GARRISON: 500/230KV TRANSFORMER 1 | MT-NW
137 | 24-01018 | 14531242 | 04/29/2024 07:00 | 05/02/2024 16:00 | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1, (GROUNDED) | ALVEY: MARION 1 500KV LINE SERIES CAP GROUP 1, ALVEY: PCB 5103, (GROUNDED) | NWACI, COI, SCORC
138 | 24-01200 | 14854016 | 04/29/2024 07:30 | 05/02/2024 15:00 | FRANKLIN: PCB B-2112 INCLUDING THE 115KV AUX BUS, PCB'S B-2113 AND B-2114 AND THE 115KV CAP GROUP 1 SECTIONS 1 & 2 | FRANKLIN: 115KV CAP GROUP 1 SECTION 1, FRANKLIN: PCB B-2112 INCLUDING THE 115KV AUX BUS, PCB'S B-2113 AND B-2114 AND THE 115KV CAP GROUP 1 SECTIONS 1 & 2, FRANKLIN: 115KV CAP GROUP 1 SECTION 2, FRANKLIN: PCB B-2113, FRANKLIN: PCB B-2114, FRANKLIN: 115KV AUX BUS, FRANKLIN: PCB B-2112 | TCLA
139 | 24-03875 |  | 04/29/2024 07:30 | 05/02/2024 16:00 | MIDWAY: 230kV MAIN BUS SECTION 1 INCLUDING MIDWAY-PRIEST RAPIDS NO 2 230kV LINE, PCB A-1000 AND AUX BUS SECTION 1 | MIDWAY: 230KV MAIN BUS SECTION 1, MIDWAY: 230kV MAIN BUS SECTION 1 INCLUDING MIDWAY-PRIEST RAPIDS NO 2 230kV LINE, PCB A-1000 AND AUX BUS SECTION 1, MIDWAY: 230KV AUX BUS SECTION 1, MIDWAY: PCB A-1000, MIDWAY-POTHOLES NO 1 230KV LINE, OUTLOOK-MIDWAY SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE, MIDWAY-A-8 SECTION OF MIDWAY-HEW NO 2 230KV LINE, MIDWAY-PRIEST RAPIDS NO 2 230KV LINE | WOM, GEN, NOH, WOCS, TCLA
140 | 24-02340 | 14996481 | 04/29/2024 08:00 | 05/03/2024 15:00 | SHELTON-T3BA'DAS SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | SHELTON-T3BA'DAS SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE
141 | 24-03247 | 15163375 | 04/29/2024 08:00 | 05/09/2024 15:00 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3 | GRIZZLY: PCB 4038, GRIZZLY: 500KV REACTOR 3 | NWACI
142 | 24-03762 | 15128067 | 04/29/2024 08:00 | 05/15/2024 17:00 | ASHE-HANFORD NO 1 500KV LINE | ASHE-HANFORD NO 1 500KV LINE, HANFORD: PCB 4107, HANFORD: PCB 4104, ASHE: PCB 4901, ASHE: PCB 4898 | NOH, SIG, WOM, WOS, NWACI, FCRPS
143 | 24-00069 | 12858157 | 04/29/2024 08:00 | 05/03/2024 16:00 | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE | REDMOND-PILOT BUTTE PACW NO 1 230KV LINE, REDMOND: PCB A-252 | NWACI, PDCI, COI, LOAD
144 | 24-04963 |  | 04/29/2024 08:00 | 04/29/2024 16:00 | HALSEY MILL-HARRISBURG SECTION OF ALBANY-EUGENE NO 1 115KV LINE INCLUDING THE B-975 LINE SECTIONALIZING DISCONNECT | HARRISBURG: B-975 LSD, HALSEY MILL-HARRISBURG SECTION OF ALBANY-EUGENE NO 1 115KV LINE INCLUDING THE B-975 LINE SECTIONALIZING DISCONNECT, HALSEY MILL-HARRISBURG SECTION OF ALBANY-EUGENE NO 1 115KV LINE
145 | 24-03906 |  | 04/29/2024 09:00 | 05/02/2024 15:00 | CGS BACKUP BANK-451B SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE | CGS BACKUP BANK-451B SECTION OF BENTON-WHITE BLUFFS NO 2 115KV LINE
146 | 24-04550 | 15211464 | 04/29/2024 12:00 | 04/29/2024 12:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T3, THE DALLES PH: 230/13.8KV TRANSFORMER T4 | GEN, FCRPS
147 | 24-04552 | 15211581 | 04/29/2024 13:00 | 04/29/2024 13:30 | THE DALLES PH-BIG EDDY NO 4 230KV LINE | THE DALLES PH-BIG EDDY NO 4 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T5, THE DALLES PH: 230/13.8KV TRANSFORMER T6 | GEN, FCRPS
148 | 24-04966 |  | 04/30/2024 07:30 | 05/01/2024 16:30 | HARRISBURG-JUNCTION CITY SECTION OF ALBANY-EUGENE NO 1 115KV LINE INCLUDING THE B-415 AND B-434 LINE SECTIONALIZING DISCONNECTS | HARRISBURG-JUNCTION CITY SECTION OF ALBANY-EUGENE NO 1 115KV LINE INCLUDING THE B-415 AND B-434 LINE SECTIONALIZING DISCONNECTS, HARRISBURG-JUNCTION CITY SECTION OF ALBANY-EUGENE NO 1 115KV LINE, HARRISBURG: B-415 LSD, HARRISBURG: B-434 LSD
149 | 24-02181 | 14881080 | 04/30/2024 08:00 | 05/13/2024 15:00 | WAUTOMA: 500KV REACTOR 1 INCLUDING THE 500KV EAST BUS AND PCB 5236 | WAUTOMA: 500KV REACTOR 1 INCLUDING THE 500KV EAST BUS AND PCB 5236, WAUTOMA: 500KV REACTOR 1, WAUTOMA: 500KV EAST BUS, WAUTOMA: PCB 5236 | NOH, WOCN
150 | 24-03939 | 15156929 | 04/30/2024 09:00 | 04/30/2024 15:00 | TROUTDALE: PCB A-293 INCLUDING THE 230KV CAP GROUP 8 SECTION 3 | TROUTDALE: PCB A-293 INCLUDING THE 230KV CAP GROUP 8 SECTION 3, TROUTDALE: PCB A-293, TROUTDALE: 230KV CAP GROUP 8 SECTION 3 | WOCS