## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
3 | 23-15950 |  | 10/03/2023 08:00 | 07/31/2026 16:00 | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2) | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2), TACOMA-TPWR NORTHEAST NO 2 230KV LINE | RP
4 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
5 | 24-03472 |  | 01/22/2024 08:00 | 06/22/2025 15:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV SERIES CAP GRP SEGMENT 1 and 2
6 | 25-00071 | 15162397 | 02/18/2025 07:00 | 03/27/2025 16:00 | HUNGRY HORSE PH: PCB 2282, AND PCB 2382 | HUNGRY HORSE PH: PCB 2282, HUNGRY HORSE PH: PCB 2382, AND PCB 2382 | WOH, FLAT
7 | 25-00041 | 11095420 | 02/23/2025 03:00 | 03/27/2025 17:00 | -USBR- GRAND COULEE: PCB 5382 | -USBR- GRAND COULEE: PCB 5382 | NOH, WOCN, COI, NWACI, PDCI
8 | 24-01046 | 14701228 | 03/03/2025 23:00 | 03/07/2025 23:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
9 | 25-00056 | 14839849 | 03/08/2025 08:00 | 03/09/2025 15:00 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B, MUNRO: RAS AC-B CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM
10 | 23-00110 | 11597850 | 03/09/2025 22:00 | 03/09/2025 22:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN, COI, NWACI, PDCI, GEN, NOH, WOCN, COI, NWACI, PDCI
11 | 24-00932 | 14695822 | 03/10/2025 05:00 | 03/11/2025 19:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
12 | 24-06246 | 15397693 | 03/20/2025 06:30 | 03/20/2025 07:00 | THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH: 230/13.8KV TRANSFORMER T7, THE DALLES PH: 230/13.8KV TRANSFORMER T8, BIG EDDY: PCB A-836 | GEN, FCRPS, PDCI, WOJD, NWACI
13 | 25-00096 |  | 03/20/2025 12:00 | 03/20/2025 12:30 | THE DALLES PH-BIG EDDY NO 5 230KV LINE | THE DALLES PH: 230/13.8KV TRANSFORMER T7, THE DALLES PH: 230/13.8KV TRANSFORMER T8 | GEN, FCRPS
14 | 25-00057 | 14839859 | 03/22/2025 08:00 | 03/23/2025 15:00 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B, MUNRO: RAS AC-B CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM
15 | 25-00058 | 14840027 | 03/29/2025 08:00 | 03/30/2025 15:00 | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B (ALTERNATE TEST DATE) | RAS - DITTMER: RAS AC-A CONTROLLER, MUNRO: RAS AC-B CONTROLLER, RAS SYNCHROPHASOR-A CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MALIN FACRI A AND B (ALTERNATE TEST DATE), MUNRO: RAS AC-B CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM
16 | 25-00082 | 15246271 | 03/31/2025 08:00 | 04/11/2025 15:00 | TACOMA-COVINGTON NO 3 230KV LINE, (GROUNDED) | TACOMA-COVINGTON NO 3 230KV LINE, (GROUNDED) | NOEL, RP, SOC
17 | 25-00083 | 15246325 | 03/31/2025 08:30 | 04/11/2025 15:00 | TACOMA-COVINGTON NO 4 230KV LINE, (GROUNDED) | TACOMA-COVINGTON NO 4 230KV LINE, (GROUNDED) | NOEL, RP, SOC