October 16, 2008

- Bonneville Power Administration (BPA)

- Documentation Requirements

- For the Conservation Acquisition Agreement, Conservation Rate Credit and

- Utility Self-Funded Measures Attributed to the High Water Mark

NOTE:  Documentation Requirements may change as BPA’s requirements change, or eligible measures are added.  This document will be updated and posted on BPA’s external web site.  When changes are made, BPA will send notice to utilities via e-mail.

Documentation must be retained by customers to support reimbursements and credits claimed, as well as for energy savings claimed for Utility Self-Funded measures.  Depending on the measure, all or some of the information about the measure installed must be entered into the PTR system.

The requirements below provide information only on selected measures.  The General Requirements section provides guidance on documentation requirements for custom projects and measures not listed in this document.  If you are unsure, please ask your Contracting Officer’s Technical Representative (COTR) for clarification.

Customers must have documentation in their files that support the claims made to BPA.  The documentation requirements are based upon the measure and specific requirements related to that measure.

For measures claimed prior to March 7, 2007 (Documentation Requirements Brown Bag), COTRs will determine, on a case-by-case basis, if the documentation in the files is sufficient to substantiate the claims made.  If the COTR determines the documentation is insufficient, BPA will work with customers to develop next steps.

Measures may be claimed in periods following the end of the eligibility period, provided the documentation illustrates the measures were purchased and were in service (installed and operating) during the eligibility period.

- General Requirements for All Measures and Custom Sub-projects

- End-use consumer address/facility name, address, and telephone number;

- Contact name and phone number is required for commercial, industrial, and custom projects;

- Unique identification number (e.g., address, meter number, etc.) for end-use consumers is required for most measures;

- Unique identifying PTR system-generated number from the system report or invoice;

- Supporting documentation for claimed administrative costs; and

- Invoice or other document showing purchase date (relevant for eligibility period) and validating equipment is new.  Rebuilt nozzles are considered “new.”

Dates are required on documentation, and vary by the measure and by program requirements (deemed or custom).  Below are generalized requirements for dates:

- For custom projects, the dates for equipment purchases must be after BPA’s approval of the M&V plan;

- The pre-measurement date must occur before installation and the post-measurement date after installation;

- For deemed measures, the purchase date must be after the execution date of the Early Start Participation Agreement, Exhibit B to the Subscription Contract for the CRC, and/or the execution date of the appropriate Standard Offer for the CAA); or October 1, 2006, for High Water Mark measures claimed;

- For ENERGY STAR® Homes and manufactured homes, the certification date must be after the execution date of the Early Start Participation Agreement, Exhibit B to the Subscription Contract for the CRC, and/or the execution date of the appropriate Standard Offer for the CAA); or

October 1, 2006, for High Water Mark measures claimed; and

- Inspection and verification dates must be after equipment installation and before the Report/Invoice date.

In some situations, one document is sufficient for a category of measures.  Customers are encouraged to periodically review and update these types of documents.  Examples include:

- High Performance Lighting Cut Sheet – if the same equipment is installed in several facilities, a single Cut Sheet may be retained as documentation for the measure.

- List of ENERGY STAR appliances – can be printed from the ENERGY STAR Web site and kept in the file.

Agricultural Sector

Motors

- Equipment invoices;

- Spec sheet or model number of installed equipment; and

- Unique ID number or other field location identifying site of installed measures.

Nozzles and Sprinklers

- Equipment invoices;

- Unique ID number or other field location identifying site of installed measures.

VFDs (Dairy Milk Vacuum Pumps)

Less than 10 hp (deemed)

- Invoice showing horse power;

- Installation address.

Greater than 10 hp (custom projects)

Follow the custom project documentation requirements.

- Commercial Sector

- Commercial & Industrial Lighting Offer

The following must be submitted to BPA for each invoice or report:

- Wattage Reduction Sheet showing actual equipment installed

- Cut sheets for high performance equipment

The following must be retained in the files for each sub-project:

- Wattage Reduction Sheet

- Cut sheets for high performance equipment

- Equipment purchase orders/invoices

- Sub-contractor invoices

- Sub-project estimates and/or other related sub-project documents

- PCB ballast disposal (must meet environmental requirements)

The following should be in the files after completing the inspection:

- Wattage Reduction sheet showing validated counts and proper listing and labeling of equipment installed

- Corrected/completed Wattage Reduction Sheet

- Field notes from inspection (recommended)

- Energy Smart Design™– Office

- Cut sheets for cooling equipment showing EER/SEER or IPLV ratings meet CEE Tier 2.  CEE Tier 2 specifications can be found at http://www.cee1.org/com/hecac/hecac-main.php3

- Cut sheets for windows showing National Fenestration Rating Council (NFRC) rating, effective U value and solar heat gain coefficient.  NFRC rated products can be found at http://cpd.nfrc.org/pubsearch/psMain.asp

- Commissioning report summary detailing the enhanced economizer and lighting controls

- Copy of completed Integrated Design Checklist

- Copy of code lighting budget form, required for permit

- If not following prescriptive package, Energy Smart Design™– Office Trade-Off Sheet

- Grocery Store Initiative

- Copy of budget authorization(s) provided to PECI

- Copy of audit (if audited)

- Invoices for equipment installed in the facility

- Documentation, by facility, that installed measures meet specifications (e.g. sq. ft. of insulation, r-value, etc.)

- Copy of rebate form

Multi-Sector

Change-A-Light

- PECI Big Box invoice to utility with the number of bulbs purchased, type of bulbs purchased (i.e., ENERGY STAR) and wattage;

- Proof of payment.

- Donations to NEEA

- Proof of Payment made to NEEA

- New Construction

- New construction projects are custom projects, and the custom project documentation requirements apply.  BPA may develop more specific requirements for new construction projects.

- Documentation requirements for prescriptive new construction lighting projects are the same as the C&ILO.

Residential Sector

- Air Source Heat Pumps

- Heat pump commissioning certificate or list from Ecos Consulting of installed heat pumps meeting program specifications;

- ARI certificate or other documentation showing the HSPF and SEER rating;

- Copy of the whole house heating and cooling load calculations

- Vendor invoices; and

- Duct sealing documentation (if duct sealing is required)

- Appliances

- Manufacturer;

- Model #;

- Copy of purchase receipt/invoice; and

- Documentation detailing the specifications (e.g., energy factor) for the appliance claimed.

The utility may require a copy of ENERGY STAR documentation or may elect to check the ENERGY STAR Web site to confirm the appliance meets ENERGY STAR requirements.  A copy of the page from the ENERGY STAR Web site listing the appliance model is sufficient for documentation, provided it details the specifications for the model claimed.

- CFLs

Documentation for CFLs reported through the C&ILO must adhere to the C&ILO documentation requirements.  The following is required for CFL measures claimed outside the C&ILO:

- Vendor invoice to utility with the number of bulbs purchased, type of bulbs purchased (i.e., ENERGY STAR) and wattage;

- The number of bulbs given out at each event (e.g., annual meeting, coupon program, etc.); and

- Alternate method of distribution (e.g., high bill complaints, over-the-counter, etc.).

For hard-to-reach or special opportunity segments, customers must submit a request to BPA and have that request approved prior to the start of the activity in order to receive the higher reimbursement rate.  Once approved, the hard-to-reach or special opportunity activity needs no further approval by BPA provided there is no change in the methodology deployed.  Changes to the hard-to-reach or special opportunity segments must be approved by BPA prior to the start date of that activity.

- Duct Sealing

- Copy of signed PTCS Duct Sealing certificate or a list from Ecos Consulting of completions meeting program specifications

- Vendor Invoice

- ENERGY STAR Homes

- A copy of the certification label provided by the State Certifying Organization (SCO) which includes the name of the certifier for each ENERGY STAR  Home

ENERGY STAR Manufactured Homes

- Installation address

- Copy of Certificate of Compliance

- Line Voltage Electronic Thermostats

- Statement noting that all thermostats (except those located in bathrooms) have been replaced;

- Invoice for thermostats; and

- Model number(s) of thermostat(s).

- Low Income Weatherization through State Agencies

- Documents detailing cost of installed measures;

- Documentation of the weatherization measures installed (e.g., sq. ft. of insulation, r-value, etc.).

- Accounting that shows the amount contributed and the amount spent on non-windows measures (to account for the dollar-for-dollar requirement).

Refrigerator Recycling

- Pick-up address of refrigerator;

- Disposal/recycling documents; and

- Cubic size of refrigerator.

Showerheads

- Proof of end-user request, or direct install of the showerhead.

- Water Heaters

The following documentation is specifically required for water heaters:

- Manufacturer or brand name;

- Model number;

- Copy of purchase receipt/invoice;

- Warranty period; and

- Rated storage volume in gallons.

- Option for Documentation of Water Heater Warranty

Obtain from local vendors a list of manufacturers and model numbers that meet the warranty specifications and that are available in their store.  Compare manufacturer/model information from consumer with list before issuing reimbursement.  Include a copy of the list in each file.

Weatherization

- Installation address;

- Audit or field notes detailing pre- and post conditions;

- Invoices for measures installed; and

- Documentation of the weatherization measures installed (e.g., sq. ft. of insulation, r-value, etc.).

Windows

- Invoice;

- NFRC sticker or equivalent;

- Description of home (stick built or manufactured); and

- Description of original window & frame type.