## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 15666227 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2024 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
3 | 23-04495 |  | 01/28/2023 16:00 | 01/31/2025 15:00 | MAPLE VALLEY: 345/230KV TRANSFORMER 1 |  | NOEL, SOC, WOCN, IROL
4 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
5 | 23-16749 |  | 10/26/2023 07:00 | 03/28/2025 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1, VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
6 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
7 | 24-10154 | 15886952 | 06/01/2024 00:01 | 12/16/2024 15:00 | OLYMPIA-GRAND COULEE NO 1 287KV LINE |  | NOEL, NOH, RP, SOC, WOCN, IROL
8 | 24-11909 | 16116750 | 07/05/2024 17:00 | 12/31/2024 15:00 | MALIN: 500KV REACTOR 2 INCLUDING PCB 4037 | MALIN: PCB 4037, MALIN: 500KV REACTOR 2 | NWACI, COI
9 | 24-10059 | 15972235 | 08/15/2024 20:01 | 12/19/2024 17:00 | OLYMPIA: 230/115KV TRANSFORMER 1 INCLUDING PCB'S A-218 AND B-682 | OLYMPIA: 230/115KV TRANSFORMER 1, OLYMPIA: PCB A-218, OLYMPIA: PCB B-682 | NOEL, RP, WOCN, SOC
10 | 24-14443 | 16457623 | 09/03/2024 08:00 | 11/14/2024 15:00 | HUNGRY HORSE PH: PCB'S 2282 AND 2382 | HUNGRY HORSE PH: PCB 2282, HUNGRY HORSE PH: PCB 2382 | WOH, FLAT
11 | 24-01319 | 14881568 | 09/19/2024 16:00 | 11/14/2024 15:00 | JOHN DAY: PCB 4137 INCLUDING MOD 4136 | JOHN DAY: PCB 4137 | NWACI, WOJD, PDCI
12 | 24-14891 | 16543836 | 09/23/2024 08:00 | 11/15/2024 16:00 | ALCOA: B-230 TERMINAL OF PIONEER-ALCOA NO 1 115KV LINE | FELIDA-SW48 SECTION OF PIONEER-ALCOA NO 1 115KV LINE, SW48-ALCOA SECTION OF PIONEER-ALCOA NO 1 115KV LINE | LOAD, SOA, WOCS, NOPE
13 | 24-13857 | 16375199 | 09/25/2024 08:00 | 12/31/2024 15:00 | -EWEB- COBURG-SPRING CREEK 115KV LINE | COBURG (EWEB)-SPRING CREEK (EWEB) 115KV LINE | EWEB
14 | 24-05901 | 15358908 | 10/01/2024 08:00 | 01/30/2025 16:00 | WAPA - TRACY: 500KV SHUNT CAPACITOR PT10A & PT10B | WAPA - TRACY: 500KV SHUNT CAPACITOR PT10A & PT10B | COI
15 | 24-06621 | 15443578 | 10/03/2024 08:00 | 11/18/2024 17:00 | ROSS-RIVERGATE NO 1 230KV LINE |  | LOAD, SOA, NOPE
16 | 24-14711 | 16499817 | 10/07/2024 08:00 | 12/02/2024 18:00 | EWEB: Coburg PCB 6800 and 6850 and the 115KV bus | COBURG EWEB: 115KV MAIN BUS, COBURG EWEB: PCB 6850, COBURG EWEB: PCB 6800 | EWEB
17 | 24-06620 | 15443654 | 10/12/2024 12:00 | 11/18/2024 17:00 | ROSS-ST JOHNS NO 1 230KV LINE |  | LOAD, SOA, NOPE
18 | 24-00004 | 10955457 | 10/13/2024 22:00 | 11/14/2024 17:00 | -USBR- GRAND COULEE: PCB 5382 | -USBR- GRAND COULEE: PCB 5382 | NOH, WOCN, COI, NWACI, PDCI
19 | 24-10674 | 15959367 | 10/14/2024 08:00 | 11/08/2024 16:00 | HATWAI: A-129 TERMINAL OF HATWAI-AVA LOLO NO 2 230KV LINE | HATWAI-AVA LOLO NO 2 230KV LINE, HATWAI: PCB A-129 | WOH
20 | 24-02802 | 15226281 | 10/15/2024 07:30 | 11/14/2024 15:00 | ALVEY: 230/115KV TRANSFORMER BK 3 INCLUDING: PCBs A-242, B-584, 13.2KV STATION SERVICE PCB 16W, 13.2KV TERTIARY BUS, 13.2KV REGULATED BUS, 13.2KV-240V 3-PHASE STATION SERVICE TRANSFORMER, AND 13.2KV-120/240V 1-PHASE STATION SERVICE LIGHTING TRANSFORMER | ALVEY: 230/115KV TRANSFORMER BK 3 INCLUDING: PCBs A-242, B-584, 13.2KV STATION SERVICE PCB 16W, 13.2KV TERTIARY BUS, 13.2KV REGULATED BUS, 13.2KV-240V 3-PHASE STATION SERVICE TRANSFORMER, AND 13.2KV-120/240V 1-PHASE STATION SERVICE LIGHTING TRANSFORMER, ALVEY: 230/115KV TRANSFORMER 3, ALVEY: PCB A-242, ALVEY: PCB B-584, ALVEY: 13.2KV PCB 16W STATION SERVICE | SCORC, EWEB, NWACI
21 | 24-05532 | 15543573 | 10/21/2024 07:00 | 11/01/2024 17:00 | DETROIT: A-325 TERMINAL OF THE DETROIT PH-DETROIT #2 230KV LINE | DETROIT PH: 230/13.8KV BANK 2, DETROIT PH-DETROIT NO 2 230KV LINE | GEN
22 | 24-09888 | 16040196 | 10/22/2024 08:00 | 11/07/2024 15:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE |  | PA
23 | 24-02164 | 14881027 | 10/28/2024 07:00 | 11/07/2024 17:00 | ALLSTON: PCB 4470 |  | SOA, NOPE
24 | 24-05641 | 15352030 | 10/28/2024 07:00 | 11/12/2024 16:00 | SIFTON: 230/115KV TRANSFORMER 2 | SIFTON: 230/115KV TRANSFORMER 2, SIFTON: 230KV EAST MAIN BUS, SIFTON: PCB A-163, SIFTON: PCB B-1500, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE | SOA, NOPE, GEN, LOAD, WOCS
25 | 24-07805 | 15577687 | 10/28/2024 07:30 | 11/01/2024 16:30 | KEELER-OREGON CITY NO 2 115KV LINE |  | LOAD, SOA, NOPE
26 | 24-06647 | 15742054 | 10/28/2024 08:00 | 11/01/2024 15:00 | PEARL: PCB 4280 |  | SOA, NOPE
27 | 24-12470 | 16194758 | 10/28/2024 08:00 | 11/01/2024 15:00 | JOHN DAY: PCB 4197 SEL BFR AND BREAKER DIFF RELAY | JOHN DAY: PCB 4197 | NWACI, PDCI, WOJD
28 | 25-00375 |  | 10/28/2024 08:00 | 11/11/2024 15:00 | MCNARY: B-1604 TO B-1605 SECTION OF THE MCNARY-BADGER CANYON #1 115KV |  | TCLA
29 | 24-13805 | 16368636 | 10/28/2024 08:00 | 11/04/2024 15:00 | -EWEB- WILLAMETTE-OAKWAY-WILLAKENZIE 115KV LINE | CURRIN-OAKWAY-WILLAMETTE 115KV LINE, CURRIN-WILLAKENZIE 115KV LINE | EWEB
30 | 24-13016 |  | 10/28/2024 08:00 | 11/03/2024 17:00 | BIG EDDY: THE DALLES PH-BIG EDDY NO. 2 115KV LINE INCLUDING BIG EDDY PCB B-1050 | THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1050, BIG EDDY: 115/13.2KV TRANSFORMER 8, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720 | GEN, FCRPS
31 | 23-16153 | 14615698 | 10/28/2024 08:00 | 11/01/2024 16:30 | TACOMA: 230KV SOUTH MAIN BUS INCLUDING TACOMA-TPWR NORTHEAST NO.3 230KV LINE, PCB'S A-1075, A-1074, A-1073, A-1072, A-1080, A-1082 | TACOMA: 230KV SOUTH MAIN BUS INCLUDING TACOMA-TPWR NORTHEAST NO.3 230KV LINE, PCB'S A-1075, A-1074, A-1073, A-1072, A-1080, A-1082, TACOMA: 230KV SOUTH MAIN BUS, TACOMA-TPWR COWLITZ NO 1 230KV LINE, TACOMA-COVINGTON NO 4 230KV LINE, TACOMA-TPWR NORTHEAST NO 3 230KV LINE, TACOMA-CHRISTOPHER SECTION OF TACOMA-COVINGTON NO 2 230KV LINE | NOEL, RP, SIG, SOC, WOCN
32 | 24-12564 | 16234067 | 10/28/2024 08:00 | 11/21/2024 16:00 | OLYMPIA: 115KV SOUTH ELMA #1 LINE RELAYS | OLYMPIA: PCB B-690
33 | 24-13065 | 16543868 | 10/29/2024 07:00 | 11/07/2024 17:00 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | TROUTDALE: PCB A-125, NORTH BONNEVILLE: PCB A-16 | GEN, LOAD, WOCS, FCRPS
34 | 24-13070 | 16543867 | 10/29/2024 07:00 | 11/07/2024 17:00 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | ROSS: PCB A-22, NORTH BONNEVILLE: PCB A-14, SIFTON: PCB B-1511, SIFTON: 230KV WEST MAIN BUS, SIFTON: 230KV AUX BUS, SIFTON: 230/115KV TRANSFORMER 1 | SOA, NOPE, WOCS
35 | 24-02943 | 15030902 | 10/30/2024 12:00 | 11/01/2024 23:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
36 | 24-00047 | 12888891 | 11/01/2024 03:00 | 12/01/2024 21:00 | BIG EDDY-CELILO NO 1 500KV LINE, BIG EDDY-CELILO NO 2 500KV LINE, CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: GROUND SWITCH 7939 |  | PDCI, SIG, BGEDY, NWACI
37 | 23-00050 | 10793523 | 11/01/2024 07:00 | 11/04/2024 18:30 | HILLTOP-WARNER NO 1 230KV LINE | WARNER: PCB B-165, WARNER: 230/115KV TRANSFORMER 1, HILLTOP: PCB A-1534, HILLTOP: PCB A-1525 | NWACI, RATS
38 | 24-08350 |  | 11/01/2024 08:00 | 11/15/2024 15:00 | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP,NORTH PASCO TAP TO TAYLOR FLATS TAP TO BENTON-FRANKLIN NO 2 115KV LINE AND GLADE: 115/13.8KV TRANSFORMER 1 | BENTON-FRANKLIN NO 2 115KV LINE, GLADE TAP TO BENTON-FRANKLIN NO 2 115KV LINE, TAYLOR FLATS TAP TO BENTON-FRANKLIN NO 2 115KV LINE, GLADE: 115/13.8KV TRANSFORMER 1, NORTH PASCO TAP | TCLA, WOM, LOAD
39 | 24-02094 | 14839794 | 11/02/2024 06:00 | 11/03/2024 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER | DITTMER: RAS DC-A CONTROLLER, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM
40 | 24-05207 |  | 11/02/2024 07:00 | 11/03/2024 19:00 | HOOD RIVER: 115KV MAIN BUS | HOOD RIVER: 115KV MAIN BUS, HOOD RIVER-THE DALLES NO 1 115KV LINE, BONNEVILLE PH 1-HOOD RIVER NO 1 115KV LINE, HOOD RIVER-PACIFICORP TUCKER FEED, HOOD RIVER: 115/12.5KV TRANSFORMER 1, HOOD RIVER: HOOD RIVER ELEC 12.5KV FEEDER 1 | LOAD, WOCS, FCRPS, GEN
41 | 24-13426 | 16375567 | 11/04/2024 06:00 | 11/07/2024 14:00 | GARRISON: 230KV SOUTH MAIN BUS INCLUDING PCB A-877, A-878, A-879, AND A-880 | GARRISON: 230KV MAIN BUS, GARRISON: PCB A-877, GARRISON: PCB A-878, GARRISON: PCB A-879, GARRISON: PCB A-880, GARRISON-ANACONDA NO 1 230KV LINE, GARRISON-NWE MILL CREEK NO 1 230KV LINE, GARRISON-NWE OVANDO NO 1 230KV LINE, RATTLESNAKE-GARRISON NO 1 230KV LINE, GARRISON: 500/230KV TRANSFORMER 1 | MT-NW
42 | 24-03725 | 15121046 | 11/04/2024 07:00 | 11/15/2024 16:00 | WAPA- TRACY: 500/230KV TRANSFORMER KT1A | WAPA- TRACY: 500/230KV TRANSFORMER KT1A | COI
43 | 24-07583 | 15601318 | 11/04/2024 07:00 | 11/05/2024 16:00 | MONROE: PCB 5502, RELAYS | MONROE: PCB 4522 | BCHT, BCHW, NI, NOEL, SOC, WOCN
44 | 24-14351 |  | 11/04/2024 07:00 | 11/14/2024 16:00 | SCL - DIABLO: 230KV BUS A |  | SOC, NOEL
45 | 24-08790 | 15742653 | 11/04/2024 07:00 | 11/04/2024 16:00 | RAVER: PCB 4302 |  | NOEL, RP, SOC, WOCN
46 | 24-00035 | 11345946 | 11/04/2024 07:00 | 11/08/2024 16:00 | HANFORD-WAUTOMA NO 2 500KV LINE | HANFORD-WAUTOMA NO 2 500KV LINE, HANFORD: PCB 4101, HANFORD: PCB 4104, WAUTOMA: PCB 5259, WAUTOMA: PCB 5262 | NOH, NWACI, PDCI, SIG, COI, WOM, WOS, WOCN
47 | 24-14584 |  | 11/04/2024 07:00 | 11/22/2024 14:30 | PAC - COPCO-KLAMATH FALLS 230KV LINE |  | NWACI/PDCI
48 | 24-08549 | 15741028 | 11/04/2024 07:00 | 11/07/2024 14:00 | GARRISON: 500/230KV TRANSFORMER 1 |  | MT-NW
49 | 24-00975 | 15119584 | 11/04/2024 07:30 | 11/07/2024 15:30 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 |  | NWACI, COI
50 | 24-00801 | 14677709 | 11/04/2024 07:30 | 11/05/2024 15:00 | MORROW FLAT: PCB A-1871 BFR | MORROW FLAT: PCB A-1871, MORROW FLAT: PCB A-1871 BFR
51 | 24-12150 | 16243273 | 11/04/2024 07:30 | 11/04/2024 16:00 | SHELTON: PCB A-936 |  | RP
52 | 24-12866 |  | 11/04/2024 08:00 | 12/10/2024 15:00 | MESA-CONNELL SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE | CONNELL-SCOOTENEY SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE | TCLA
53 | 24-09744 | 16226800 | 11/04/2024 08:00 | 11/07/2024 16:00 | WAGNER LAKE TAP TO WILBUR TAP TO GRAND COULEE-CRESTON NO 1 115KV LINE | WAGNER LAKE: 115/34.5KV TRANSFORMER 1, WAGNER LAKE: 34.5KV PCB L-274, WAGNER LAKE: INLAND P+L 34.5KV FEEDER 1 BY AVISTA CORP | LOAD
54 | 24-12513 | 16200662 | 11/04/2024 08:00 | 11/08/2024 16:00 | JOHN DAY: PCB 4128 SEL BFR AND BREAKER DIFF | JOHN DAY: PCB 4128 | NWACI, WOJD, WOS, PDCI
55 | 24-07763 | 15577412 | 11/04/2024 08:00 | 11/15/2024 15:00 | BENTON: 230/115KV TRANSFORMER 1 | MIDWAY-BENTON NO 2 230KV LINE, MIDWAY: PCB A-56 | TCLA, GEN, LOAD, WOM
56 | 24-15088 |  | 11/04/2024 08:00 | 11/06/2024 18:00 | SCL - BOTHELL: PCB 240-74 (OPEN ENDS HORSE RANCH TAP OF SEDRO WOOLLEY-BOTHELL -HORSE RANCH TAP 230KV LINE) |  | SOC/NOEL
57 | 24-11854 | 16155623 | 11/04/2024 08:00 | 11/15/2024 15:30 | BIG EDDY: PCB 4872 SEL BFR | BIG EDDY: PCB 4872 | PDCI, WOJD, BGEDY, NWACI
58 | 24-09082 | 15836296 | 11/04/2024 08:00 | 11/05/2024 15:00 | PEARL: PCB 4283, BFR |  | SOA, NOPE
59 | 24-15086 |  | 11/04/2024 08:00 | 11/06/2024 18:00 | SCL - BOTHELL-HORSE RANCH SECTION OF SEDRO WOOLLEY-BOTHELL-HORSE RANCH TAP 230KV LINE
60 | 24-14114 |  | 11/04/2024 09:00 | 11/04/2024 11:00 | TUCANNON RIVER: PCB B-2039 INCLUDING THE 115KV CAP GROUP 1 SECTION 2 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 2, TUCANNON RIVER: PCB B-2039
61 | 24-00103 | 13140986 | 11/05/2024 06:30 | 11/05/2024 07:00 | MALIN-HILLTOP NO 1 230KV LINE | MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI
62 | 24-14445 | 16463969 | 11/05/2024 07:00 | 11/07/2024 17:30 | CHEMAWA-SALEM NO 1 230KV LINE | SALEM: 230/115KV TRANSFORMER 1, SALEM: PCB B-64 | WOCS, SLAL
63 | 24-00068 | 12851260 | 11/05/2024 07:00 | 11/06/2024 16:00 | CANBY-HILLTOP SECTION OF MALIN-HILLTOP NO 1 230KV LINE |  | RATS, NWACI
64 | 24-00994 | 14701091 | 11/05/2024 07:00 | 11/07/2024 16:00 | SLATT: PCB 5021 | SLATT: PCB 5021 | WOJD
65 | 24-08792 | 15742658 | 11/05/2024 07:00 | 11/05/2024 16:00 | RAVER: PCB 4849 |  | NOEL, RP, SOC, WOCN
66 | 24-14446 |  | 11/05/2024 07:00 | 11/07/2024 17:30 | HUGHES-SALEM SECTION OF CHEMAWA-SALEM NO 2 115KV LINE | SALEM: PCB B-54
67 | 24-13199 | 16319772 | 11/05/2024 07:30 | 11/05/2024 16:00 | SHELTON: PCB A-79 |  | RP
68 | 24-10405 | 15958414 | 11/05/2024 08:00 | 11/05/2024 09:00 | GRAND COULEE: PCB'S 1472 & 1172 RELAYS | GRAND COULEE-KELLER SECTION OF GRAND COULEE-OKANOGAN NO 2 115KV LINE, GRAND COULEE: PCB 1472 | LOAD
69 | 24-15252 |  | 11/05/2024 08:00 | 11/05/2024 15:00 | SALEM: 230/115KV TRANSFORMER 1 | SALEM: PCB B-64 | SLAL
70 | 24-07887 | 15876577 | 11/05/2024 08:30 | 11/05/2024 16:30 | GRIZZLY: PCB 5040 |  | NWACI, WOJD
71 | 24-11572 | 16072470 | 11/05/2024 09:00 | 11/05/2024 16:00 | CUSTER: 500KV REACTOR 1 INCLUDING PCB 4274 | CUSTER: PCB 4274 | BCHT, BCHW, NOEL, SOC, NI
72 | 24-07516 | 16203245 | 11/05/2024 12:00 | 11/07/2024 16:00 | DRISCOLL: PCB A-1268 | ALLSTON-DRISCOLL NO 1 230KV LINE | SOA, NOPE, LOAD
73 | 24-07607 | 15601363 | 11/06/2024 07:00 | 11/07/2024 16:00 | MONROE: PCB 5505, RELAYS | MONROE: PCB 4526 | BCHT, BCHW, NI, NOEL, SOC, WOCN
74 | 24-08794 | 15742699 | 11/06/2024 07:00 | 11/06/2024 16:00 | ECHO LAKE: PCB 5075 |  | BCHT, BCHW, NOEL, SOC, WOCN, NI
75 | 24-13200 | 16319769 | 11/06/2024 07:30 | 11/06/2024 16:00 | SHELTON: PCB A-83 |  | RP
76 | 24-02188 | 15688025 | 11/06/2024 08:00 | 11/06/2024 14:30 | KEELER: PCB A-865 |  | SOA, WOCS, NOPE
77 | 24-13061 | 16273697 | 11/06/2024 08:00 | 11/07/2024 15:00 | MARION: PCB 4386 |  | NWACI, WOCS
78 | 24-09083 | 15836283 | 11/06/2024 08:00 | 11/07/2024 15:00 | PEARL: PCB 4287, BFR |  | SOA, NOPE
79 | 24-00104 | 13166525 | 11/06/2024 16:00 | 11/06/2024 16:30 | MALIN-HILLTOP NO 1 230KV LINE | MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI
80 | 24-08795 | 15742701 | 11/07/2024 07:00 | 11/07/2024 16:00 | ECHO LAKE: PCB 5078 |  | BCHT, BCHW, NOEL, SOC, WOCN, NI
81 | 24-13201 | 16319728 | 11/07/2024 07:30 | 11/07/2024 16:00 | SHELTON: PCB A-1664 |  | RP
82 | 24-04049 | 15161580 | 11/07/2024 08:30 | 11/07/2024 15:00 | SOUTH TACOMA: PCB A-1090 | SOUTH TACOMA: PCB A-1090 | RP
83 | 24-04051 | 15161571 | 11/07/2024 08:30 | 11/07/2024 15:00 | SOUTH TACOMA: PCB A-1087 | SOUTH TACOMA: PCB A-1087 | RP
84 | 24-04378 | 15213138 | 11/07/2024 09:00 | 11/07/2024 14:00 | BELL: PCB B-348 RELAYS | BELL: PCB B-348
85 | 24-14689 | 16503838 | 11/07/2024 10:00 | 11/07/2024 10:15 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
86 | 24-14690 | 16503842 | 11/07/2024 14:15 | 11/07/2024 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
87 | 24-02095 | 14839819 | 11/09/2024 06:00 | 11/09/2024 23:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS WS-A CONTROLLER, RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE), MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, RP, SIG, SOA, SOC, COI, NWACI, PDCI, NOPE
88 | 24-02096 | 14839836 | 11/10/2024 06:00 | 11/10/2024 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS DC-A CONTROLLER, RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER (ALTERNATE DATE), MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM
89 | 24-14400 | 16456523 | 11/11/2024 06:30 | 11/29/2024 17:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN
90 | 24-00015 | 9567061 | 11/12/2024 06:00 | 12/06/2024 23:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
91 | 24-00989 | 14701103 | 11/12/2024 07:00 | 11/13/2024 16:00 | MCNARY: PCB 5199 | MCNARY: PCB 5199 | WOM, WOS
92 | 24-10185 | 15892747 | 11/12/2024 07:00 | 11/12/2024 16:00 | TACOMA-RAVER NO 1 500KV LINE, INCLUDING RAVER: PCB 4311 | RAVER: PCB 4311, TACOMA: 500/230KV TRANSFORMER 5 | NOEL, RP, SOC, WOCN, IROL, SIG
93 | 24-00036 | 11350942 | 11/12/2024 07:00 | 11/15/2024 16:00 | LOWER MONUMENTAL-ASHE NO 1 500KV LINE, LOWER MONUMENTAL-ASHE NO 1 500KV LINE | ASHE: PCB 5324, LOWER MONUMENTAL-ASHE NO 1 500KV LINE, LOWER MONUMENTAL-ASHE NO 1 500KV LINE, ASHE: PCB 5327, LOWER MONUMENTAL: PCB 4599, LOWER MONUMENTAL: PCB 4676 | GEN, NWACI, COI, FCRPS, PDCI, SIG, WOLM
94 | 25-00134 | 15974280 | 11/12/2024 08:00 | 11/21/2024 15:00 | COSMOPOLIS-ABERDEEN NO 1 115KV LINE |  | LOAD, SOA, NOPE
95 | 24-11857 | 16155641 | 11/12/2024 08:00 | 11/22/2024 15:30 | BIG EDDY: PCB 4205 SEL BFR | BIG EDDY: PCB 4205 | PDCI, WOCS, WOJD, BGEDY
96 | 24-13843 |  | 11/12/2024 08:00 | 11/13/2024 15:00 | WINE COUNTRY: PACW BUS DIFFERENTIAL RELAYS SETS 1 AND 2
97 | 24-02033 |  | 11/12/2024 08:00 | 11/21/2024 15:00 | QUENETT CREEK: BIG EDDY #1 230KV LINE RELAYS
98 | 24-11310 | 16049593 | 11/12/2024 08:00 | 11/22/2024 15:00 | ALLSTON: PCB 4504 BFR | ALLSTON: PCB 4504 | SOA, NOPE
99 | 24-12404 | 16209459 | 11/12/2024 08:00 | 11/26/2024 15:00 | ASHE: PCB 4901 BFR | ASHE: PCB 4901 | NWACI, FCRPS, NOH
100 | 24-11861 | 16155645 | 11/12/2024 08:00 | 11/15/2024 15:30 | BIG EDDY: PCB 4209 SEL BFR | BIG EDDY: PCB 4209 | GEN, PDCI, WOJD, BGEDY, NWACI
101 | 24-12001 | 16155681 | 11/12/2024 08:00 | 11/15/2024 15:30 | BIG EDDY: PCB 4866 SEL BFR | BIG EDDY: PCB 4866 | GEN, PDCI, WOJD, BGEDY
102 | 24-15087 |  | 11/12/2024 08:00 | 11/16/2024 18:00 | SNOHOMISH-BOTHELL NO 2 230KV LINE |  | NOEL, SOC
103 | 24-15092 |  | 11/12/2024 08:00 | 11/16/2024 15:00 | SCL - SHORELINE (SCL)-VIEWLAND 115KV LINE & VIEWLAND BANK 111
104 | 24-13540 |  | 11/12/2024 08:00 | 11/12/2024 13:00 | SIFTON: SIFT-NBON CKT 7A21 & SIFT-ROSS CKT 7A23 TT | SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE, NORTH BONNEVILLE: PCB A-13, ROSS: PCB A-34, SIFTON: PCB A-163, BONNEVILLE PH 1-NORTH BONNEVILLE NO 1 230KV LINE | GEN, LOAD, SOA, WOCS, NOPE, FCRPS
105 | 24-01031 | 14564814 | 11/12/2024 08:00 | 11/16/2024 18:00 | BIG EDDY-DE MOSS NO 1 115KV LINE | BIG EDDY-DE MOSS NO 1 115KV LINE, BIG EDDY: PCB B-1048, DE MOSS: PCB B-2072, DE MOSS: PCB B-2081 | GEN, BGEDY
106 | 24-14026 | 16406101 | 11/12/2024 09:00 | 11/16/2024 16:00 | MALIN: PCB 4576 |  | NWACI, COI
107 | 24-13425 |  | 11/12/2024 09:00 | 11/12/2024 16:00 | HAY MILL: 138KV MAIN BUS INCLUDING THE HEYBURN-HAY MILL SECTION OF THE HEYBURN-ADELAIDE NO 1 138KV LINE AND THE HAY MILL B-1637 LINE SECT DISC | HAY MILL: B-1637 LINE SECTIONALIZING DISC, HEYBURN-HAY MILL SECTION OF THE HEYBURN-ADELAIDE NO 1 138KV LINE, HAY MILL: RUPERT ID 138KV FEEDER 1
108 | 24-10186 | 15892751 | 11/13/2024 07:00 | 11/13/2024 16:00 | RAVER: PCB 4846 |  | NOEL, RP, SOC, WOCN
109 | 24-00800 | 14900751 | 11/13/2024 07:00 | 11/14/2024 15:00 | MCNARY: PCB B-994 BFR | MCNARY: PCB B-994, MCNARY: PCB B-994 BFR
110 | 24-13181 | 16543875 | 11/13/2024 07:00 | 11/24/2024 17:00 | NORTH BONNEVILLE-TROUTDALE NO 2 230KV LINE | TROUTDALE: PCB A-125, NORTH BONNEVILLE: PCB A-16 | GEN, LOAD, WOCS, FCRPS
111 | 24-13183 | 16543877 | 11/13/2024 07:00 | 11/24/2024 17:00 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | ROSS: PCB A-22, NORTH BONNEVILLE: PCB A-14, SIFTON: PCB B-1511, SIFTON: 230KV WEST MAIN BUS, SIFTON: 230KV AUX BUS, SIFTON: 230/115KV TRANSFORMER 1 | SOA, NOPE, WOCS
112 | 24-03484 | 15285437 | 11/13/2024 08:00 | 11/14/2024 15:00 | CAPTAIN JACK: PCB 4986 | CAPTAIN JACK: PCB 4986 | NWACI, COI
113 | 24-14262 | 16434590 | 11/13/2024 09:00 | 11/13/2024 11:00 | WINE COUNTRY: PCB A-1741 |  | WOJD, NOH
114 | 24-14276 | 16434529 | 11/13/2024 12:00 | 11/13/2024 14:00 | WINE COUNTRY: PCB A-1744 |  | WOJD, NOH
115 | 24-10187 | 15892760 | 11/14/2024 07:00 | 11/14/2024 16:00 | RAVER: PCB 4921 |  | NOEL, RP, SOC
116 | 24-11936 | 16155770 | 11/14/2024 08:00 | 11/14/2024 17:00 | JOHN DAY: 500 KV EAST BUS INCLUDING PCB 4137 | JOHN DAY: 500KV EAST BUS | WOJD, NWACI, PDCI
117 | 24-15093 |  | 11/16/2024 08:00 | 11/21/2024 15:00 | SCL - BOTHELL-VIEWLAND 115KV LINE AND VIEWLAND BANK 112 |  | SOC, NOEL
118 | 24-14612 |  | 11/16/2024 23:00 | 11/17/2024 05:00 | SOUTHRIDGE-BADGER CANYON SECTION OF FRANKLIN-BADGER CANYON NO 1 115KV LINE INCLUDING THE BADGER CANYON-LESLIE ROAD NO 1 115KV LINE AND BADGER CANYON: PCB B-484 & 115KV AUX BUS | SOUTHRIDGE-BADGER CANYON SECTION OF FRANKLIN-BADGER CANYON NO 1 115KV LINE, BADGER CANYON-LESLIE ROAD NO 1 115KV LINE, BADGER CANYON: PCB B-484, BADGER CANYON: 115KV AUX BUS | TCLA
119 | 24-14067 | 16411172 | 11/17/2024 09:00 | 11/21/2024 16:00 | MALIN: PCB 4591 |  | NWACI, COI
120 | 24-09699 | 15836358 | 11/18/2024 06:30 | 11/21/2024 16:30 | SICKLER: PCB 4336 BFR | SICKLER: PCB 4336 | CI, GEN, NOH, WOCN
121 | 24-14161 | 16434016 | 11/18/2024 07:00 | 11/27/2024 15:00 | RAVER: 5OOKV CAP GROUP 1 SECTIONS 1, 2, 3 INCLUDING REACTIVE BUS AND PCB 4914 AND PCB 4921 | RAVER: PCB 4914, RAVER: PCB 4917, RAVER: PCB 4919, RAVER: PCB 4722, RAVER: PCB 4921, RAVER: 500KV CAP GROUP 1 SECTION 1, RAVER: 500KV CAP GROUP 1 SECTION 2, RAVER: 500KV CAP GROUP 1 SECTION 3 | NOEL, RP, SOC, IROL, WOCN
122 | 24-11074 | 16072530 | 11/18/2024 07:00 | 11/27/2024 15:30 | CUSTER: PCB 4496 BFR | CUSTER: PCB 4496 | BCHT, BCHW, NOEL, SOC, NI
123 | 24-15238 |  | 11/18/2024 07:00 | 11/24/2024 17:00 | NILLES CORNER-EAST OMAK SECTION OF GRAND COULEE-FOSTER CREEK NO 1 115KV LINE |  | OKLA
124 | 24-14413 | 16455973 | 11/18/2024 07:00 | 11/18/2024 15:00 | ST JOHNS-DUTCH CANYON SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE |  | LOAD, SOA, NOPE
125 | 24-14352 |  | 11/18/2024 07:00 | 11/26/2024 16:00 | SCL - DIABLO: 230KV BUS E |  | SOC, NOEL
126 | 24-00996 |  | 11/18/2024 07:00 | 11/20/2024 16:00 | SLATT: PCB 5003 | SLATT: PCB 5003 | GEN, NWACI
127 | 24-12515 | 16200735 | 11/18/2024 08:00 | 11/22/2024 16:00 | JOHN DAY: PCB 4134 SEL BFR AND BREAKER DIFF | JOHN DAY: PCB 4134 | NWACI, WOJD, PDCI
128 | 24-03962 | 15377120 | 11/18/2024 08:00 | 11/21/2024 15:00 | ECHO LAKE: PCB 5111 BFR | ECHO LAKE: PCB 5111 | BCHT, BCHW, NOEL, SOC, NI, WOCN
129 | 24-06642 | 15601551 | 11/18/2024 08:00 | 11/20/2024 15:00 | MARION: PCB 4383 |  | NWACI, WOCS
130 | 24-14412 | 16455945 | 11/18/2024 08:00 | 11/22/2024 16:00 | ST JOHNS-KEELER NO 2 115KV LINE |  | LOAD, SOA, NOPE
131 | 24-00426 | 14701247 | 11/18/2024 08:00 | 11/20/2024 15:00 | WAUTOMA: PCB 5247 | WAUTOMA: PCB 5247 | WOCN
132 | 24-12003 | 16155714 | 11/18/2024 08:00 | 11/22/2024 15:30 | BIG EDDY: PCB 4202 SEL BFR | BIG EDDY: PCB 4202 | PDCI, WOCS, WOJD, BGEDY
133 | 24-13018 |  | 11/18/2024 08:00 | 11/24/2024 17:00 | BIG EDDY: THE DALLES PH-BIG EDDY NO. 1 115KV LINE INCLUDING BIG EDDY PCB B-1692 | THE DALLES PH-BIG EDDY NO 1 115KV LINE, BIG EDDY: PCB B-1692 | GEN, SOA, FCRPS, NOPE
134 | 24-15046 |  | 11/18/2024 08:00 | 11/19/2024 15:00 | CARLTON: 115KV MAIN BUS | CARLTON-MCMINNVILLE NO 1 115KV LINE, FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, CARLTON: 230/115KV TRANSFORMER 1 | LOAD, SOA, NOPE
135 | 24-07547 |  | 11/18/2024 10:00 | 11/22/2024 15:00 | -PACW- HERMISTON-UMATILLA SECTION OF HERMISTON-BPA MCNARY 69KV LINE |  | WOM, TCLA
136 | 24-14378 |  | 11/18/2024 16:30 | 11/18/2024 17:00 | MCNARY PH-MCNARY NO 6 115KV LINE |  | GEN, FCRPS, WOM
137 | 24-14684 |  | 11/19/2024 06:30 | 11/19/2024 11:30 | THE DALLES PH-BIG EDDY NO 2 115KV LINE | BIG EDDY: 115/13.2KV TRANSFORMER 8 | GEN, FCRPS
138 | 24-10398 | 15930987 | 11/19/2024 08:00 | 11/21/2024 15:00 | TROUTDALE: 500/230KV TRANSFORMER 8 | OSTRANDER-TROUTDALE NO 1 500KV LINE | SIG, WOCS, SOA, NOPE, LOAD
139 | 24-14685 |  | 11/19/2024 12:00 | 11/19/2024 17:00 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH: 230/13.8KV TRANSFORMER T3, THE DALLES PH: 230/13.8KV TRANSFORMER T4 | GEN, FCRPS
140 | 24-00983 | 14694247 | 11/20/2024 07:00 | 11/20/2024 16:00 | COYOTE SPRINGS: PCB 5190 |  | WOLM, WOM
141 | 24-07416 | 15571359 | 11/20/2024 08:00 | 11/20/2024 09:30 | TAFT: PCB 4114 |  | MT-NW, WOH
142 | 24-02034 | 14936680 | 11/20/2024 08:00 | 11/20/2024 12:00 | QUENETT CREEK: PCB A-1921 | QUENETT CREEK: PCB A-1921
143 | 24-07701 | 15571510 | 11/20/2024 09:30 | 11/20/2024 10:00 | TAFT: PCB 4119 |  | MT-NW, WOH
144 | 24-07708 | 15571736 | 11/20/2024 11:00 | 11/20/2024 12:00 | TAFT: PCB 4122 |  | MT-NW, WOH
145 | 24-02311 | 14936685 | 11/20/2024 12:01 | 11/20/2024 16:00 | QUENETT CREEK: PCB A-1924
146 | 24-03825 | 15184908 | 11/21/2024 08:00 | 11/21/2024 15:00 | CHEMAWA: PCB B-106 | CHEMAWA: PCB B-106
147 | 24-09601 | 15821783 | 11/21/2024 08:00 | 11/21/2024 10:15 | CHIEF JOSEPH: PCB 4732 |  | NOH, WOCN, SOA, NOPE, NWACI
148 | 24-06651 | 15742155 | 11/21/2024 08:00 | 11/21/2024 15:00 | PEARL: PCB 4342, INCLUDING 500KV CAP GROUP 1 | PEARL: 500KV CAP GROUP 1 | SOA, NOPE, WOCS, NWACI
149 | 24-13679 | 16388467 | 11/21/2024 08:00 | 11/21/2024 11:00 | KEELER: PCB A-859 INCLUDING 230KV CAP SECTION 3 | KEELER: PCB A-859, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 3 | SOA, NOPE, WOCS
150 | 24-02112 | 14854291 | 11/21/2024 09:00 | 11/21/2024 12:00 | BIG EDDY-QUENETT CREEK NO 1 230KV LINE | QUENETT CREEK: PCB A-1921, QUENETT CREEK: PCB A-1924, BIG EDDY: PCB A-1310 | GEN, BGEDY, COI, NWACI, PDCI, WOJD, TCLA
151 | 24-09602 | 15821840 | 11/21/2024 10:30 | 11/21/2024 12:00 | CHIEF JOSEPH: PCB 4728 |  | NOEL, NOH, SOC, WOCN, NWACI
152 | 24-06130 |  | 11/21/2024 14:30 | 11/21/2024 15:00 | ECHO LAKE: 500KV NORTH BUS LOR, PCB 5111 BFR |  | SOC, NOEL
153 | 24-09705 | 15836376 | 11/21/2024 15:00 | 11/21/2024 15:30 | SICKLER: PCB 4334 |  | BCHT, BCHW, CI, GEN, NOH, WOCN
154 | 24-01048 | 14702362 | 11/21/2024 23:00 | 11/23/2024 23:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
155 | 24-10998 | 15996888 | 11/23/2024 07:00 | 11/23/2024 16:00 | COVINGTON: 500/230KV TRANSFORMER 5 INCLUDING 34.5KV PCBS L-1907 AND L-1908 | COVINGTON: 500/230KV TRANSFORMER 5, RAVER-COVINGTON NO 2 500KV LINE, COVINGTON: PCB L-1907, COVINGTON: PCB L-1908 | NOEL, RP, SIG, SOC, NI, WOCN, IROL
156 | 24-15251 |  | 11/23/2024 07:00 | 11/23/2024 16:00 | PSE-OBRIEN SUBSTATION: PCB P22 (FORCES OUT CHRISTOPHER-OBRIEN TAP TO THE TACOMA-COVINGTON #2 230KV LINE) |  | SOC/NOEL
157 | 24-15090 |  | 11/25/2024 00:01 | 11/27/2024 15:00 | BOTHELL-SNO-KING NO 1 230KV LINE |  | NOEL, SOC
158 | 24-00128 | 14702032 | 11/25/2024 07:00 | 12/21/2024 15:00 | MCNARY-COYOTE SPRINGS NO 1 500KV LINE, INCLUDING NEW LONGHORN SUB | MCNARY: PCB 4231, MCNARY: PCB 4234, COYOTE SPRINGS: PCB 5184, COYOTE SPRINGS: PCB 5187 | SIG, WOM, WOJD, NWACI, WOLM
159 | 24-03270 | 15226644 | 11/25/2024 07:00 | 11/27/2024 17:00 | FRANKLIN: PCB B-1528 OF THE ICE HARBOR-FRANKLIN NO 1 115KV LINE | FRANKLIN: PCB B-1528, FRANKLIN: PCB B-1528 OF THE ICE HARBOR-FRANKLIN NO 1 115KV LINE, ICE HARBOR-FRANKLIN NO 1 115KV LINE | GEN, TCLA
160 | 24-11605 | 16201543 | 11/25/2024 07:00 | 11/25/2024 14:00 | SHELTON: PCB A-1757 BFR | SHELTON: PCB A-1757 | RP
161 | 24-12048 | 16201558 | 11/25/2024 14:01 | 11/25/2024 14:30 | SHELTON: PCB A-1754 |  | RP
162 | 24-11080 |  | 11/27/2024 13:30 | 11/27/2024 13:45 | CUSTER: 500KV WEST BUS LOR |  | SOC, NOEL
163 | 24-11076 | 16072554 | 11/27/2024 15:30 | 11/27/2024 16:00 | CUSTER: PCB 4494 |  | BCHT, BCHW, NOEL, SOC, NI
164 | 24-00942 | 14512553 | 11/29/2024 22:00 | 11/29/2024 22:30 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 |  | GEN, NOH, WOCN