## Request List
ROW | Request# | CAISO# | Start | End | Main Element Impacted |  | Path Affected
1 | 21-01711 | 15666227 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-14468 |  | 09/20/2022 17:00 | 03/15/2025 15:00 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5
3 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2024 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
4 | 22-14444 | 14231667 | 11/28/2022 08:00 | 10/31/2024 15:00 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576, ALVEY-CURRIN NO 1 115KV LINE, CURRIN-HAYDEN BRIDGE SWITCHING STATION 115KV LINE, CURRIN-LAUREL 115KV LINE, CURRIN-WILLAKENZIE 115KV LINE, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB, SCORC
5 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
6 | 23-01684 | 11460660 | 02/03/2023 15:30 | 10/01/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
7 | 23-03222 | 11461724 | 02/10/2023 18:30 | 10/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
8 | 23-09172 |  | 05/11/2023 08:00 | 05/31/2025 15:00 | CARLTON: 230/115 BK #1 OUTAGE/CARLTON-SHERWOOD #1 230KV LINE TT OUTAGE
9 | 23-16749 |  | 10/26/2023 07:00 | 03/28/2025 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1, VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
10 | 23-16132 | 14436650 | 11/01/2023 00:01 | 10/31/2024 23:59 | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | PDCI
11 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
12 | 24-03602 | 15110880 | 01/13/2024 20:07 | 10/31/2024 16:00 | HAYDEN BRIDGE SWITCHING STATION-WEYCO 3 115KV LINE |  | EWEB
13 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
14 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
15 | 24-03472 |  | 01/22/2024 08:00 | 06/22/2025 15:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV SERIES CAP GRP SEGMENT 1 and 2
16 | 24-06648 |  | 03/20/2024 13:25 | 11/15/2024 15:00 | PG&E - PACIRAS CONTROLLER B
17 | 24-05978 |  | 04/19/2024 16:01 | 05/30/2025 15:00 | MIDWAY: PCB A-1000 INCLUDING A-1000 MB, LS, AB DISC'S AND LINE DROP | MIDWAY: PCB A-1000 | WOM
18 | 24-00667 | 14475604 | 07/01/2024 07:00 | 11/14/2024 15:00 | -USBR- HUNGRY HORSE: PCB'S 2282 AND 2382 | HUNGRY HORSE PH: PCB 2282, HUNGRY HORSE PH: PCB 2382 | WOH, FLAT, MT-NW
19 | 24-11748 | 16090009 | 07/01/2024 16:00 | 10/21/2024 16:00 | BOX CANYON-USK 115KV LINE |  | SOB
20 | 24-11910 | 16116556 | 07/05/2024 16:30 | 10/03/2024 23:59 | NORTH BONNEVILLE-ALFALFA SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE |  | WOCS, LOAD
21 | 24-11909 | 16116750 | 07/05/2024 17:00 | 12/31/2024 15:00 | MALIN: 500KV REACTOR 2 INCLUDING PCB 4037 | MALIN: PCB 4037, MALIN: 500KV REACTOR 2 | NWACI, COI
22 | 24-12168 | 16152724 | 07/12/2024 14:00 | 12/31/2024 15:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE
23 | 24-13054 |  | 07/31/2024 16:00 | 11/28/2024 15:00 | MCNARY: A-436 LINE SIDE DISC, A-436 AUX BUS DISC, AND A-436 MAIN BUS DISC
24 | 24-13186 |  | 08/01/2024 08:00 | 08/01/2025 15:00 | BIG EDDY: PCB A-698 | BIG EDDY: PCB A-698 | COI, NWACI, PDCI, WOJD
25 | 24-08093 |  | 08/14/2024 06:00 | 11/01/2024 15:00 | KITSAP-BANGOR NO 1 115KV LINE |  | RP
26 | 24-10059 | 15972235 | 08/16/2024 07:00 | 12/19/2024 17:00 | OLYMPIA: 230/115KV TRANSFORMER 1 INCLUDING PCB'S A-218 AND B-682 | OLYMPIA: 230/115KV TRANSFORMER 1, OLYMPIA: PCB A-218, OLYMPIA: PCB B-682 | NOEL, RP, WOCN, SOC
27 | 24-03277 | 15396585 | 08/26/2024 08:00 | 10/19/2024 15:00 | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | TCLA
28 | 24-10084 |  | 08/27/2024 07:00 | 12/20/2024 15:00 | OLYMPIA: PCB A-218, RELAYS AND ASSOCIATED WIRING | OLYMPIA: PCB A-218 | NOEL, RP, WOCN, SOC
29 | 24-10093 |  | 08/27/2024 07:00 | 12/20/2024 15:00 | OLYMPIA: PCB B-682, RELAYS AND ASSOCIATED WIRING | OLYMPIA: PCB B-682
30 | 24-12427 | 16186734 | 09/02/2024 08:00 | 11/15/2024 16:00 | ALCOA: B-230 TERMINAL OF PIONEER-ALCOA NO 1 115KV LINE | FELIDA-SW48 SECTION OF PIONEER-ALCOA NO 1 115KV LINE, SW48-ALCOA SECTION OF PIONEER-ALCOA NO 1 115KV LINE | LOAD
31 | 24-12144 | 16225916 | 09/16/2024 07:00 | 10/03/2024 17:00 | NORTH BONNEVILLE: A-11 TERMINAL OF THE BONNEVILLE PH 2-NORTH BONNEVILLE NO 4 230KV LINE | BONNEVILLE PH 2-NORTH BONNEVILLE NO 4 230KV LINE, NORTH BONNEVILLE: PCB A-11 | GEN, FCRPS, WOCS
32 | 24-01319 | 14881568 | 09/19/2024 16:00 | 11/14/2024 15:00 | JOHN DAY: PCB 4137 INCLUDING MOD 4136 | JOHN DAY: PCB 4137 | NWACI, WOJD, PDCI
33 | 24-00058 | 12908864 | 09/23/2024 06:30 | 10/24/2024 17:00 | DWORSHAK PH: PCB XJ-7 | DWORSHAK PH: PCB XJ-7
34 | 24-00057 | 12875018 | 09/23/2024 06:30 | 10/24/2024 17:00 | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE, DWORSHAK PH-DWORSHAK NO 1 500KV LINE | GEN, SIG, FCRPS
35 | 24-03692 |  | 09/23/2024 08:00 | 10/03/2024 15:00 | PONDEROSA: DISCONNECT A-348 | PONDEROSA: DISCONNECT A-348, PONDEROSA: MOD A-348 (GIS), PONDEROSA: PCB A-398, PONDEROSA: PCB A-384 | SIG, COR, NWACI
36 | 23-00046 | 10030238 | 09/23/2024 08:00 | 10/03/2024 17:30 | LAPINE-CHILOQUIN NO 1 230KV LINE | LAPINE: PCB A-1553, LAPINE-CHILOQUIN NO 1 230KV LINE | COR, NWACI, LOAD
37 | 24-11890 | 16154279 | 09/23/2024 08:00 | 10/04/2024 15:00 | JOHN DAY: PCB 4158 SEL BFR AND BREAKER DIFF RELAY | JOHN DAY: PCB 4158 | NWACI, WOJD, PDCI
38 | 24-00120 | 15119837 | 09/23/2024 08:00 | 10/03/2024 15:00 | PONDEROSA: 500/230KV TRANSFORMER 1, INCLUDING PCB 4618 | PONDEROSA: 500/230KV TRANSFORMER 1, PONDEROSA TAP TO GRIZZLY-SUMMER LAKE NO 1 500KV LINE, INCLUDING PCB 4618 | NWACI, COR, SIG
39 | 24-03659 | 15239423 | 09/23/2024 08:00 | 10/11/2024 15:00 | ALFALFA-MIDWAY SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE | ALFALFA-MIDWAY SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE, ALFALFA: LBD A-1271 LINE SECT DISC, MIDWAY: PCB A-62 | WOM, BGEDY
40 | 24-08258 | 15652303 | 09/24/2024 08:00 | 10/03/2024 17:00 | MCNARY-ROSS NO 1 345KV LINE | ROSS: 345/230KV TRANSFORMER 4, MCNARY: 345/230KV TRANSFORMER 8, ROSS: PCB A-142, MCNARY: PCB A-432 | SOA, WOCS, WOM, NOPE, LOAD
41 | 24-00942 | 14512553 | 09/27/2024 23:00 | 10/25/2024 23:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
42 | 24-00389 | 14702171 | 09/29/2024 08:00 | 10/03/2024 18:00 | ASHE-SLATT NO 1 500KV LINE | ASHE: PCB 5466, ASHE: PCB 5463, SLATT: PCB 5015, SLATT: PCB 5018 | BCHT, BCHW, NI, NOH, SIG, WOM, WOS, NWACI, WOJD, FCRPS
43 | 24-05311 |  | 09/30/2024 04:00 | 10/11/2024 22:00 | HASKILL-TRUMBULL CREEK SECTION OF THE LIBBY-CONKELLEY #1 230KV LINE INCLUDING FLATHEAD: PCB A-1958, A-1959, 230KV MAIN BUS SECT 2, AND 230KV AUX BUS | HASKILL-TRUMBULL CREEK SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE, FLATHEAD: 230KV AUX BUS | MT-NW, GEN
44 | 24-02090 | 14839720 | 09/30/2024 06:00 | 10/11/2024 22:00 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS DC-A CONTROLLER, DITTMER: RAS WS-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC, NOPE
45 | 24-07783 |  | 09/30/2024 07:00 | 10/05/2024 15:00 | CHEHALIS: 230/115KV TRANSFORMER 2 | CHEHALIS: 115KV AUX BUS, CHEHALIS: 115KV MAIN BUS, CHEHALIS: PCB B-86, CHEHALIS: PCB B-90, CHEHALIS-PE ELL SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE | LOAD, SOA, RP, NOPE
46 | 24-00033 | 11346147 | 09/30/2024 07:00 | 10/04/2024 16:00 | MIDWAY-BENTON NO 2 230KV LINE INCLUDING PCB A-56 | MIDWAY: PCB A-56, BENTON: 230/115KV TRANSFORMER 1 | WOM, TCLA, GEN, LOAD
47 | 24-04740 | 15233433 | 09/30/2024 07:00 | 10/03/2024 14:00 | GARRISON: PCB 4418 RELAYS | GARRISON: PCB 4418 RELAYS, GARRISON: PCB 4418 | MT-NW
48 | 24-08517 | 15740894 | 09/30/2024 07:00 | 10/03/2024 14:00 | BROADVIEW-GARRISON NO 1 500KV LINE, GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1, PCB 4469 AND 500KV REACTOR 1 | GARRISON: PCB 4418, GARRISON: PCB 4421, GARRISON: PCB 4469, GARRISON: 500KV REACTOR 1 | MT-NW, GEN
49 | 24-03959 |  | 09/30/2024 07:00 | 10/18/2024 15:00 | CHEHALIS-SILVER CREEK SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE | CHEHALIS-SILVER CREEK SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE | RP, LOAD, SOA
50 | 23-00721 | 15476517 | 09/30/2024 07:30 | 10/11/2024 16:30 | PORT ANGELES: PCB B-648 INCLUDING 115KV CAP GROUP 1 SECTIONS 1 & 2 & LBD'S B-1883 & B-645 | PORT ANGELES: PCB B-648, PORT ANGELES: LBD B-1883, PORT ANGELES: LBD B-645, PORT ANGELES: 115KV CAP GROUP 1 SECTION 1, PORT ANGELES: 115KV CAP GROUP 1 SECTION 2 | WOCN, LOAD
51 | 24-11485 |  | 09/30/2024 08:00 | 11/16/2024 15:00 | LESLIE ROAD-REATA NO 1 115KV LINE
52 | 24-05219 |  | 09/30/2024 08:00 | 10/31/2024 17:00 | HOOD RIVER: PCB B-1680 | HOOD RIVER: PCB B-1680 | LOAD, BGEDY
53 | 24-07195 | 16147777 | 09/30/2024 08:00 | 10/03/2024 16:00 | FOREST GROVE: PCB B-650 |  | LOAD, SOA
54 | 24-12520 | 16200395 | 09/30/2024 08:00 | 10/03/2024 15:00 | TACOMA: 230KV CAP GROUP 3 SECTIONS 1 & 2, INCLUDING 230KV REACTIVE BUS & LBDs A-1078 & A-1079 | TACOMA: LBD A-1078, TACOMA: LBD A-1079, TACOMA: 230KV CAP GROUP 3 SECTION 1, TACOMA: 230KV CAP GROUP 3 SECTION 2, TACOMA: 230KV REACTIVE BUS | NOEL, RP, SOC, WOCN
55 | 24-07881 | 15628814 | 09/30/2024 08:00 | 10/04/2024 15:00 | HATWAI: 500/230KV TRANSFORMER 1 |  | ID-NW, MT-NW
56 | 24-08290 |  | 09/30/2024 08:00 | 10/04/2024 15:00 | HATWAI: MOD A-107 MAIN BUS, HATWAI: MOD A-115 AUX BUS
57 | 24-09026 | 16090349 | 09/30/2024 08:00 | 10/02/2024 15:00 | MURRAY: PCB B-1746, INCLUDING BFR AND LINE RELAYS | MURRAY: PCB B-1745, MURRAY: 115KV CAP GROUP 1 SECTION 1, MURRAY: 115KV CAP GROUP 1 SECTION 2
58 | 24-05570 | 15328795 | 10/01/2024 07:00 | 10/01/2024 16:00 | MONROE: PCB 4513 | MONROE: PCB 4513 | BCHT, NOEL, SOC, WOCN, NI
59 | 24-00839 | 14436635 | 10/01/2024 07:00 | 10/20/2024 16:00 | WAPA - OLINDA-TRACY 500KV LINE | WAPA - OLINDA-TRACY 500KV LINE | COI
60 | 24-08748 | 15753646 | 10/01/2024 07:00 | 10/03/2024 17:30 | ALVEY: 500/230KV TRANSFORMER 5, INCLUDING: 34.5KV TERTIARY BUS AND THE 500/230KV TIE LINE NO 1 500KV LINE | ALVEY 500/230KV TIE LINE NO 1 500KV LINE | NWACI, EWEB
61 | 24-10189 | 15915346 | 10/01/2024 08:00 | 10/01/2024 15:00 | KEELER-ALLSTON NO 1 500KV LINE |  | SIG, SOA, WOCS, NOPE
62 | 24-13059 | 16278587 | 10/01/2024 08:00 | 10/01/2024 18:00 | SOUTH TACOMA-SOUTHWEST NO 1 230KV LINE INCLUDING SOUTH TACOMA: PCBs A-1087 & A-1084 | SOUTH TACOMA: A-1086 DISC, SOUTH TACOMA: A-1085 DISC, SOUTH TACOMA: GROUND SWITCH 8062, SOUTH TACOMA-SOUTHWEST NO 1 230KV LINE, SOUTH TACOMA: PCB A-1087, SOUTH TACOMA: PCB A-1084 | RP, LOAD
63 | 24-12886 | 16248986 | 10/01/2024 08:00 | 10/01/2024 17:00 | BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: 230KV MAIN BUS SECTION 2, BIG EDDY: PCB A-826, BIG EDDY: PCB A-814, BIG EDDY: PCB A-816, BIG EDDY: PCB A-818, BIG EDDY: PCB A-822, BIG EDDY: PCB A-824, BIG EDDY: PCB A-828, BIG EDDY: 230/13.2KV TRANSFORMER 3, BIG EDDY: 13.2KV PCB L-1711, BIG EDDY: 13.2KV PCB L-1714, BIG EDDY: 230KV CAP GROUP 2 SECTION 1, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR, BIG EDDY-MAUPIN NO 1 230KV LINE, BIG EDDY-CHEMAWA NO 1 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE | WOCS, BGEDY, PDCI, WOJD, NWACI, COI, COR, NOH, GEN, FCRPS
64 | 24-05901 | 15358908 | 10/01/2024 08:00 | 01/30/2025 16:00 | WAPA - TRACY: 500KV SHUNT CAPACITOR PT10A & PT10B | WAPA - TRACY: 500KV SHUNT CAPACITOR PT10A & PT10B | COI
65 | 24-01181 | 15656487 | 10/01/2024 08:00 | 10/11/2024 15:00 | SACAJAWEA: 500/115KV TRANSFORMER 1, SACAJAWEA: PCB 4929 |  | TCLA, WOM, FCRPS, LOAD, SIG
66 | 24-00430 | 14277073 | 10/01/2024 08:00 | 10/01/2024 15:00 | ASHE: PCB 4909, INCLUDING 500KV REACTOR 2 | ASHE: 500KV REACTOR 2 | FCRPS, NOH, NWACI
67 | 24-12673 |  | 10/01/2024 08:00 | 10/03/2024 16:00 | BADGER CANYON: 115KV MAIN BUS | BADGER CANYON-VISTA SECTION OF BADGER CANYON-RICHLAND NO 1 115KV LINE, NINE CANYON-BADGER CANYON SECTION OF MCNARY-BADGER CANYON NO 1 115KV LINE, ORCHARD VIEW-BADGER CANYON SECTION OF FRANKLIN-BADGER CANYON NO 2 115KV LINE, SOUTHRIDGE-BADGER CANYON SECTION OF FRANKLIN-BADGER CANYON NO 1 115KV LINE | TCLA, LOAD, GEN, WOM
68 | 24-03995 | 15233618 | 10/01/2024 09:00 | 10/01/2024 16:00 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1-500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1, FORT ROCK: GRIZZLY-CAPTAIN JACK 1-500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265, FORT ROCK: PCB 4265 | NWACI
69 | 24-13099 | 16280260 | 10/02/2024 07:00 | 10/03/2024 15:00 | MORROW FLAT: PCB B-2214 |  | WOM
70 | 24-07632 | 15742561 | 10/02/2024 07:30 | 10/02/2024 16:00 | SNO-KING: 230KV MAIN BUS SECTION 2 INCLUDING PCB A-1202 | SNO-KING: 500/230KV TRANSFORMER 4, SNO-KING: 230/115KV TRANSFORMER 1, SNO-KING: PCB A-1195, SNO-KING: PCB A-1196, SNO-KING: PCB A-1202, SNO-KING: PCB A-1204, SNO-KING: PCB A-1206, SNO-KING: PCB B-1586, SNO-KING: 230KV MAIN BUS SECTION 2, SNO-KING: 13.8KV PCB L-1432, SNO-KING TAP TO ECHO LAKE-MONROE NO 1 500KV LINE | LOAD, NOEL, SIG, SOC, IROL, WOCN, BCHT, BCHW, NI
71 | 24-06965 | 15570136 | 10/02/2024 08:00 | 10/02/2024 15:00 | ASHE: 500KV NORTH BUS, INCLUDING PCB 4901 | ASHE: PCB 4940, ASHE: PCB 5466, ASHE: PCB 4888, ASHE: PCB 4901, ASHE: PCB 5327, ASHE: 500KV NORTH BUS | NWACI, WOCS, WOJD, WOM, FCRPS, WOS, GEN, NOH, WOLM
72 | 24-11309 | 16049636 | 10/02/2024 08:00 | 10/11/2024 15:00 | ALLSTON: PCB 4687, BFR |  | SOA, NOPE
73 | 24-02005 | 14881544 | 10/02/2024 08:00 | 10/02/2024 15:30 | GRIZZLY-MALIN PGE NO 2 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK, SYCAN SERIES CAP GROUP 2, AND MALIN: PCB 4072 | GRIZZLY-MALIN PGE NO 2 500KV LINE, GRIZZLY-MALIN PGE NO 2 500KV LINE INCLUDING SAND SPRINGS, FORT ROCK, SYCAN SERIES CAP GROUP 2, AND MALIN: PCB 4072, MALIN: PCB 4072, MALIN: PCB 4037, MALIN: 500KV REACTOR 2, SYCAN: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2, SAND SPRINGS: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2, FORT ROCK: GRIZZLY-MALIN 2 500KV LINE SERIES CAP GROUP 2 | BCHT, BCHW, NI, NWACI, SIG, COI
74 | 24-04200 | 15369380 | 10/02/2024 08:00 | 10/03/2024 15:00 | GRIZZLY: PCB 4222, INCLUDING 500KV REACTOR 1 |  | NWACI
75 | 24-12887 | 16248987 | 10/02/2024 08:00 | 10/02/2024 17:00 | BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: 230KV MAIN BUS SECTION 2, BIG EDDY: PCB A-826, BIG EDDY: PCB A-814, BIG EDDY: PCB A-816, BIG EDDY: PCB A-818, BIG EDDY: PCB A-822, BIG EDDY: PCB A-824, BIG EDDY: PCB A-828, BIG EDDY: 230/13.2KV TRANSFORMER 3, BIG EDDY: 13.2KV PCB L-1711, BIG EDDY: 13.2KV PCB L-1714, BIG EDDY: 230KV CAP GROUP 2 SECTION 1, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR, BIG EDDY-MAUPIN NO 1 230KV LINE, BIG EDDY-CHEMAWA NO 1 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE | WOCS, BGEDY, PDCI, WOJD, NWACI, COI, COR, NOH, GEN, FCRPS
76 | 24-06840 | 15843925 | 10/02/2024 08:00 | 10/03/2024 16:30 | POTHOLES: PCB A-969 | POTHOLES-GRAND COULEE NO 1 230KV LINE | NOH
77 | 24-02105 | 14880622 | 10/02/2024 08:00 | 10/02/2024 13:00 | SANTIAM: PCB A-502 INCLUDING THE REACTIVE GROUP 1 CAP SECTION 1 | SANTIAM: PCB A-502 INCLUDING THE REACTIVE GROUP 1 CAP SECTION 1, SANTIAM: PCB A-502, SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1 | SLAL, NWACI
78 | 24-09371 | 15821037 | 10/02/2024 10:00 | 10/02/2024 11:00 | SNOHOMISH: CHIEF JOSEPH 3 345KV LINE MWTT CKT 7001 | CHIEF JOSEPH: 345/230KV TRANSFORMER 1, CHIEF JOSEPH: PCB A-586, CHIEF JOSEPH: 13.8KV PCB L-126, SNOHOMISH: PCB A-190, SNOHOMISH: 345/230KV TRANSFORMER 5, CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE | NOEL, NOH, SOC, WOCN, FCRPS, NI, GEN, IROL
79 | 24-09375 | 15821109 | 10/02/2024 11:00 | 10/02/2024 12:00 | SNOHOMISH: CHIEF JOSEPH 4 345KV LINE MWTT CKT 7354 | SNOHOMISH: 345/230KV TRANSFORMER 6, CHIEF JOSEPH: 345/230KV TRANSFORMER 2, CHIEF JOSEPH: PCB A-600, SNOHOMISH: PCB A-194, CHIEF JOSEPH-SNOHOMISH NO 4 345KV LINE | NOEL, SOC, WOCN, GEN, IROL, NOH, FCRPS, NI
80 | 24-01068 | 14564692 | 10/03/2024 06:00 | 10/03/2024 10:00 | -USBR- GRAND COULLE: PCB'S 7182 AND 7382 | GRAND COULEE: PCB 7182, -USBR- GRAND COULLE: PCB'S 7182 AND 7382, GRAND COULEE: PCB 7382 | GEN, NOH, WOCN
81 | 24-12708 | 16279364 | 10/03/2024 07:00 | 10/03/2024 15:00 | SNOHOMISH: 115KV CAP GROUP 2 SECTION 1, 2 AND 3 INCLUDING PCBS B-632, A-907, A-908 AND A-909 | SNOHOMISH: PCB B-907, SNOHOMISH: PCB B-908, SNOHOMISH: PCB B-909, SNOHOMISH: PCB B-632, SNOHOMISH: 115KV CAP GROUP 2 SECTION 1, SNOHOMISH: 115KV CAP GROUP 2 SECTION 2, SNOHOMISH: 115KV CAP GROUP 2 SECTION 3 | NOEL, SOC, WOCN
82 | 24-07896 | 16241378 | 10/03/2024 07:30 | 10/03/2024 15:00 | KEELER: 230/115KV TRANSFORMER 1 INCLUDING THE 1W T/S, FDR SIDE AND BYPASS DISCONNECTS | KEELER: 230/115KV TRANSFORMER 1, KEELER: PCB A-860, KEELER: PCB B-1066, KEELER: 13.8KV PCB 1W STATION SERVICE 1 | SOA, LOAD, NOPE
83 | 24-11666 | 16233879 | 10/03/2024 08:00 | 10/12/2024 15:00 | ST JOHNS-DUTCH CANYON SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE | ST JOHNS-DUTCH CANYON SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE | LOAD, SOA, NOPE
84 | 24-11580 | 16153857 | 10/03/2024 08:00 | 10/03/2024 15:00 | CUSTER: PCB A-1546 |  | BCHT, BCHW, NOEL, SOC, NI
85 | 24-00428 | 14277090 | 10/03/2024 08:00 | 10/03/2024 15:00 | ASHE: PCB 4937 | ASHE: PCB 4937 | NOH, NWACI, FCRPS
86 | 24-11664 | 16071047 | 10/03/2024 08:00 | 10/12/2024 11:00 | ROSS-ST JOHNS NO 1 230kV LINE INCLUNDING ST JOHNS: 230/115KV TRANSFORMER 1 | ST. JOHNS: 230/115KV TRANSFORMER 1, ROSS-ST JOHNS NO 1 230KV LINE | LOAD, SOA, NOEL, SOC, NOPE
87 | 24-06621 | 15443578 | 10/03/2024 08:00 | 11/18/2024 17:00 | ROSS-RIVERGATE NO 1 230KV LINE |  | LOAD, SOA, NOPE
88 | 24-12256 |  | 10/04/2024 16:30 | 10/04/2024 17:00 | MCNARY PH-MCNARY NO 5 230KV LINE | MCNARY PH 230/13.8KV TRANSFORMER T5, MCNARY PH 230/13.8KV TRANSFORMER T6 | GEN, FCRPS, WOM
89 | 24-00908 | 14485529 | 10/06/2024 22:00 | 10/10/2024 19:00 | GRAND COULEE: PCB 2272 | GRAND COULEE: PCB 2272
90 | 24-12569 | 16201920 | 10/07/2024 06:00 | 10/11/2024 16:00 | VANTAGE: A-1162 TERMINAL OF VANTAGE-WANAPUM NO 3 230KV LINE | VANTAGE-WANAPUM NO 3 230KV LINE, VANTAGE: PCB A-1162 | GEN, WI, NOH
91 | 24-12143 |  | 10/07/2024 07:00 | 10/24/2024 17:00 | BONNEVILLE PH 2-NORTH BONNEVILLE NO 3 230KV LINE |  | GEN, FCRPS, WOCS
92 | 24-05016 | 15753611 | 10/07/2024 07:00 | 10/10/2024 16:30 | MARION-LANE NO 1 500KV LINE, (GROUNDED AT LANE) | LANE: 500/230KV TRANSFORMER 3 | NWACI, SIG, EWEB
93 | 24-08519 | 15740926 | 10/07/2024 07:00 | 10/10/2024 14:00 | GARRISON-TAFT NO 2 500KV LINE, GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2, PCB 4469 | GARRISON: PCB 4360, TAFT: PCB 4125, TAFT: PCB 4148, GARRISON: PCB 4463, GARRISON: HSGS 7883, GARRISON: PCB 4458 | MT-NW, SIG, WOH
94 | 24-04741 | 15233438 | 10/07/2024 07:00 | 10/10/2024 14:00 | GARRISON: PCB 4360 RELAYS | GARRISON: PCB 4360 RELAYS, GARRISON: PCB 4360 | MT-NW
95 | 24-09191 |  | 10/07/2024 07:00 | 10/18/2024 15:00 | WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP NO 1 |  | NOH, WOCN
96 | 24-03873 | 15207202 | 10/07/2024 07:00 | 10/10/2024 14:00 | DRUMMOND-MACKS INN NO 1 115KV LINE | DRUMMOND-MACKS INN NO 1 115KV LINE, MACKS INN-MADISON NO 1 115KV LINE, MACKS INN: 115/46KV TRANSFORMER 1, MACKS INN: 115/46KV TRANSFORMER 2, MACKS INN: 115KV MAIN BUS, MACKS INN: FALL RIVER E COOP 46KV FEEDER 1, MACKS INN: FALL RIVER E COOP 46KV FEEDER 2, MACKS INN: PCB B-363 | SEIL, LOAD
97 | 24-11064 | 16056195 | 10/07/2024 07:00 | 10/10/2024 14:00 | CUSTER: PCB 4494 BFR | CUSTER: PCB 4494 | BCHT, BCHW, NOEL, SOC, NI
98 | 24-00040 | 11350726 | 10/07/2024 07:30 | 10/22/2024 11:30 | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | BENTON-GLADE SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | TCLA
99 | 24-05144 |  | 10/07/2024 08:00 | 10/09/2024 16:00 | BIG EDDY: 115KV MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: 115KV MAIN BUS DIFFERENTIAL RELAY, BIG EDDY: PCB B-1060, BIG EDDY: PCB B-1054, BIG EDDY: PCB B-1050, BIG EDDY: PCB B-1048, BIG EDDY: PCB B-1692, BIG EDDY: PCB B-1696, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720, BIG EDDY: 230/115KV TRANSFORMER 1, BIG EDDY: 115/13.2KV TRANSFORMER 8, BIG EDDY-SEUFERT SECTION OF BIG EDDY-THE DALLES NO 1 115KV LINE, THE DALLES PH-BIG EDDY NO 1 115KV LINE, THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY-DE MOSS NO 1 115KV LINE | GEN, WOJD, BGEDY, SOA, FCRPS, NOPE
100 | 24-00070 | 13038420 | 10/07/2024 08:00 | 10/10/2024 16:00 | LAPINE-CHILOQUIN NO 1 230KV LINE | LAPINE-CHILOQUIN NO 1 230KV LINE, LAPINE: PCB A-1553 | LOAD, COR, GRZN
101 | 24-06490 | 15490580 | 10/07/2024 08:00 | 10/09/2024 15:00 | HANFORD: PCB 4104 |  | NOH, WOM, WOS
102 | 24-06837 | 15843824 | 10/07/2024 08:00 | 10/08/2024 16:30 | POTHOLES: PCB A-964 | POTHOLES-SAND DUNES NO 1 230KV LINE | NOH, GEN, WI
103 | 24-08336 |  | 10/07/2024 08:00 | 10/08/2024 17:00 | BOUNDARY: 230KV MAIN BUS SECTION 1 INCLUDING PCB'S A-1220, A-1222, A-1226, A-1233 AND SCL'S: PCB'S 240-351, 240-352 & 240-353 | BOUNDARY: 230KV MAIN BUS SECTION 1, BOUNDARY PH SCL-BOUNDARY NO 3 230KV LINE, ADDY-BOUNDARY SECTION OF BELL-BOUNDARY NO 3 230KV LINE, BOUNDARY PH SCL-BOUNDARY NO 2 230KV LINE, BOUNDARY-NELWAY NO 1 230KV LINE, BOUNDARY PH SCL-BOUNDARY NO 1 230KV LINE, BOUNDARY: PCB A-1220, BOUNDARY: PCB A-1222, BOUNDARY: PCB A-1226, BOUNDARY: PCB A-1233, 240VAC PRIMARY STATION SERVICE FEED FROM SCL'S 230/23KV STATION SERVICE TRANSFORMER 4 | NI, NOEL, SOB, SOC, GEN, BCHT
104 | 24-09469 |  | 10/07/2024 08:00 | 10/07/2024 17:30 | HIGHLANDS-ORCHARD VIEW SECTION OF FRANKLIN-BADGER CANYON NO 2 115KV LINE |  | TCLA
105 | 24-08109 |  | 10/07/2024 08:00 | 10/17/2024 15:00 | WENDSON: PCB A-1579 RELAYS & CONTROL CIRCUITS | WENDSON: PCB A-1579, WENDSON: PCB A-1580, WENDSON: 230KV AUX BUS, LANE-WENDSON NO 2 230KV LINE, LANE: PCB A-1452 | LOAD, SCORC
106 | 24-03961 |  | 10/07/2024 08:00 | 10/10/2024 16:00 | FOREST GROVE: PCB B-1284
107 | 24-00803 | 15233546 | 10/07/2024 08:30 | 10/10/2024 15:00 | SLATT: 230KV CAP GROUP 3 SECT 1 RELAY SETS 1, 2 AND PCB A-1799 BFR | SLATT: PCB A-1799, SLATT: 230KV CAP GROUP 3 SECT 1 RELAY SETS 1, 2 AND PCB A-1799 BFR, SLATT: 230KV CAP GROUP 3 SECTION 1, SLATT: SLATT: 230KV CAP GROUP 3 SECTION 1 RELAYS SET 1, SLATT: SLATT: 230KV CAP GROUP 3 SECTION 1 RELAYS SET 2 | COI, NWACI, PDCI, WOJD
108 | 24-07588 | 15659254 | 10/07/2024 11:00 | 10/07/2024 11:30 | CHIEF JOSEPH-MONROE NO 1 500KV LINE |  | GEN, IROL, NOEL, NOH, SIG, SOC, WOCN, NWACI
109 | 24-11974 |  | 10/08/2024 06:00 | 10/09/2024 14:00 | SWAN VALLEY: 115KV MAIN BUS INCLUDING 115/12.5KV XFMR 2, AND B-1663, B-1688, B-1676, B-1665, B-1675, B-1677 M/B DISCONNECTS | SWAN VALLEY: 115KV MAIN BUS, SWAN VALLEY: 115KV AUX BUS, SWAN VALLEY-TETON NO 2 115KV LINE, PALISADES-SWAN VALLEY NO 1 115KV LINE, SWAN VALLEY-TARGHEE TAP SECTION OF SWAN VALLEY-TETON NO 1 115KV LINE, SWAN VALLEY-GOSHEN NO 1 161KV LINE, SWAN VALLEY: 115/12.5KV TRANSFORMER 2, SWAN VALLEY: PCB B-1665, SWAN VALLEY: PCB B-1675, SWAN VALLEY: PCB B-1676, SWAN VALLEY: PCB B-1677, SWAN VALLEY: PCB B-1688, SWAN VALLEY: LOWER VALLEY ENG 12.5KV FEEDER 1 | GEN, LOAD, SEIL
110 | 24-04919 | 15397035 | 10/08/2024 07:00 | 10/08/2024 16:00 | COVINGTON: 230KV MAIN BUS SECTION 3 INCLUDING PCB'S A-93, A-854, A-1002, A-850, A-852, A-1006 AND A-1004 | COVINGTON: PCB A-93, COVINGTON: PCB A-854, COVINGTON: PCB A-1002, COVINGTON: PCB A-850, COVINGTON: PCB A-852, COVINGTON: PCB A-1006, COVINGTON: PCB A-1004, COVINGTON: 230KV MAIN BUS SECTION 3, TACOMA-COVINGTON NO 3 230KV LINE, COVINGTON-BETTAS ROAD NO 1 230KV LINE, TACOMA-COVINGTON NO 4 230KV LINE, COVINGTON: PCB A-1003, COVINGTON: PCB A-1005, COVINGTON: PCB A-999, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 1, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3, COVINGTON: 230KV REACTIVE GROUP 1 REACTOR 1, COVINGTON: PCB A-1007, COVINGTON: 500/230KV TRANSFORMER 4, COVINGTON: 230KV AUX BUS SECTION 3 | NOEL, SOC, RP, WOCN, IROL, LOAD, SIG, NI
111 | 24-02153 | 15189741 | 10/08/2024 07:30 | 10/09/2024 11:00 | COWLITZ: PCB B-364 INCLUDING THE 115KV AUX BUS AND COWLITZ PUD 115KV FEEDER 3 | COWLITZ: PCB B-343, COWLITZ: PCB B-364 INCLUDING THE 115KV AUX BUS AND COWLITZ PUD 115KV FEEDER 3, COWLITZ: PCB B-364, COWLITZ: 115KV AUX BUS, COWLITZ: COWLITZ CO PUD 115KV FEEDER 3
112 | 24-06634 | 15742005 | 10/08/2024 08:00 | 10/08/2024 15:00 | PEARL: 500/230KV TRANSFORMER 2 | PEARL: PCB 5458, PEARL: PCB 5455, PEARL: PCB A-1190 | LOAD, SIG, SOA, WOCS, NOPE
113 | 24-06231 | 15397067 | 10/09/2024 07:00 | 10/09/2024 16:00 | COVINGTON: 230KV MAIN BUS SECTION 3 INCLUDING PCB'S A-93, A-854, A-1002, A-850, A-852, A-1006 AND A-1004 | COVINGTON: PCB A-93, COVINGTON: PCB A-854, COVINGTON: PCB A-1002, COVINGTON: PCB A-850, COVINGTON: PCB A-852, COVINGTON: PCB A-1006, COVINGTON: PCB A-1004, COVINGTON: 230KV MAIN BUS SECTION 3, TACOMA-COVINGTON NO 3 230KV LINE, COVINGTON-BETTAS ROAD NO 1 230KV LINE, TACOMA-COVINGTON NO 4 230KV LINE, COVINGTON: PCB A-1003, COVINGTON: PCB A-1005, COVINGTON: PCB A-999, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 1, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3, COVINGTON: 230KV REACTIVE GROUP 1 REACTOR 1, COVINGTON: PCB A-1007, COVINGTON: 500/230KV TRANSFORMER 4, COVINGTON: 230KV AUX BUS SECTION 3 | NOEL, SOC, RP, WOCN, IROL, LOAD, SIG, NI
114 | 24-10782 |  | 10/09/2024 08:00 | 10/09/2024 17:00 | LANE-WENDSON #2 230KV LINE RELAYS AND TRANSFER TRIP | LANE: PCB A-1452, LANE: PCB A-1458 | EWEB, NWACI
115 | 24-04852 | 15396291 | 10/10/2024 07:00 | 10/10/2024 16:00 | COVINGTON: 230KV MAIN BUS SECTION 2 INCLUDING PCB'S A-92, A-76, A-72, A-71, A-86, A-70, AND A-93 | COVINGTON: PCB A-92, COVINGTON: PCB A-76, COVINGTON: PCB A-72, COVINGTON: PCB A-71, COVINGTON: PCB A-86, COVINGTON: PCB A-70, COVINGTON: PCB A-93, COVINGTON-BERRYDALE NO 1 230KV LINE, COVINGTON-DUWAMISH NO 1 230KV LINE, COVINGTON: 500/230KV TRANSFORMER 5, RAVER-COVINGTON NO 2 500KV LINE, COVINGTON: 230KV AUX BUS SECTION 2, COVINGTON: 230KV MAIN BUS SECTION 2, COVINGTON-WHITE RIVER NO 2 230KV LINE | BCHT, BCHW, NOEL, RP, SOC, WOCN, SIG, NI, IROL
116 | 24-13165 |  | 10/10/2024 07:00 | 10/10/2024 14:00 | SWAN VALLEY - TETON #1 115KV LINE
117 | 24-12118 | 16202283 | 10/10/2024 07:30 | 10/10/2024 15:00 | SATSOP: PCB A-630 |  | GEN, LOAD
118 | 24-12680 |  | 10/10/2024 08:00 | 10/16/2024 16:00 | BENTON-RINGOLD SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE | CONNELL-SCOOTENEY SECTION OF BENTON-SCOOTENEY NO 1 115KV LINE | TCLA
119 | 24-07816 | 15578460 | 10/10/2024 10:00 | 10/10/2024 11:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
120 | 24-07817 | 15578467 | 10/10/2024 11:00 | 10/10/2024 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
121 | 24-11529 | 16064862 | 10/10/2024 14:00 | 10/10/2024 14:30 | CUSTER: PCB 4496 |  | BCHT, BCHW, NOEL, SOC, NI
122 | 24-06234 | 15397106 | 10/11/2024 07:00 | 10/11/2024 16:00 | COVINGTON: 230KV MAIN BUS SECTION 2 INCLUDING PCB'S A-92, A-76, A-72, A-71, A-86, A-70, AND A-93 | COVINGTON: PCB A-92, COVINGTON: PCB A-76, COVINGTON: PCB A-72, COVINGTON: PCB A-71, COVINGTON: PCB A-86, COVINGTON: PCB A-70, COVINGTON: PCB A-93, COVINGTON-BERRYDALE NO 1 230KV LINE, COVINGTON-DUWAMISH NO 1 230KV LINE, COVINGTON: 500/230KV TRANSFORMER 5, RAVER-COVINGTON NO 2 500KV LINE, COVINGTON: 230KV AUX BUS SECTION 2, COVINGTON: 230KV MAIN BUS SECTION 2, COVINGTON-WHITE RIVER NO 2 230KV LINE | BCHT, BCHW, NOEL, RP, SOC, WOCN, SIG, NI, IROL
123 | 24-04132 | 15170060 | 10/11/2024 08:00 | 10/20/2024 16:00 | CARLTON: A-316 TERMINAL INCLUDING MW&L CASCADE STEEL A-1565 TERMINAL OF CARLTON-SHERWOOD NO 1 230KV LINE | CARLTON-SHERWOOD NO 1 230KV LINE, CASCADE STEEL: MCMINNVILLE W&L 230KV FEEDER 1, CARLTON-TILLAMOOK NO 1 230KV LINE, TILLAMOOK: 230/115KV TRANSFORMER 2, CARLTON: 230/115KV TRANSFORMER 1 | LOAD, SOA, NOPE, NWACI
124 | 24-12488 | 16193849 | 10/12/2024 06:30 | 10/14/2024 18:00 | MAPLE VALLEY: A-1134 TERMINAL OF MAPLE VALLEY-MASSACHUSETTS NO. 1 230KV LINE | MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE, MAPLE VALLEY: PCB A-1134 | NOEL, SOC
125 | 24-12489 |  | 10/12/2024 06:30 | 10/14/2024 15:00 | SCL - TALBOT-SOUTH 230KV LINE |  | SOC/NOEL
126 | 24-06620 | 15443654 | 10/12/2024 12:00 | 11/18/2024 17:00 | ROSS-ST JOHNS NO 1 230KV LINE |  | LOAD, SOA, NOPE
127 | 24-00004 | 10955457 | 10/13/2024 22:00 | 11/14/2024 17:00 | -USBR- GRAND COULEE: PCB 5382 | -USBR- GRAND COULEE: PCB 5382 | NOH, WOCN, COI, NWACI, PDCI
128 | 24-08626 |  | 10/14/2024 07:00 | 10/18/2024 18:00 | -PACW- ADIN TAP-AUSTIN SVEC TAP SECTION OF ALTURAS-NEWELL 69KV LINE
129 | 24-10674 | 15959367 | 10/14/2024 08:00 | 11/08/2024 16:00 | HATWAI: A-129 TERMINAL OF HATWAI-AVA LOLO NO 2 230KV LINE | HATWAI-AVA LOLO NO 2 230KV LINE, HATWAI: PCB A-129 | WOH
130 | 24-02092 | 14839749 | 10/15/2024 06:00 | 10/25/2024 23:00 | RAS - MUNRO: RAS AC-B CONTROLLER, RAS DC-B CONTROLLER, RAS WS-B CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER | RAS - MUNRO: RAS AC-B CONTROLLER, RAS DC-B CONTROLLER, RAS WS-B CONTROLLER, RAS SYNCHROPHASOR-B CONTROLLER, MUNRO: RAS AC-B CONTROLLER, MUNRO: RAS DC-B CONTROLLER, MUNRO: RAS WS-B CONTROLLER, MUNRO: RAS SYNCHROPHASOR-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC, NOPE
131 | 24-03874 | 15207231 | 10/15/2024 07:00 | 10/18/2024 14:00 | DRUMMOND-MACKS INN NO 1 115KV LINE | DRUMMOND-MACKS INN NO 1 115KV LINE, MACKS INN-MADISON NO 1 115KV LINE, MACKS INN: 115/46KV TRANSFORMER 1, MACKS INN: 115/46KV TRANSFORMER 2, MACKS INN: 115KV MAIN BUS, MACKS INN: FALL RIVER E COOP 46KV FEEDER 1, MACKS INN: FALL RIVER E COOP 46KV FEEDER 2, MACKS INN: PCB B-363 | SEIL, LOAD
132 | 24-02628 | 15199028 | 10/15/2024 07:00 | 10/16/2024 16:00 | BELL-USK NO 1 230KV LINE | BELL-USK NO 1 230KV LINE | SOB, GEN, WOH
133 | 24-02629 | 15107124 | 10/15/2024 07:00 | 10/16/2024 16:00 | USK-CUSICK SECTION OF USK-BOUNDARY NO 1 230KV LINE | USK-CUSICK SECTION OF USK-BOUNDARY NO 1 230KV LINE | SOB
134 | 24-05029 | 16228469 | 10/15/2024 07:00 | 10/17/2024 16:30 | ALBANY-FROMAN SECTION OF THE ALBANY-LEBANON NO 1 115KV LINE INCLUDING LOCHNER TAP | ALBANY-LOCHNER SECTION OF ALBANY-LEBANON NO 1 115KV LINE, LOCHNER-FROMAN SECTION OF ALBANY-LEBANON NO 1 115KV LINE | SLAL
135 | 24-13206 |  | 10/15/2024 07:00 | 10/15/2024 15:00 | OLYMPIA-SOUTH ELMA NO 1 115KV LINE |  | LOAD, SI, RP
136 | 24-06954 | 15575854 | 10/15/2024 07:00 | 10/15/2024 17:00 | RAVER-PAUL NO 1 500KV LINE INCLUDING PAUL: PCBS 4530 AND 4532 | RAVER-PAUL NO 1 500KV LINE, PAUL: PCB 4530, PAUL: PCB 4532 | BCHT, BCHW, IROL, NI, NOH, RP, SIG, SOA, SOC, NOEL, WOCN, NOPE, NWACI, GEN, WOCS
137 | 24-02170 | 14881053 | 10/15/2024 07:00 | 10/24/2024 17:00 | ALLSTON: PCB 4690 |  | SOA, NOPE
138 | 24-11777 | 16155250 | 10/15/2024 07:00 | 10/17/2024 18:00 | GRAND COULEE-CHIEF JOSEPH NO 2 230KV LINE |  | GEN, NOH, FCRPS
139 | 24-02802 | 15226281 | 10/15/2024 07:30 | 11/14/2024 15:00 | ALVEY: 230/115KV TRANSFORMER BK 3 INCLUDING: PCBs A-242, B-584, 13.2KV STATION SERVICE PCB 16W, 13.2KV TERTIARY BUS, 13.2KV REGULATED BUS, 13.2KV-240V 3-PHASE STATION SERVICE TRANSFORMER, AND 13.2KV-120/240V 1-PHASE STATION SERVICE LIGHTING TRANSFORMER | ALVEY: 230/115KV TRANSFORMER BK 3 INCLUDING: PCBs A-242, B-584, 13.2KV STATION SERVICE PCB 16W, 13.2KV TERTIARY BUS, 13.2KV REGULATED BUS, 13.2KV-240V 3-PHASE STATION SERVICE TRANSFORMER, AND 13.2KV-120/240V 1-PHASE STATION SERVICE LIGHTING TRANSFORMER, ALVEY: 230/115KV TRANSFORMER 3, ALVEY: PCB A-242, ALVEY: PCB B-584, ALVEY: 13.2KV PCB 16W STATION SERVICE | SCORC, EWEB, NWACI
140 | 24-12202 | 16208332 | 10/15/2024 08:00 | 10/15/2024 18:00 | MAUPIN-REDMOND NO 1 230KV LINE |  | COR, NOH
141 | 24-02180 | 15526967 | 10/15/2024 08:00 | 10/15/2024 14:30 | KEELER: PCB A-859 INCLUDING 230KV REACTIVE GROUP 2 CAP SECTION 3 | KEELER: PCB A-859, KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 3 | SOA, NOPE, WOCS
142 | 24-05671 | 15350416 | 10/15/2024 08:00 | 10/17/2024 15:30 | CHEMAWA: PCB A-669 | CHEMAWA: PCB A-669, CHEMAWA: PCB A-672, CHEMAWA: PCB A-673, CHEMAWA: 230KV CAP GROUP 2 SECTION 1, CHEMAWA: 230KV CAP GROUP 2 SECTION 2 | WOCS, SLAL
143 | 24-00802 | 15233608 | 10/15/2024 08:00 | 10/16/2024 15:00 | SLATT: PCB A-1797 BFR | SLATT: PCB A-1797, SLATT: PCB A-1797 BFR | JDAY, WOS, NWACI
144 | 24-02019 | 14881526 | 10/15/2024 08:00 | 10/17/2024 15:30 | MALIN: PCB 4072 | MALIN: PCB 4072 | NWACI, COI
145 | 24-07651 | 15651885 | 10/15/2024 08:00 | 10/15/2024 15:00 | ALLSTON: 500/230KV TRANSFORMER 1 | SUDDEN PRESSURE RELAY | SIG, SOA, NOPE
146 | 24-12468 | 16200339 | 10/15/2024 08:00 | 10/19/2024 15:00 | JOHN DAY: PCB 4191 SEL BFR RELAY AND BREAKER DIFF | JOHN DAY: PCB 4191 | NWACI, PDCI, WOJD, WOM
147 | 24-04421 | 15395963 | 10/16/2024 07:00 | 10/16/2024 16:00 | COVINGTON: 230KV MAIN BUS SECTION 1 INCLUDING PCB'S A-692, A-688, A-686, A-82, A-80, A-88, A-74 AND A-92 | COVINGTON: 230KV MAIN BUS SECTION 1, COVINGTON: PCB A-692, COVINGTON: PCB A-688, COVINGTON: PCB A-686, COVINGTON: PCB A-82, COVINGTON: PCB A-80, COVINGTON: PCB A-88, COVINGTON: PCB A-74, COVINGTON: PCB A-92, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, COVINGTON-CRESTON SCL NO 1 230KV LINE, CHEHALIS-COVINGTON NO 1 230KV LINE, TACOMA-COVINGTON NO 2 230KV LINE, COVINGTON-WHITE RIVER NO 1 230KV LINE, COVINGTON: PCB A-70, RAVER-COVINGTON NO 3 230KV LINE | NOEL, SOC, WOCN, BCHT, BCHW, RP, IROL
148 | 24-01098 | 15753707 | 10/16/2024 08:00 | 10/16/2024 16:00 | KEELER: PCB 4322 |  | SOA, NOPE
149 | 24-06941 | 16048197 | 10/16/2024 08:00 | 10/16/2024 16:00 | BOUNDARY: PCB A-1226 | BOUNDARY: 230KV AUX BUS
150 | 24-11407 | 16250567 | 10/16/2024 08:00 | 10/16/2024 15:00 | RAYMOND: 115KV MAIN BUS INCLUDING PCB'S B-122, B-126, B-124, AND B-120 | HOLCOMB-RAYMOND SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE, RAYMOND: PCB B-120, RAYMOND: PCB B-122, RAYMOND: PCB B-124, RAYMOND: PCB B-126 | LOAD
151 | 24-12127 | 16155695 | 10/16/2024 08:00 | 10/16/2024 18:00 | JOHN DAY-GRIZZLY NO 2 500KV LINE, INCLUDING BAKEOVEN 500KV SERIES CAP GROUP 2 | BAKEOVEN: JOHN DAY-GRIZZLY 2 500KV LINE SERIES CAP GROUP 2 | BCHT, BCHW, NI, NWACI, SIG, WOJD, GRZN, PDCI
152 | 24-05638 | 15351980 | 10/16/2024 16:00 | 10/16/2024 17:30 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE | NORTH BONNEVILLE-ROSS NO 2 230KV LINE | GEN, LOAD, WOCS, FCRPS
153 | 24-11061 |  | 10/17/2024 07:00 | 10/17/2024 16:00 | BIGELOW-TRENTWOOD SECTION OF BELL-TRENTWOOD NO 2 115KV LINE INCLUDING TRENTWOOD PCB B-1638, B-1640 AND 115KV WEST AUX BUS | BIGELOW-TRENTWOOD SECTION OF BELL-TRENTWOOD NO 2 115KV LINE, TRENTWOOD: PCB B-1638, TRENTWOOD: PCB B-1640, TRENTWOOD: 115KV WEST AUX BUS
154 | 24-07271 | 15522080 | 10/17/2024 07:00 | 10/17/2024 16:00 | COVINGTON: 230KV MAIN BUS SECTION 1 INCLUDING PCB'S A-692, A-688, A-686, A-82, A-80, A-88, A-74 AND A-92 | COVINGTON: 230KV MAIN BUS SECTION 1, COVINGTON: PCB A-692, COVINGTON: PCB A-688, COVINGTON: PCB A-686, COVINGTON: PCB A-82, COVINGTON: PCB A-80, COVINGTON: PCB A-88, COVINGTON: PCB A-74, COVINGTON: PCB A-92, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, COVINGTON-CRESTON SCL NO 1 230KV LINE, CHEHALIS-COVINGTON NO 1 230KV LINE, TACOMA-COVINGTON NO 2 230KV LINE, COVINGTON-WHITE RIVER NO 1 230KV LINE, COVINGTON: PCB A-70, RAVER-COVINGTON NO 3 230KV LINE | NOEL, SOC, WOCN, BCHT, BCHW, RP, IROL
155 | 24-12117 | 16202173 | 10/17/2024 07:00 | 10/17/2024 15:00 | SATSOP: PCB A-610 |  | GEN, LOAD
156 | 24-01099 | 15753719 | 10/17/2024 08:00 | 10/17/2024 15:00 | KEELER: PCB 4324 |  | SOA, NOPE
157 | 24-12674 |  | 10/17/2024 08:00 | 10/30/2024 15:00 | BADGER CANYON: PCB B-257 (FUTURE), PCB B-484 AND 115KV AUX BUS TO REMOVED LINE JUMPERS ON BADGER CANYON-LESLIE ROAD #1 115KV LINE
158 | 24-05031 |  | 10/18/2024 22:00 | 10/19/2024 07:00 | COUGAR-HOLDEN CREEK NO 1 115KV LINE, INCLUDING THE BLUE RIVER TAP | BLUE RIVER TAP TO COUGAR-HOLDEN CREEK NO 1 115KV LINE, BLUE RIVER-HOLDEN CREEK SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE, BLUE RIVER: LANE ELEC COOP 115KV FEEDER 1, CARMEN SMITH-BLUE RIVER SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE, COUGAR-CARMEN SMITH SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE, CARMEN PH: EWEB (EUGENE OR) 115KV FEEDER 1, CARMEN SMITH TAP TO COUGAR-HOLDEN CREEK NO 1 115KV LINE | EWEB
159 | 24-04174 | 15644591 | 10/19/2024 08:00 | 10/20/2024 19:30 | WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP NO 1 | SCHULTZ-WAUTOMA NO 1 500KV LINE | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
160 | 24-05532 | 15543573 | 10/21/2024 07:00 | 11/01/2024 17:00 | DETROIT: A-325 TERMINAL OF THE DETROIT PH-DETROIT #2 230KV LINE | DETROIT PH: 230/13.8KV BANK 2, DETROIT PH-DETROIT NO 2 230KV LINE | GEN
161 | 24-08871 |  | 10/21/2024 07:30 | 10/22/2024 18:00 | BIG EDDY: 230KV MAIN BUS SECTION 3 AND 4 MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: PCB A-830, BIG EDDY: PCB A-832, BIG EDDY: PCB A-834, BIG EDDY: PCB A-836, BIG EDDY: PCB A-839, BIG EDDY: PCB A-840, BIG EDDY: PCB A-842, BIG EDDY: PCB A-1310, BIG EDDY: PCB A-838, BIG EDDY: 230KV CAP GROUP 1 SECTION 1, BIG EDDY: 230KV CAP GROUP 1 SECTION 2, BIG EDDY: LBD A-837, BIG EDDY: LBD A-841, THE DALLES PH-BIG EDDY NO 5 230KV LINE, THE DALLES PH-BIG EDDY NO 6 230KV LINE, BIG EDDY: 230KV MAIN BUS SECTION 4, BIG EDDY: 230KV MAIN BUS SECTION 3, BIG EDDY: PCB A-828, BIG EDDY: 13.2KV PCB L-1478, BIG EDDY: 13.2KV PCB L-1476, HARVALUM-BIG EDDY NO 1 230KV LINE, BIG EDDY-QUENETT CREEK NO 1 230KV LINE, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR | PDCI, WOJD, NWACI, COI, GEN, FCRPS, WOCS, BGEDY, WOM
162 | 24-12469 | 16194685 | 10/21/2024 08:00 | 10/25/2024 15:00 | JOHN DAY: PCB 4194 SEL BFR AND BREAKER DIFF RELAY | JOHN DAY: PCB 4194 | NOH, NWACI, PDCI, WOJD
163 | 24-00556 | 15369402 | 10/21/2024 08:00 | 10/24/2024 15:00 | GRIZZLY: PCB 5037 BREAKER FAILURE RELAY | GRIZZLY: PCB 5037 | NWACI
164 | 24-13044 |  | 10/21/2024 08:00 | 10/22/2024 15:00 | SLATT: 230KV CAP GROUP 2 SECTION 2 INCLUDING PCB A-1798 | SLATT: PCB A-1798 | WOJD, NWACI
165 | 24-08703 | 16225691 | 10/21/2024 08:00 | 10/21/2024 16:00 | WHITE BLUFFS: PCB B-1362 INCLUDING 115KV CAP GRP NO. 1 | WHITE BLUFFS: PCB B-1362, WHITE BLUFFS: 115KV CAP GROUP 1 | LOAD
166 | 24-04170 |  | 10/21/2024 08:00 | 10/22/2024 18:00 | WAUTOMA: SCHULTZ 1 500KV LINE SERIES CAP GROUP NO 1 | SCHULTZ-WAUTOMA NO 1 500KV LINE | BCHT, BCHW, IROL, NI, NOH, SIG, WOCN
167 | 24-00413 | 15101035 | 10/21/2024 08:00 | 10/23/2024 15:00 | PEARL: PCB A-1170 INCLUDING 230KV CAP GROUP 2 | PEARL: PCB A-1170 INCLUDING 230KV CAP GROUP 2, PEARL: 230KV CAP GROUP 2, PEARL: PCB A-1170 | SOA, WOCS, NOPE
168 | 24-00077 | 14975191 | 10/21/2024 08:00 | 10/21/2024 15:00 | KEELER: 500KV WEST BUS INCLUDING 500KV CAP GROUP 3 AND PCB'S 4322 AND 4763 (FORCES OUT PEARL-KEELER 1 500KV LINE) | KEELER: PCB 4322, KEELER: 500KV WEST BUS INCLUDING 500KV CAP GROUP 3 AND PCB'S 4322 AND 4763 (FORCES OUT PEARL-KEELER 1 500KV LINE), KEELER: PCB 4763, KEELER: 500KV WEST BUS, PEARL-KEELER NO 1 500KV LINE, KEELER: 500KV CAP GROUP 3 | SOA, NOPE, SIG, NWACI, WOCS
169 | 24-08117 |  | 10/21/2024 08:00 | 10/31/2024 16:00 | WENDSON: PCB A-1582 RELAYS & CONTROL CIRCUITS | WENDSON: PCB A-1582, WENDSON: PCB A-1580, TOLEDO-WENDSON NO 1 230KV LINE, WENDSON: 230KV AUX BUS | LOAD, SCORC
170 | 24-03480 | 15149904 | 10/21/2024 09:30 | 10/24/2024 15:30 | SYCAN: SUMMER LAKE-MALIN 1-500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5066 | SYCAN: SUMMER LAKE-MALIN 1 500KV LINE SERIES CAP GROUP 3, SYCAN: SUMMER LAKE-MALIN 1-500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5066, SYCAN: PCB 5066 | NWACI
171 | 24-07884 |  | 10/21/2024 11:00 | 10/25/2024 15:00 | ANDERSON RANCH-MOUNTAIN HOME NO 1 115KV LINE | DIXIE: IDAHO POWER CO 24.9KV FEEDER 1, MOUNTAIN HOME: 138/115KV TRANSFORMER 1, DIXIE TAP TO ANDERSON RANCH-MOUNTAIN HOME NO 1 115KV LINE, DIXIE: 115/24.9KV TRANSFORMER 1 | GEN
172 | 24-03651 | 15570812 | 10/22/2024 06:00 | 10/22/2024 20:00 | MAPLE VALLEY: 230KV M/B SECT 1 INCL PCBs A-1146, A-1106, A-1108, A-1114, A-1116, A-1118, A-1120, A-1124, A-1140 AND 230KV/240V M/B SECT 1 SS XFMR | MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4, MAPLE VALLEY-DUWAMISH NO 1 230KV LINE, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-EAST PINE NO 1 230KV LINE, ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, MAPLE VALLEY-TALBOT NO 1 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE | NOEL, SOC, WOCN, NI, CI, IROL, NOH, SIG
173 | 24-04889 | 15245380 | 10/22/2024 07:00 | 10/22/2024 10:00 | GARRISON: 500KV EAST M/B INCLUDING 500KV REACTOR #5, AND PCB'S 4362, 4360, 4412, AND 4421 | GARRISON: 500KV EAST M/B INCLUDING 500KV REACTOR #5, AND PCB'S 4362, 4360, 4412, AND 4421, GARRISON: 500KV EAST BUS, GARRISON: 500KV REACTOR 5, GARRISON: PCB 4362, GARRISON: PCB 4360, GARRISON: PCB 4412, GARRISON: PCB 4421 | MT-NW
174 | 24-05030 | 16227948 | 10/22/2024 07:10 | 10/22/2024 16:30 | LOCHNER-B-1669 SECTION OF THE ALBANY-LEBANON NO 1 115KV LINE INCLUDING FROMAN TAP | LOCHNER-FROMAN SECTION OF ALBANY-LEBANON NO 1 115KV LINE, FROMAN-AIRPORT SECTION OF ALBANY-LEBANON NO 1 115KV LINE | SLAL
175 | 24-04723 | 15286092 | 10/22/2024 08:00 | 10/22/2024 15:00 | MONROE: 230KV MAIN BUS | MONROE-NOVELTY HILL NO 1 230KV LINE, MONROE-SNOHOMISH NO 1&2 230KV LINE, MONROE: 500/230KV TRANSFORMER 1, MONROE: 230KV REACTIVE GROUP 1 CAP SECTION 1, MONROE: 230KV REACTIVE GROUP 1 REACTOR 1, MONROE: 230KV REACTIVE GROUP 1 REACTOR 2 | BCHT, BCHW, NOEL, SOC, WOCN, IROL, SIG, NI
176 | 24-09888 | 16040196 | 10/22/2024 08:00 | 11/07/2024 15:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE |  | PA
177 | 24-01095 | 15584846 | 10/22/2024 08:00 | 10/22/2024 16:00 | MCMINNVILLE: PCB B-382 | MCMINNVILLE: 115KV CAP GROUP 2
178 | 24-00038 | 11350736 | 10/22/2024 12:00 | 10/30/2024 16:00 | GLADE-FRANKLIN SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | GLADE-FRANKLIN SECTION OF BENTON-FRANKLIN NO 2 115KV LINE | TCLA
179 | 24-07088 | 15570821 | 10/23/2024 06:00 | 10/23/2024 20:00 | MAPLE VALLEY: 230KV M/B SECT 1 INCL PCBs A-1146, A-1106, A-1108, A-1114, A-1116, A-1118, A-1120, A-1124, A-1140 AND 230KV/240V M/B SECT 1 SS XFMR | MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4, MAPLE VALLEY-DUWAMISH NO 1 230KV LINE, COVINGTON-MAPLE VALLEY NO 2 230KV LINE, MAPLE VALLEY-EAST PINE NO 1 230KV LINE, ROCKY REACH-MAPLE VALLEY NO 1 345KV LINE, MAPLE VALLEY-TALBOT NO 1 230KV LINE, SNO-KING-MAPLE VALLEY NO 2 230KV LINE | NOEL, SOC, WOCN, NI, CI, IROL, NOH, SIG
180 | 24-06646 | 15599929 | 10/23/2024 08:00 | 10/23/2024 15:00 | MARION: 500KV REACTOR 1 INCLUDING PCB 4012 | MARION: 500KV REACTOR 1, MARION: PCB 4012 | NWACI
181 | 24-01410 | 14881090 | 10/23/2024 08:30 | 10/23/2024 15:00 | LITTLE GOOSE: PCB 4626 | LITTLE GOOSE: PCB 4626 | WOLM
182 | 24-12390 |  | 10/23/2024 09:00 | 10/24/2024 16:00 | TOLEDO-WENDSON #1 230KV LINE AND TRANSFER TRIP | TOLEDO: PCB A-1468, TOLEDO: PCB A-1464 | LOAD, SCORC
183 | 24-03653 | 15571038 | 10/24/2024 06:00 | 10/25/2024 20:00 | MAPLE VALLEY: 230KV M/B SECT 3 INCL PCBs A-1141, A-1139, A-1138, A-1136, A-1134, A-1132, A-1130 AND A-1140 | MAPLE VALLEY: 20KV SVC, SNO-KING-MAPLE VALLEY NO 1 230KV LINE, SAMMAMISH-MAPLE VALLEY NO 1 230KV LINE, MAPLE VALLEY-MASSACHUSETTS NO 1 230KV LINE, ECHO LAKE-MAPLE VALLEY NO 1&2 500KV LINE, MAPLE VALLEY-TALBOT NO 2 230KV LINE | IROL, NOEL, SOC, WOCN, SIG
184 | 24-05043 | 15286650 | 10/24/2024 07:00 | 10/24/2024 10:30 | GARRISON: 500KV WEST M/B INCLUDING 500KV REACTORS 3,4, AND PCB'S 4457, 4460, 4463, 4409, AND 4415 | GARRISON: 500KV WEST M/B INCLUDING 500KV REACTORS 3,4, AND PCB'S 4457, 4460, 4463, 4409, AND 4415, GARRISON: 500KV WEST BUS, GARRISON: 500KV REACTOR 3, GARRISON: 500KV REACTOR 4, GARRISON: PCB 4457, GARRISON: PCB 4460, GARRISON: PCB 4463, GARRISON: PCB 4409, GARRISON: PCB 4415, GARRISON: 500/230KV TRANSFORMER 1 | MT-NW
185 | 24-00073 | 16227988 | 10/24/2024 08:00 | 10/24/2024 16:00 | FOREST GROVE: PGE CORNELIUS 115KV LINE | FOREST GROVE: PCB B-1285, FOREST GROVE: PORTLAND GEN ELEC 115KV FEEDER 1 | SOA, LOAD, NOPE
186 | 24-06643 | 15599942 | 10/24/2024 08:00 | 10/24/2024 15:00 | MARION: 500KV CAP GROUP 1 INCLUDING PCB 4331 | MARION: 500KV CAP GROUP 1, MARION: PCB 4331 | WOCS, NWACI
187 | 24-10709 | 15971616 | 10/24/2024 08:30 | 10/24/2024 10:00 | CHIEF JOSEPH: PCB 4594 |  | NOEL, SOC, WOCN, NOH
188 | 24-10710 | 15971621 | 10/24/2024 10:00 | 10/24/2024 12:00 | CHIEF JOSEPH: PCB 4598 |  | NOEL, SOC, WOCN, NOH
189 | 24-09029 | 15742172 | 10/24/2024 10:00 | 10/24/2024 11:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
190 | 24-09030 | 15742174 | 10/24/2024 11:00 | 10/24/2024 12:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
191 | 24-09031 | 15742183 | 10/24/2024 12:30 | 10/24/2024 13:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
192 | 24-09032 | 15742190 | 10/24/2024 13:30 | 10/24/2024 14:30 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
193 | 24-12128 |  | 10/25/2024 07:00 | 10/25/2024 16:00 | DIABLO (SCL)-GORGE 230KV LINE |  | NOEL, SOC
194 | 24-02093 | 14839783 | 10/26/2024 06:00 | 10/27/2024 23:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER | DITTMER: RAS WS-A CONTROLLER, RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER, MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, RP, SIG, SOA, SOC, COI, NWACI, PDCI, NOPE
195 | 24-12591 | 16208045 | 10/26/2024 12:00 | 10/26/2024 12:30 | CHIEF JOSEPH PH-CHIEF JOSEPH NO 4 230KV LINE |  | GEN, NOH, FCRPS
196 | 24-12596 |  | 10/26/2024 15:30 | 10/26/2024 16:00 | WS RAS GEN DROP TESTING TO GRAND COULEE 230 (GRAND COULEE PH-GRAND COULEE 4 230KV LINE)
197 | 24-12597 | 16208306 | 10/26/2024 16:00 | 10/26/2024 16:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
198 | 24-01221 | 14676305 | 10/27/2024 22:00 | 10/30/2024 19:00 | -USBR- GRAND COULEE: 230KV MAIN BUS SECTIONS 1A AND 1B | -USBR- GRAND COULEE: 230KV MAIN BUS SECTIONS 1A AND 1B, GRAND COULEE: 230/115KV BANK KX2A SWITCHYARD TIE, GRAND COULEE: PCB 5182, GRAND COULEE-BELL NO 3 230KV LINE, GRAND COULEE: PCB 5286, GRAND COULEE: PCB 5382, GRAND COULEE: PCB 5582, COLUMBIA-GRAND COULEE NO 1 230KV LINE, GRAND COULEE: PCB 5686, GRAND COULEE: PCB 5782, GRAND COULEE: PCB 5886 | NOH, OKLA, LOAD, WOCN, WOH, CI
199 | 24-02943 | 15030902 | 10/28/2024 06:30 | 10/30/2024 12:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
200 | 24-08549 | 15741028 | 10/28/2024 07:00 | 11/01/2024 14:00 | GARRISON: 500/230KV TRANSFORMER 1, INCLUDING PCB A-880 |  | MT-NW
201 | 24-05641 | 15352030 | 10/28/2024 07:00 | 11/12/2024 16:00 | SIFTON: 230/115KV TRANSFORMER 2 | SIFTON: 230/115KV TRANSFORMER 2, SIFTON: 230KV EAST MAIN BUS, SIFTON: PCB A-163, SIFTON: PCB B-1500, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE | SOA, NOPE, GEN, LOAD, WOCS
202 | 24-02164 | 14881027 | 10/28/2024 07:00 | 11/07/2024 17:00 | ALLSTON: PCB 4470 |  | SOA, NOPE
203 | 24-11121 |  | 10/28/2024 07:00 | 10/31/2024 18:00 | ALVEY: 115KV SOUTH MAIN BUS, INCLUDING: PCBs B-586, B-582, B-580, B-576, B-574, B-572, B-570, THE DILLARD-ALVEY SECTION OF THE EUGENE-ALVEY #2 115KV LINE, AND THE HIDEAWAY-ALVEY SECTION OF THE HAWKINS-ALVEY #1 115KV LINE | ALVEY: SPRNGFLD UTIL BRD 115KV FEEDER 1 TO SPRINGFIELD, MT. VERNON-ALVEY SECTION OF LOOKOUT POINT-ALVEY NO 2 115KV LINE, ALVEY: 115/34.5KV TRANSFORMER 1, ALVEY: LANE ELEC COOP 34.5KV FEEDER 1, DILLARD-ALVEY SECTION OF EUGENE-ALVEY NO 2 115KV LINE, HIDEAWAY-ALVEY SECTION OF HAWKINS-ALVEY NO 1 115KV LINE, ALVEY: SPRNGFLD UTIL BRD 115KV FEEDER 1 TO 10TH STREET, ALVEY: 230/115KV TRANSFORMER 3, ALVEY: 115KV AUX BUS | SCORC, GEN
204 | 24-13187 |  | 10/28/2024 07:00 | 10/29/2024 16:00 | BELL: 230KV CAP GROUP 10 SECTIONS 1 AND 2 INCLUDING LBD A-925 AND A-926 - GROUNDED - | BELL: 230KV CAP GROUP 10 SECTION 1, BELL: 230KV CAP GROUP 10 SECTION 2, BELL: LBD A-925, BELL: LBD A-926, BELL: PCB A-368 | MT-NW, WOH
205 | 24-10643 |  | 10/28/2024 07:30 | 10/31/2024 16:00 | LA GRANDE: 230KV CAP GROUP 1 SECTION 1 RELAYS SET 1 & 2 INCLUDING PCB A-267 BFR | LA GRANDE: PCB A-267, LA GRANDE: 230KV CAP GROUP 1 | ID-NW
206 | 24-07805 | 15577687 | 10/28/2024 07:30 | 11/01/2024 16:30 | KEELER-OREGON CITY NO 2 115KV LINE |  | LOAD, SOA, NOPE
207 | 24-00101 | 13140906 | 10/28/2024 07:30 | 10/28/2024 08:00 | MALIN-HILLTOP NO 1 230KV LINE | MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI
208 | 24-13068 |  | 10/28/2024 08:00 | 10/30/2024 18:00 | CANAL (SCL)-BROADSTREET 115KV LINE |  | NOEL, SOC
209 | 24-00464 | 14277155 | 10/28/2024 08:00 | 10/31/2024 15:00 | GRIZZLY: PCB 5034 | GRIZZLY: PCB 5034 | NWACI, COI
210 | 24-13016 |  | 10/28/2024 08:00 | 11/03/2024 17:00 | BIG EDDY: THE DALLES PH-BIG EDDY NO. 2 115KV LINE INCLUDING BIG EDDY PCB B-1050 | THE DALLES PH-BIG EDDY NO 2 115KV LINE, BIG EDDY: PCB B-1050, BIG EDDY: 115/13.2KV TRANSFORMER 8, BIG EDDY: 13.2KV PCB L-1717, BIG EDDY: 13.2KV PCB L-1720 | GEN, FCRPS
211 | 23-00049 | 10388102 | 10/28/2024 08:00 | 10/31/2024 18:30 | CANBY TAP TO MALIN-HILLTOP NO 1 230KV LINE (UNGROUNDED) | CANBY: PCB A-1391, CANBY: 230/69KV TRANSFORMER 1, CANBY TAP TO MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI, LOAD
212 | 24-12470 | 16194758 | 10/28/2024 08:00 | 11/01/2024 15:00 | JOHN DAY: PCB 4197 SEL BFR AND BREAKER DIFF RELAY | JOHN DAY: PCB 4197 | NWACI, PDCI, WOJD
213 | 24-07710 | 15935872 | 10/28/2024 08:00 | 10/28/2024 15:30 | BIG EDDY-OSTRANDER NO 1 500KV LINE INCLUDING BIG EDDY PCB 4205 | BIG EDDY-OSTRANDER NO 1 500KV LINE, BIG EDDY: PCB 4205, BIG EDDY: PCB 4202, OSTRANDER: PCB 4448, OSTRANDER: PCB 4450 | PDCI, SIG, WOCS, WOJD, BGEDY, NWACI
214 | 24-06647 | 15742054 | 10/28/2024 08:00 | 11/01/2024 15:00 | PEARL: PCB 4280 |  | SOA, NOPE
215 | 24-00557 | 15369400 | 10/28/2024 08:00 | 10/31/2024 15:00 | GRIZZLY: PCB 5034 BREAKER FAILURE RELAY | GRIZZLY: PCB 5034 | NWACI
216 | 23-16153 | 14615698 | 10/28/2024 08:00 | 11/01/2024 16:30 | TACOMA: 230KV SOUTH MAIN BUS INCLUDING TACOMA-TPWR NORTHEAST NO.3 230KV LINE, PCB'S A-1075, A-1074, A-1073, A-1072, A-1080, A-1082 | TACOMA: 230KV SOUTH MAIN BUS INCLUDING TACOMA-TPWR NORTHEAST NO.3 230KV LINE, PCB'S A-1075, A-1074, A-1073, A-1072, A-1080, A-1082, TACOMA: 230KV SOUTH MAIN BUS, TACOMA-TPWR COWLITZ NO 1 230KV LINE, TACOMA-COVINGTON NO 4 230KV LINE, TACOMA-TPWR NORTHEAST NO 3 230KV LINE, TACOMA-CHRISTOPHER SECTION OF TACOMA-COVINGTON NO 2 230KV LINE | NOEL, RP, SIG, SOC, WOCN
217 | 24-11978 |  | 10/29/2024 07:00 | 10/29/2024 14:00 | MADISON: LBD B-57, MADISON: 115KV CAP GROUP 1 SECTION 1
218 | 24-01472 | 15233705 | 10/29/2024 08:00 | 10/29/2024 15:00 | DWORSHAK: PCB 4666 | DWORSHAK: PCB 4666 | MT-NW, FCRPS
219 | 24-00999 | 14550806 | 10/29/2024 08:00 | 10/30/2024 15:00 | MOXEE: 115KV MAIN BUS INCLUDING PCBS B-912, B-910, B-906, B-904, and B-902 | MOXEE: 115KV MAIN BUS INCLUDING PCBS B-912, B-910, B-906, B-904, and B-902, MOXEE: 115KV NORTH MAIN BUS, MOXEE: 115KV SOUTH MAIN BUS, MOXEE: PCB B-902, MOXEE: PCB B-910, MOXEE: PCB B-906, MOXEE: PCB B-904, MOXEE: PCB B-912, MOXEE-ROZA NO 1 115KV LINE, MOXEE-HOPLAND SECTION OF MOXEE-UNION GAP NO 1 115KV LINE, GOOSE PRAIRIE-MOXEE SECTION OF MIDWAY-MOXEE NO 1 115KV LINE, CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE, MOXEE: 115KV AUX BUS | TCLA, LOAD
220 | 24-13220 |  | 10/30/2024 07:00 | 10/30/2024 11:00 | BELL: 230KV CAP GROUP 1 | BELL: PCB A-556 | MT-NW, WOH
221 | 24-01464 | 15233726 | 10/30/2024 08:00 | 10/30/2024 15:00 | DWORSHAK: PCB 4656 | DWORSHAK: PCB 4656 | MT-NW
222 | 24-08947 | 15735607 | 10/30/2024 12:00 | 11/01/2024 23:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
223 | 24-00039 | 11350746 | 10/31/2024 07:30 | 10/31/2024 16:00 | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP | BENTON-FRANKLIN NO 2 115KV LINE INCLUDING GLADE TAP AND TAYLOR FLATS TAP, BENTON-FRANKLIN NO 2 115KV LINE, GLADE TAP TO BENTON-FRANKLIN NO 2 115KV LINE, TAYLOR FLATS TAP TO BENTON-FRANKLIN NO 2 115KV LINE | TCLA, WOM, LOAD
224 | 24-10711 | 15971629 | 10/31/2024 08:00 | 10/31/2024 10:00 | CHIEF JOSEPH: PCB 4594 |  | NOEL, SOC, WOCN, NOH
225 | 24-07650 | 15569035 | 10/31/2024 08:00 | 10/31/2024 12:00 | MAPLE VALLEY: PCB A-1118 |  | NOEL, SOC, WOCN
226 | 24-12800 | 16243178 | 10/31/2024 08:00 | 10/31/2024 15:00 | DEER PARK: 115KV CAP GROUP 1 INCLUDING PCB B-1913 | DEER PARK: 115KV CAP GROUP 1, DEER PARK: PCB B-1913
227 | 24-10712 | 15971641 | 10/31/2024 10:00 | 10/31/2024 12:00 | CHIEF JOSEPH: PCB 4598 |  | NOEL, SOC, WOCN, NOH
228 | 24-07652 | 15569037 | 10/31/2024 12:00 | 10/31/2024 15:00 | MAPLE VALLEY: PCB A-1108 |  | NOEL, SOC
229 | 24-00102 | 13140873 | 10/31/2024 18:30 | 10/31/2024 19:00 | MALIN-HILLTOP NO 1 230KV LINE | MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI