## Request List
ROW | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 15666227 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-14468 |  | 09/20/2022 17:00 | 03/15/2025 15:00 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5
3 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2024 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
4 | 22-14444 | 14231667 | 11/28/2022 08:00 | 10/31/2024 15:00 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576, ALVEY-CURRIN NO 1 115KV LINE, CURRIN-HAYDEN BRIDGE SWITCHING STATION 115KV LINE, CURRIN-LAUREL 115KV LINE, CURRIN-WILLAKENZIE 115KV LINE, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB, SCORC
5 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
6 | 23-01684 | 11460660 | 02/03/2023 15:30 | 10/01/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
7 | 23-03222 | 11461724 | 02/10/2023 18:30 | 10/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
8 | 23-16749 |  | 10/26/2023 07:00 | 03/28/2025 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1, VALHALLA: CHELAN CO PUD 115KV FEEDER T1 | CI
9 | 23-16132 | 14436650 | 11/01/2023 00:01 | 10/31/2024 23:59 | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | PDCI
10 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
11 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
12 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
13 | 24-06648 |  | 03/20/2024 13:25 | 11/15/2024 15:00 | PG&E - PACIRAS CONTROLLER B
14 | 24-05978 |  | 04/19/2024 16:01 | 05/30/2025 15:00 | MIDWAY: PCB A-1000 INCLUDING A-1000 MB, LS, AB DISC'S AND LINE DROP | MIDWAY: PCB A-1000 | WOM
15 | 24-08460 |  | 04/24/2024 08:00 | 10/31/2024 15:00 | MCNARY PCB A-436 INCL A-436 M/B, L/S, AND A/B DISCS
16 | 23-00722 | 15184029 | 05/16/2024 07:30 | 09/30/2024 16:00 | PORT ANGELES: B-1206 TERMINAL OF THE CLALLAM CO PUD 115KV FEEDER 1 | PORT ANGELES: PCB B-1206, PORT ANGELES: CLALLAM CO PUD 115KV FEEDER 1
17 | 24-10449 |  | 06/06/2024 14:00 | 09/30/2024 15:00 | GOLD BEACH: B-1738, B-1740, B-35, B-36, 115KV MAIN BUS
18 | 24-00667 | 14475604 | 07/01/2024 07:00 | 11/14/2024 15:00 | -USBR- HUNGRY HORSE: PCB'S 2282 AND 2382 | HUNGRY HORSE PH: PCB 2282, HUNGRY HORSE PH: PCB 2382 | WOH, FLAT, MT-NW
19 | 24-11910 | 16116556 | 07/05/2024 16:30 | 10/03/2024 23:59 | NORTH BONNEVILLE-ALFALFA SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE |  | WOCS, LOAD
20 | 24-11909 | 16116750 | 07/05/2024 17:00 | 12/31/2024 15:00 | MALIN: 500KV REACTOR 2 INCLUDING PCB 4037 | MALIN: PCB 4037, MALIN: 500KV REACTOR 2 | NWACI, COI
21 | 24-10920 |  | 07/08/2024 08:00 | 10/10/2024 15:00 | BOUNDARY: 230KV MAIN BUS DIFFERENTIAL RELAYS
22 | 24-12168 | 16152724 | 07/12/2024 14:00 | 12/31/2024 15:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE
23 | 24-01317 | 14886903 | 07/25/2024 18:00 | 09/19/2024 08:00 | JOHN DAY: PCB 4173 INCLUDING MOD 4172 | JOHN DAY: PCB 4173 | NWACI, WOJD, PDCI
24 | 24-05855 | 15356474 | 07/29/2024 07:30 | 09/05/2024 11:00 | WAPA - OLINDA-TRACY 500KV LINE SHUNT REACTOR KT8A | WAPA - OLINDA-TRACY 500KV LINE SHUNT REACTOR KT8A | COI
25 | 24-02212 | 14880834 | 08/05/2024 07:00 | 09/06/2024 15:00 | MCNARY: 230KV AUX BUS SECTION 2 INCLUDING PCB A-425 | MCNARY: 230KV AUX BUS SECTION 2 INCLUDING PCB A-425, MCNARY: PCB A-425 | WOM
26 | 24-01140 | 15959411 | 08/19/2024 07:00 | 09/04/2024 14:00 | COLUMBIA FALLS - FLATHEAD #1 230KV LINE INCLUDING FLATHEAD: PCB A-221 AND 230KV AUX BUS | COLUMBIA FALLS-FLATHEAD NO 1 230KV LINE, FLATHEAD: PCB A-221, FLATHEAD: 230KV AUX BUS | GEN, LOAD, MT-NW, FLAT
27 | 24-07139 | 15513694 | 08/19/2024 08:00 | 09/11/2024 15:00 | KEELER: 230KV REACTIVE GROUP 2, REACTOR 1 INCLUDING PCB A-873 | KEELER: 230KV REACTIVE GROUP 2 REACTOR 1, KEELER: PCB A-873 | SOA, NOPE
28 | 24-04442 | 15665948 | 08/19/2024 08:00 | 09/09/2024 15:00 | WENDSON-BERRYDALE SECTION OF WENDSON-TAHKENITCH NO 1 115KV LINE, INCLUDING: PCB B-1778 AND B-1778 MAIN BUS DISCONNECT |  | SWORE
29 | 24-00015 | 9567061 | 08/26/2024 06:00 | 09/20/2024 23:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
30 | 24-11305 | 16048756 | 08/26/2024 07:00 | 09/06/2024 15:00 | ALLSTON: PCB 4500, BFR |  | SOA, NOPE
31 | 24-03277 | 15396585 | 08/26/2024 08:00 | 10/19/2024 15:00 | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | TCLA
32 | 24-10059 | 15972235 | 08/27/2024 07:00 | 12/19/2024 17:00 | OLYMPIA: 230/115KV TRANSFORMER 1 INCLUDING PCB'S A-218 AND B-682 | OLYMPIA: 230/115KV TRANSFORMER 1, OLYMPIA: PCB A-218, OLYMPIA: PCB B-682 | NOEL, RP, WOCN, SOC
33 | 24-00406 | 14156629 | 09/02/2024 06:30 | 09/12/2024 12:30 | THE DALLES PH: ZMT5 DSC | THE DALLES PH: ZMT5 DSC, THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
34 | 24-00158 | 13650944 | 09/02/2024 06:30 | 09/02/2024 07:00 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
35 | 24-00160 | 13685451 | 09/02/2024 06:30 | 09/12/2024 12:00 | THE DALLES PH: 230/13.2KV BANK 5 | THE DALLES PH: 230/13.2KV BANK 5
36 | 24-10292 | 15915159 | 09/02/2024 07:30 | 09/02/2024 15:30 | LOWER MONUMENTAL: PCB 4316 |  | WOLM
37 | 24-11571 | 16089555 | 09/03/2024 06:00 | 09/05/2024 16:30 | BELL: 230KV AUX BUS SECTION 3 INCLUDING 230KV CAP GROUP 9 SECTIONS 1, 2, AND 3, AND PCB'S A-378, A-931, A-932, AND A-933 | BELL: 230KV CAP GROUP 9 SECTION 1, BELL: 230KV CAP GROUP 9 SECTION 2, BELL: 230KV CAP GROUP 9 SECTION 3, BELL: PCB A-378, BELL: PCB A-931, BELL: PCB A-932, BELL: PCB A-933, BELL: PCB A-372 | MT-NW, WOH
38 | 24-01424 | 14793075 | 09/03/2024 07:00 | 09/12/2024 15:00 | LANCASTER-NOXON NO 1 230KV LINE | LANCASTER-NOXON NO 1 230KV LINE, LANCASTER: PCB A-1186, LANCASTER: PCB A-1184 | MT-NW, WOH, FLAT
39 | 24-07221 |  | 09/03/2024 07:00 | 09/13/2024 16:00 | PGE - KEELER-ST MARYS 230KV LINE |  | SOA, NOPE
40 | 24-05024 | 15959614 | 09/03/2024 07:00 | 09/04/2024 16:30 | WILLOW CREEK-HAWKINS NO 1 115KV LINE |  | EWEB
41 | 24-11377 | 16055510 | 09/03/2024 07:00 | 09/03/2024 15:00 | SHELTON: PCB A-941 |  | RP
42 | 24-07223 | 16147478 | 09/03/2024 07:00 | 09/13/2024 16:00 | KEELER: A-866 TERMINAL OF KEELER-PGE ST MARYS NO 1 230KV LINE | KEELER-PGE ST MARYS NO 1 230KV LINE, KEELER: PCB A-866 | LOAD, SOA, NOPE
43 | 24-02017 | 15066871 | 09/03/2024 08:00 | 09/04/2024 15:00 | PEARL: PCB A-1192, 230KV MAIN BUS SECTIONALIZING PCB |  | SOA, NOPE
44 | 24-01289 | 14703312 | 09/03/2024 08:00 | 09/03/2024 16:00 | ALVEY: 230KV REACTOR 1, INCLUDING PCB A-241 | ALVEY: 230KV REACTOR 1, ALVEY: PCB A-241, INCLUDING PCB A-241 | SCORC
45 | 24-05048 | 15319741 | 09/03/2024 08:00 | 09/05/2024 15:00 | SALEM-GRAND RONDE NO 1 115KV LINE | SALEM-GRAND RONDE NO 1 115KV LINE, SALEM: PCB B-56 | LOAD, SOA, SLAL, NOPE
46 | 24-05151 | 15742236 | 09/03/2024 08:00 | 09/03/2024 15:00 | FAIRMOUNT: PCB A-1608 |  | RP
47 | 24-00811 | 14517554 | 09/03/2024 08:00 | 09/04/2024 16:00 | MORROW FLAT: PCB A-1877 BFR | MORROW FLAT: PCB A-1877, MORROW FLAT: PCB A-1877 BFR | WOM
48 | 24-11889 | 16140048 | 09/03/2024 08:00 | 09/13/2024 15:00 | JOHN DAY: PCB 4153 SEL BFR AND BREAKER DIFF RELAY | JOHN DAY: PCB 4153, JOHN DAY: 500KV CAP GROUP 1 | NWACI, WOJD, PDCI
49 | 24-06630 | 15959962 | 09/03/2024 08:00 | 09/03/2024 15:00 | SALEM: 230/115KV TRANSFORMER 1 | SALEM: PCB B-64, CHEMAWA-SALEM NO 1 230KV LINE | SLAL, WOCS
50 | 24-01173 | 14885594 | 09/03/2024 08:00 | 09/03/2024 15:30 | LOWER MONUMENTAL: PCB 4263 | LOWER MONUMENTAL: PCB 4263 | WOLM
51 | 24-05450 | 15327219 | 09/03/2024 08:00 | 09/26/2024 15:00 | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | LOAD, SOA, NOPE
52 | 24-00429 | 14700343 | 09/03/2024 08:00 | 09/05/2024 15:00 | WAUTOMA: PCB 5253 | WAUTOMA: PCB 5253 | WOCN
53 | 24-10264 | 16048578 | 09/03/2024 13:00 | 09/03/2024 16:30 | REEDSPORT: PCB B-318
54 | 24-11392 | 16055981 | 09/04/2024 07:00 | 09/04/2024 16:00 | SHELTON: PCB A-990 |  | RP
55 | 24-10679 | 15972411 | 09/04/2024 07:00 | 09/04/2024 17:00 | WALLA WALLA-DAYTON SECTION OF WALLA WALLA-TUCANNON RIVER NO 1 115KV LINE |  | WAWA, GEN
56 | 24-11629 | 16065051 | 09/04/2024 08:00 | 09/04/2024 14:00 | BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | UNDERWOOD TAP TO BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | GEN, WOCS, FCRPS, LOAD
57 | 24-01936 | 15871672 | 09/04/2024 08:00 | 09/06/2024 16:00 | ST HELENS-DEER ISLAND SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE
58 | 24-06625 | 15564042 | 09/04/2024 08:00 | 09/04/2024 15:00 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1 INCLUDING PCB A-502 | SANTIAM: 230KV REACTIVE GROUP 1 CAP SECTION 1, SANTIAM: PCB A-502 | SLAL, NWACI
59 | 24-04411 | 16147482 | 09/04/2024 08:00 | 09/05/2024 15:00 | KEELER-OREGON CITY NO 2 115KV LINE |  | LOAD, SOA, NOPE
60 | 24-11394 | 16056010 | 09/05/2024 07:00 | 09/05/2024 16:00 | SHELTON: PCB A-1754 |  | RP
61 | 24-05026 | 16147485 | 09/05/2024 07:00 | 09/05/2024 16:30 | LOOKOUT POINT-MT. VERNON SECTION OF LOOKOUT POINT-ALVEY NO 2 115KV LINE |  | GEN
62 | 24-11271 | 16049491 | 09/05/2024 07:00 | 09/05/2024 14:00 | FLATHEAD: NEW BUS TIE A-1957 RELAYS | FLATHEAD: PCB A-219, HOT SPRINGS: PCB A-280, HOT SPRINGS: 230KV AUX BUS, FLATHEAD-LION MOUNTAIN SECTION OF FLATHEAD-HOT SPRINGS NO 1 230KV LINE, FLATHEAD: 230KV AUX BUS | MT-NW, FLAT
63 | 24-11625 | 16065022 | 09/05/2024 08:00 | 09/05/2024 14:00 | BONNEVILLE-UNDERWOOD SECTION OF BONNEVILLE PH 1-NORTH CAMAS NO 1 115KV LINE |  | LOAD
64 | 24-10046 | 16147501 | 09/05/2024 08:00 | 09/05/2024 12:00 | PONDEROSA: PCB A-1812 |  | COR, NWACI
65 | 24-11022 |  | 09/05/2024 08:00 | 09/05/2024 15:30 | -PACW- HOUSTON LAKE-POWELL BUTTE SECTION OF HOUSTON LAKE-BPA REDMOND 115KV LINE
66 | 24-06640 | 15564393 | 09/05/2024 08:00 | 09/05/2024 15:00 | MARION: PCB 4371 |  | NWACI, WOCS
67 | 24-00940 | 14700505 | 09/05/2024 08:00 | 09/05/2024 15:00 | RAVER: PCB 4305 | RAVER: PCB 4305 | NOEL, RP, SOC, WOCN
68 | 24-01300 | 15357926 | 09/05/2024 08:00 | 09/05/2024 16:00 | LANE: PCB A-1458 | LANE: PCB A-1458 | EWEB, NWACI
69 | 24-10047 | 16147865 | 09/05/2024 12:00 | 09/05/2024 15:00 | PONDEROSA: PCB A-1815 |  | COR, NWACI
70 | 24-00941 | 14700522 | 09/05/2024 16:00 | 09/05/2024 17:00 | RAVER: PCB 4302 | RAVER: PCB 4302 | NOEL, RP, SOC, WOCN
71 | 24-10333 |  | 09/07/2024 22:00 | 09/08/2024 08:00 | BALD MOUNTAIN TAP-UNDERWOOD SECTION OF UNDERWOOD TAP TO BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE, BALD MOUNTAIN TAP-UNDERWOOD SECTION OF UNDERWOOD TAP TO BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | GEN, WOCS, FCRPS, LOAD
72 | 23-00115 | 11597761 | 09/08/2024 22:00 | 09/08/2024 22:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
73 | 24-00147 | 13578053 | 09/09/2024 03:00 | 09/19/2024 17:00 | CHIEF JOSEPH: A-576 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 1 230KV LINE | CHIEF JOSEPH PH: 230/13.8KV T1, CHIEF JOSEPH: A-576 TERMINAL OF CHIEF JOSEPH PH-CHIEF JOSEPH 1 230KV LINE, CHIEF JOSEPH PH-CHIEF JOSEPH NO 1 230KV LINE | GEN, NOH, FCRPS
74 | 24-11573 | 16139514 | 09/09/2024 06:00 | 09/09/2024 16:30 | BELL: PCB 5307 |  | MT-NW, WOH
75 | 24-00161 | 16088001 | 09/09/2024 06:00 | 09/12/2024 17:00 | JOHN DAY: 4174/4175 TERMINAL OF JOHN DAY PH-JOHN DAY 4 500KV LINE | JOHN DAY PH-JOHN DAY NO 4 500KV LINE | GEN, NWACI, FCRPS, SIG, WOJD, PDCI
76 | 24-05900 | 15478805 | 09/09/2024 07:00 | 09/26/2024 15:00 | MAPLE VALLEY: 20KV SVC INCLUDING 230/20KV TRANSFORMER BANK 3 AND PCB A-1141 | MAPLE VALLEY: 230/20KV TRANSFORMER 3, MAPLE VALLEY: 20KV SVC, MAPLE VALLEY: PCB A-1141 | IROL, NOEL, SOC, WOCN
77 | 24-05466 | 15627266 | 09/09/2024 07:00 | 09/13/2024 16:00 | SNOHOMISH-BEVERLY PARK NO 3 115KV LINE, (GROUNDED AT SNOHOMISH)
78 | 24-04737 | 15233407 | 09/09/2024 07:00 | 09/12/2024 14:00 | GARRISON: PCB 4409 RELAYS | GARRISON: PCB 4409 RELAYS, GARRISON: PCB 4409 | MT-NW
79 | 24-11456 | 16056133 | 09/09/2024 07:00 | 09/10/2024 16:00 | SHELTON: PCB A-984 INCLUDING CAP GROUP 2 | SHELTON: PCB A-984, SHELTON: 230KV CAP GROUP 2 | RP
80 | 24-03871 | 15207140 | 09/09/2024 07:00 | 09/12/2024 14:00 | DRUMMOND-MACKS INN NO 1 115KV LINE | DRUMMOND-MACKS INN NO 1 115KV LINE, MACKS INN-MADISON NO 1 115KV LINE, MACKS INN: 115/46KV TRANSFORMER 1, MACKS INN: 115/46KV TRANSFORMER 2, MACKS INN: 115KV MAIN BUS, MACKS INN: FALL RIVER E COOP 46KV FEEDER 1, MACKS INN: FALL RIVER E COOP 46KV FEEDER 2, MACKS INN: PCB B-363 | SEIL, LOAD
81 | 23-01675 | 12841272 | 09/09/2024 07:00 | 09/12/2024 16:00 | ROSS: 230/115KV TRANSFORMER 1 | ROSS: 230/115KV TRANSFORMER 1, ROSS: PCB A-26, ROSS: PCB B-2, ROSS: 13.2KV PCB L-25 | LOAD, SOA, NOPE
82 | 24-05227 | 15973411 | 09/09/2024 08:00 | 09/14/2024 15:00 | NOXON-LIBBY NO 1 230KV LINE | LIBBY: PCB A-1593 | WOH, FCRPS, GEN, FLAT, MT-NW
83 | 24-11845 |  | 09/09/2024 08:00 | 09/09/2024 16:30 | CHENOWETH: 230/115KV TRANSFORMER BANK NO. 1 INCLUDING PCB B-1220 AND 115KV A/B | CHENOWETH: 230/115KV TRANSFORMER 1, CHENOWETH: PCB B-1220, CHENOWETH: 115KV AUX BUS, CHENOWETH: PCB B-1214, QUENETT CREEK: PCB A-1934, QUENETT CREEK: PCB A-1937, QUENETT CREEK-CHENOWETH NO 1 230KV LINE | GEN
84 | 24-11584 | 16148227 | 09/09/2024 08:00 | 09/09/2024 17:00 | MIDWAY-VANTAGE NO 1 230KV LINE INCLUDING VANTAGE: 230KV AUX BUS SECTION 2 AND PCB A-1158 | MIDWAY-VANTAGE NO 1 230KV LINE, VANTAGE: 230KV AUX BUS SECTION 2, VANTAGE: PCB A-1158 | GEN, NOH, WI
85 | 24-10349 |  | 09/09/2024 08:00 | 09/26/2024 18:00 | SCL - EAST PINE-SOUTH 230KV LINE |  | SOC/NOEL
86 | 24-11306 | 16048768 | 09/09/2024 08:00 | 09/18/2024 15:00 | ALLSTON: PCB 4474, BFR |  | SOA, NOPE
87 | 23-00045 | 10030237 | 09/09/2024 08:00 | 09/19/2024 17:30 | LAPINE-CHILOQUIN NO 1 230KV LINE | LAPINE-CHILOQUIN NO 1 230KV LINE, LAPINE: PCB A-1553 | LOAD, COR, NWACI
88 | 24-05152 | 15336748 | 09/09/2024 08:00 | 09/12/2024 15:00 | PORT ANGELES: 230/115KV TRANSFORMER 3 | PORT ANGELES: 230/115KV TRANSFORMER 3 | LOAD
89 | 24-06742 | 15974067 | 09/09/2024 08:00 | 09/12/2024 16:00 | HAWKINS-HIDEAWAY SECTION OF HAWKINS-ALVEY NO 1 115KV LINE
90 | 24-11403 |  | 09/09/2024 08:00 | 09/10/2024 15:00 | TIMBER TAP TO FOREST GROVE-TILLAMOOK NO 1 115KV LINE | TIMBER: WEST OREGON ELEC 34.5KV FEEDER 1 | SOA, NOPE
91 | 24-07749 | 15974409 | 09/09/2024 08:00 | 09/09/2024 17:00 | WENDSON: 115KV MAIN BUS INCLUDING: PCB B-1779 AND CENTRAL LINCOLN PUD 115KV FEEDER 1 | WENDSON: PCB B-1778, WENDSON: PCB B-1779, WENDSON: PCB B-1783, WENDSON: PCB B-1784, WENDSON: 230/115KV TRANSFORMER 1, MAPLETON-WENDSON SECTION OF LANE-WENDSON NO 1 115KV LINE, WENDSON-BERRYDALE SECTION OF WENDSON-TAHKENITCH NO 1 115KV LINE, WENDSON: CENTRAL LINC PUD 115KV FEEDER 1, WENDSON: 230/115KV TIE NO 1 115KV LINE, WENDSON: 115KV MAIN BUS | LOAD, SCORC, SWORE
92 | 24-10348 |  | 09/09/2024 08:00 | 09/26/2024 15:00 | SCL- EAST PINE 230KV BUS 1, BANK 96 AND SOUTH-EAST PINE 230KV LINE | EAST PINE (SCL)-SOUTH 230KV LINE | NOEL, SOC
93 | 24-10757 | 16003917 | 09/09/2024 08:00 | 09/09/2024 11:00 | SLATT: PCB A-1804 |  | WOJD, NWACI
94 | 24-08785 | 15997978 | 09/09/2024 08:00 | 09/20/2024 16:30 | -LVE- SNAKE RIVER-HOBACK SECTION OF SNAKE RIVER-JACKSON NO 1 115KV LINE | SNAKE RIVER-HOBACK SECTION OF SNAKE RIVER-JACKSON NO 1 115KV LINE | SEIL, LOAD
95 | 24-00424 | 14700867 | 09/09/2024 08:00 | 09/11/2024 15:00 | WAUTOMA: PCB 5250 | WAUTOMA: PCB 5250 | WOCN
96 | 24-06710 | 15515090 | 09/09/2024 08:00 | 09/09/2024 12:00 | ASHE-MARION NO 2 500KV LINE | ASHE: PCB 4940, ASHE: PCB 4937, ASHE: PCB 4907, MARION: PCB 4377, MARION: PCB 4380 | BCHT, BCHW, NI, NWACI, SIG, WOCS, WOJD, WOM, FCRPS, NOH
97 | 24-10181 | 15892109 | 09/09/2024 09:00 | 09/12/2024 15:00 | LITTLE GOOSE: PCB 4348 | LITTLE GOOSE: PCB 4348 BFR | WOLM
98 | 24-11791 |  | 09/09/2024 09:00 | 09/19/2024 18:00 | DE MOSS-CONDON WIND SECTION OF DE MOSS-FOSSIL NO 1 115KV LINE | DE MOSS: PCB B-2078, DE MOSS: PCB B-2075 | BGEDY
99 | 24-05229 | 15313216 | 09/09/2024 09:00 | 09/12/2024 15:00 | TILLAMOOK: PCB B-1096 INCLUDING CAP GRP 2 SECTIONS 1 AND 2 | TILLAMOOK: PCB B-1096 INCLUDING CAP GRP 2 SECTIONS 1 AND 2, TILLAMOOK: PCB B-1096, TILLAMOOK: 115KV CAP GROUP 2 SECTION 1, TILLAMOOK: 115KV CAP GROUP 2 SECTION 2 | LOAD, SOA
100 | 24-11607 | 16072363 | 09/09/2024 10:30 | 09/09/2024 16:00 | SNOHOMISH: PCB B-492 |  | BCHT, BCHW, LOAD, NOEL, SOC
101 | 24-10773 | 16003919 | 09/09/2024 11:00 | 09/09/2024 16:00 | SLATT: PCB A-1801 |  | WOJD, NWACI
102 | 24-11576 | 16139527 | 09/10/2024 06:00 | 09/10/2024 16:30 | BELL: PCB 5316 |  | MT-NW, WOH
103 | 24-11018 | 16148546 | 09/10/2024 07:00 | 09/12/2024 14:00 | TINCUP: 115KV CAP GROUP 1 INCLUDING LBD T-772 | TINCUP: 115KV CAP GROUP 1 | SEIL, LOAD
104 | 24-01930 | 14805067 | 09/10/2024 08:00 | 09/10/2024 15:00 | QUENETT CREEK: 230KV SOUTH BUS, INCLUDING PCB'S A-1917, A-1927, A-1937 AND A-1947 | QUENETT CREEK: 230KV SOUTH BUS, QUENETT CREEK: PCB A-1917, INCLUDING PCB'S A-1917, A-1927, A-1937 AND A-1947, QUENETT CREEK: PCB A-1927, QUENETT CREEK: PCB A-1937, QUENETT CREEK: PCB A-1947, QUENETT CREEK: PCB A-1914, QUENETT CREEK: PCB A-1924, QUENETT CREEK: PCB A-1934, QUENETT CREEK: PCB A-1944 | LOAD, BGEDY
105 | 24-11587 | 16148688 | 09/10/2024 08:00 | 09/10/2024 17:00 | VANTAGE-POMONA HEIGHTS NO 1 230KV LINE INCLUDING VANTAGE: 230KV AUX BUS SECTION 1 AND PCB A-1150 | VANTAGE-POMONA HEIGHTS NO 1 230KV LINE, VANTAGE: 230KV AUX BUS SECTION 1, VANTAGE: PCB A-1150 | NOH
106 | 24-01135 | 14887357 | 09/10/2024 08:00 | 09/10/2024 15:00 | CUSTER: PCB A-1540 | CUSTER: PCB A-1540 | BCHT, BCHW, NOEL, SOC, NI
107 | 24-12048 |  | 09/10/2024 14:00 | 09/10/2024 14:30 | SHELTON: PCB A-1754 |  | RP
108 | 24-11578 | 16139545 | 09/11/2024 06:00 | 09/11/2024 16:30 | BELL: PCB 5310 |  | MT-NW, WOH
109 | 24-08338 | 15645688 | 09/11/2024 07:00 | 09/12/2024 14:00 | GARRISON: 500KV REACTOR 3, GARRISON: PCB 4460 |  | MT-NW
110 | 24-07598 | 15565011 | 09/11/2024 08:00 | 09/11/2024 11:00 | BETTAS ROAD: PCB A-3040 |  | NOEL, SOC, WOCN
111 | 24-07712 | 15570809 | 09/11/2024 10:00 | 09/11/2024 21:00 | CELILO: PACIFIC HVDC PROBING SIGNAL TEST | CHIEF JOSEPH: BRAKING RESISTOR | NOH, SIG, NWACI
112 | 24-07599 | 15565051 | 09/11/2024 11:01 | 09/11/2024 14:00 | BETTAS ROAD: PCB A-3043 |  | NOEL, SOC, WOCN
113 | 24-05393 | 15997994 | 09/11/2024 21:00 | 09/12/2024 05:00 | BELL-TRENTWOOD NO 2 115KV LINE INCLUDING BIGELOW TAP AND GREEN BLUFF TAP | BELL: PCB B-360, TRENTWOOD: PCB B-1638, BELL-BIGELOW SECTION OF BELL-TRENTWOOD NO 2 115KV LINE, BIGELOW-TRENTWOOD SECTION OF BELL-TRENTWOOD NO 2 115KV LINE, BIGELOW TAP TO BELL-TRENTWOOD NO 2 115KV LINE, GREEN BLUFF TAP TO BELL-TRENTWOOD NO 2 115KV LINE
114 | 24-02091 | 14879679 | 09/12/2024 08:00 | 09/12/2024 15:00 | QUENETT CREEK: 230KV NORTH BUS, INCLUDING PCB'S A-1911, A-1921, A-1931, AND A-1941 | QUENETT CREEK: 230KV NORTH BUS, QUENETT CREEK: PCB A-1911, INCLUDING PCB'S A-1911, A-1921, A-1931, AND A-1941, QUENETT CREEK: PCB A-1921, QUENETT CREEK: PCB A-1931, QUENETT CREEK: PCB A-1941, QUENETT CREEK: PCB A-1914, QUENETT CREEK: PCB A-1924, QUENETT CREEK: PCB A-1934, QUENETT CREEK: PCB A-1944 | CI, BGEDY
115 | 24-00425 | 14700877 | 09/12/2024 08:00 | 09/12/2024 15:00 | WAUTOMA: PCB 5259 | WAUTOMA: PCB 5259 | WOCN
116 | 24-10329 | 16153123 | 09/12/2024 08:00 | 09/12/2024 15:00 | BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE INCLUDING ALCOA: PCB'S B-234 & B-236 | ALCOA: PCB B-234, ALCOA: PCB B-236, BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | GEN, LOAD, SOA, NOPE, WOCS, FCRPS
117 | 24-11132 | 16015461 | 09/12/2024 10:00 | 09/12/2024 11:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
118 | 24-05296 | 15293182 | 09/12/2024 11:00 | 09/12/2024 12:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
119 | 24-00159 | 13657100 | 09/12/2024 12:00 | 09/12/2024 12:30 | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE | BIG EDDY: PCB A-824 OF THE DALLES PH-BIG EDDY NO 4 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE | GEN, FCRPS
120 | 24-02132 | 14901551 | 09/13/2024 07:00 | 09/21/2024 18:00 | MCNARY-B-1345 SECTION OF THE MCNARY-BADGER CANYON NO. 1 115KV LINE INCLUDING PLYMOUTH TAP TO BC165 | MCNARY-B-1345 SECTION OF THE MCNARY-BADGER CANYON NO. 1 115KV LINE INCLUDING PLYMOUTH TAP TO BC165, PLYMOUTH TAP TO MCNARY-BADGER CANYON NO 1 115KV LINE, MCNARY: PCB B-980, MCNARY-B-1345 SECTION OF MCNARY-BADGER CANYON NO 1 115KV LINE | TCLA, GEN, WOM, LOAD
121 | 24-10723 | 15965741 | 09/15/2024 01:00 | 09/15/2024 01:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
122 | 24-10725 | 15965743 | 09/15/2024 01:15 | 09/15/2024 01:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
123 | 24-05028 |  | 09/15/2024 07:00 | 09/20/2024 16:30 | BLUE RIVER-HOLDEN CREEK SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE
124 | 24-00892 | 14483586 | 09/15/2024 22:00 | 09/20/2024 19:00 | GRAND COULEE: 230KV PCB'S 6182 AND 6382 INCLUDING LINE CIRCUIT 2 AND THE 230KV AUX BUS SECTION 2 | GRAND COULEE: 230KV PCB'S 6182 AND 6382 INCLUDING LINE CIRCUIT 2 AND THE 230KV AUX BUS SECTION 2, GRAND COULEE: PCB 6382, GRAND COULEE: PCB 6182 | NOH, WOCN
125 | 24-10724 | 15965745 | 09/15/2024 23:00 | 09/15/2024 23:15 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
126 | 24-10726 | 15965757 | 09/15/2024 23:15 | 09/15/2024 23:30 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
127 | 24-05428 |  | 09/16/2024 06:00 | 09/27/2024 18:00 | -PACW- CHILOQUIN-FISHHOLE SECTION OF CHILOQUIN-MILE HI 115KV LINE | -PACW- CHILOQUIN-FISHHOLE SECTION OF CHILOQUIN-MILE HI 115KV LINE | NWACI
128 | 24-10655 | 16153239 | 09/16/2024 06:00 | 09/18/2024 17:00 | WOODLAND: A-1008 TERMINAL OF ROSS-LEXINGTON NO 1 230KV LINE | SWIFT TAP TO ROSS-LEXINGTON NO 1 230KV LINE, BEAVER BAY: COWLITZ CO PUD 230KV FEEDER 1 BY PACIFICORP (PACW) | SOA, NOPE
129 | 24-11019 | 16153397 | 09/16/2024 07:00 | 09/19/2024 14:00 | GOSHEN: SWAN VALLEY - GOSHEN #1 161KV LINE INCLUDING GOSHEN: PCB B-309 AND SWAN VALLEY: 161/115KV XFMR #3 | SWAN VALLEY: 161/115KV TRANSFORMER 3, GOSHEN: PCB B-309, SWAN VALLEY-GOSHEN NO 1 161KV LINE | SEIL, GEN, LOAD
130 | 24-05635 | 15351793 | 09/16/2024 07:00 | 09/16/2024 08:30 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE | NORTH BONNEVILLE-ROSS NO 2 230KV LINE | GEN, LOAD, WOCS, FCRPS
131 | 24-11614 |  | 09/16/2024 07:00 | 09/19/2024 14:00 | SHELTON: PCB A-1751 BFR, SHELTON: PCB A-1754 BFR | SHELTON: PCB A-1751, SHELTON: PCB A-1754 | RP
132 | 24-08727 | 15965520 | 09/16/2024 07:00 | 09/19/2024 14:00 | KITSAP: 230/115KV TRANSFORMER 1 INCLUDING PCB B-944 | KITSAP: 230/115KV TRANSFORMER 1, KITSAP: PCB B-944, SHELTON-KITSAP NO 3 230KV LINE | LOAD, RP, SOA, NOPE
133 | 24-05008 | 15917342 | 09/16/2024 07:00 | 09/16/2024 16:30 | MT. VERNON-ALVEY SECTION OF LOOKOUT POINT-ALVEY NO 2 115KV LINE INCLUDING MT VERNON TAP | MT. VERNON-ALVEY SECTION OF LOOKOUT POINT-ALVEY NO 2 115KV LINE | GEN
134 | 24-12144 |  | 09/16/2024 07:00 | 10/03/2024 17:00 | BONNEVILLE PH 2-NORTH BONNEVILLE NO 4 230KV LINE |  | GEN, FCRPS, WOCS
135 | 24-11482 |  | 09/16/2024 07:00 | 09/25/2024 19:00 | -PACW- SWIFT NO 1-SWIFT NO 2 230KV LINE
136 | 24-06668 |  | 09/16/2024 07:00 | 09/26/2024 17:00 | BONNEVILLE PH: 230/13.8KV BANK 12
137 | 24-04738 | 15233413 | 09/16/2024 07:00 | 09/19/2024 14:00 | GARRISON: PCB 4463 RELAYS | GARRISON: PCB 4463, GARRISON: PCB 4463 RELAYS | MT-NW
138 | 24-05468 | 15627302 | 09/16/2024 07:00 | 09/20/2024 16:00 | SNOHOMISH-BEVERLY PARK NO 4 115KV LINE, (GROUNDED AT SNOHOMISH)
139 | 24-00469 | 14197792 | 09/16/2024 07:00 | 09/23/2024 14:00 | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE |  | GEN, MT-NW, FLAT
140 | 24-03872 | 15207154 | 09/16/2024 07:00 | 09/20/2024 14:00 | DRUMMOND-MACKS INN NO 1 115KV LINE | DRUMMOND-MACKS INN NO 1 115KV LINE, MACKS INN-MADISON NO 1 115KV LINE, MACKS INN: 115/46KV TRANSFORMER 1, MACKS INN: 115/46KV TRANSFORMER 2, MACKS INN: FALL RIVER E COOP 46KV FEEDER 1, MACKS INN: FALL RIVER E COOP 46KV FEEDER 2, MACKS INN: PCB B-363, MACKS INN: 115KV MAIN BUS | SEIL, LOAD
141 | 24-02128 | 14974129 | 09/16/2024 07:00 | 09/20/2024 15:00 | SACHEEN-DIAMOND LAKE SECTION OF SACHEEN-ALBENI FALLS NO 1 115KV LINE | SACHEEN-DIAMOND LAKE SECTION OF SACHEEN-ALBENI FALLS NO 1 115KV LINE
142 | 24-11967 | 16179748 | 09/16/2024 07:00 | 09/16/2024 14:00 | VANTAGE-COLUMBIA NO 1 230KV LINE |  | GEN, NOH, CI, SIG
143 | 24-02286 | 14908109 | 09/16/2024 07:30 | 09/19/2024 16:30 | CHIEF JOSEPH: PCB A-598
144 | 24-04901 | 15351074 | 09/16/2024 07:30 | 09/16/2024 15:30 | COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING COLVILLE: PCB B-1766 AND 115KV AUX BUS | COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING COLVILLE: PCB B-1766 AND 115KV AUX BUS, COLVILLE: 115KV AUX BUS, COLVILLE: PCB B-1766, COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB
145 | 24-07643 | 15651713 | 09/16/2024 08:00 | 09/27/2024 15:00 | DEER ISLAND-RAINIER SECTION INCLUDING GOBLE TAP TO ST HELENS-ALLSTON NO 1 115KV LINE | GOBLE TAP TO ST HELENS-ALLSTON NO 1 115KV LINE, DEER ISLAND-GOBLE SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE, GOBLE-RAINIER SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE | SOA, NOPE
146 | 24-06255 | 15402982 | 09/16/2024 08:00 | 09/20/2024 15:00 | HOT SPRINGS: 500/230KV TRANSFORMER 1 | HOT SPRINGS: PCB 4562, HOT SPRINGS: PCB A-1478, HOT SPRINGS: 34.5KV STATION SERVICE MAIN BUS DISC, TAFT-HOT SPRINGS NO 1 500KV LINE | MT-NW, WOH, FLAT, GEN, SIG
147 | 24-11851 | 16154126 | 09/16/2024 08:00 | 09/26/2024 15:30 | BIG EDDY: PCB 4200 SEL BFR | BIG EDDY: PCB 4200 | PDCI, WOJD, BGEDY, NWACI
148 | 24-06494 | 15431111 | 09/16/2024 08:00 | 09/16/2024 15:00 | PAUL: PCB 4540 |  | WOCS, SOA, NOPE
149 | 24-10913 | 15997681 | 09/16/2024 08:00 | 09/19/2024 12:00 | BOUNDARY: PCB A-1233 | BOUNDARY: 230KV MAIN BUS SECTION 1, BOUNDARY: 230KV MAIN BUS SECTION 2 | SOB, NI, NOEL, SOC, GEN
150 | 24-01884 | 15438093 | 09/16/2024 08:00 | 09/19/2024 15:00 | FILBERT-CARLTON SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | FILBERT: FOREST GROVE OR 115KV FEEDER 1
151 | 24-10620 | 16155604 | 09/16/2024 08:00 | 09/26/2024 15:30 | ROSS: 230/115KV TRANSFORMER 1 RELAYS | ROSS: 230/115KV TRANSFORMER 1, ROSS: PCB A-26, ROSS: PCB B-2, ROSS: 13.2KV PCB L-25 | LOAD, SOA, NOPE
152 | 24-10183 | 15892738 | 09/16/2024 09:00 | 09/19/2024 15:00 | LITTLE GOOSE: PCB 4350 | LITTLE GOOSE: PCB 4350 BFR | WOLM
153 | 24-10090 |  | 09/16/2024 21:00 | 09/17/2024 05:00 | PGE - MURRAYHILL-SHERWOOD 1 & 2 230KV LINES |  | SOA, NOPE
154 | 24-10091 |  | 09/16/2024 21:00 | 09/17/2024 05:00 | -PGE- MURRAYHILL-SHERWOOD 1 & 2 230KV LINES |  | SOA, NOPE
155 | 24-10175 | 15887315 | 09/17/2024 08:00 | 09/26/2024 15:00 | GRAND COULEE-COLUMBIA SERIES CAPACITORS SECTION OF GRAND COULEE-SCHULTZ NO 1 500KV LINE | GRAND COULEE-SCHULTZ NO 1 500KV LINE, COLUMBIA: GRAND COULEE-SCHULTZ 1 500KV LINE SERIES CAP GROUP 1 | NOEL, NOH, SOC, WOCN, GEN, IROL, SIG, FCRPS
156 | 24-10176 | 15887306 | 09/17/2024 08:00 | 09/26/2024 17:00 | GRAND COULEE-COLUMBIA SERIES CAPACITORS SECTION OF GRAND COULEE-SCHULTZ NO 2 500KV LINE | GRAND COULEE-SCHULTZ NO 2 500KV LINE, COLUMBIA: GRAND COULEE-SCHULTZ 2 500KV LINE SERIES CAP GROUP 2 | NOH, SOC, WOCN, GEN, IROL, FCRPS, NOEL, SIG
157 | 24-04902 | 15307118 | 09/17/2024 08:00 | 09/17/2024 11:30 | COLVILLE: PCB B-1768 | COLVILLE-KETTLE FALLS SECTION OF COLVILLE-REPUBLIC NO 1 115KV LINE
158 | 24-04903 | 15321358 | 09/17/2024 11:30 | 09/17/2024 15:00 | COLVILLE: PCB B-1770 | COLVILLE: PCB B-1770, ADDY-COLVILLE NO 1 115KV LINE | SOB
159 | 24-08343 | 15645713 | 09/18/2024 07:00 | 09/19/2024 14:00 | GARRISON: 500KV REACTOR 4, GARRISON: PCB 4457 |  | MT-NW
160 | 24-02422 | 14908360 | 09/18/2024 07:00 | 09/18/2024 16:00 | -USCOE- BONNEVILLE POWERHOUSE 1 - 115KV ROOF BUS PCB'S XW-102, XW-106, XW-151, XW-174, XW-176 AND XW-178 | BONNEVILLE PH: PCB XW102, -USCOE- BONNEVILLE POWERHOUSE 1 - 115KV ROOF BUS PCB'S XW-102, XW-106, XW-151, XW-174, XW-176 AND XW-178 , BONNEVILLE PH: PCB XW106, BONNEVILLE PH: PCB XW151, BONNEVILLE PH: PCB XW174, BONNEVILLE PH: PCB XW176, BONNEVILLE PH: PCB XW178
161 | 24-07603 | 15565062 | 09/18/2024 08:00 | 09/18/2024 11:00 | BETTAS ROAD: PCB A-3043 |  | NOEL, SOC, WOCN
162 | 24-00661 | 14392439 | 09/18/2024 08:00 | 09/18/2024 15:00 | MIDWAY: PCB A-68 | MIDWAY: PCB A-68, MIDWAY: 230KV AUX BUS SECTION 2 | CI, TCLA
163 | 24-11575 | 16145712 | 09/18/2024 08:00 | 09/19/2024 15:00 | CUSTER: PCB A-1250 |  | BCHT, BCHW, NOEL, SOC, NI
164 | 24-04904 | 15352427 | 09/18/2024 08:00 | 09/18/2024 15:00 | ADDY-ARDEN SECTION OF ADDY-AVA KETTLE FALLS 1 115KV LINE INCLUDING ADDY: PCB B-1145 AND 115KV AUX BUS | ADDY: 115KV AUX BUS, ADDY: PCB B-1145, ADDY-ARDEN SECTION OF ADDY-AVA KETTLE FALLS NO 1 115KV LINE
165 | 24-11176 | 16153443 | 09/18/2024 08:00 | 09/18/2024 15:00 | WINE COUNTRY: PCB A-1744 BFR | WINE COUNTRY: PCB A-1744 | WOJD, NOH
166 | 24-11334 |  | 09/18/2024 08:00 | 09/18/2024 15:00 | HALSEY MILL-HARRISBURG SECTION OF ALBANY-EUGENE NO 1 115KV LINE INCLUDING B-975 LINE SECTIONALIZING DISCONNECT | HARRISBURG: B-975 LSD, HALSEY MILL-HARRISBURG SECTION OF ALBANY-EUGENE NO 1 115KV LINE
167 | 24-07606 | 15565299 | 09/18/2024 11:01 | 09/18/2024 14:00 | BETTAS ROAD: PCB A-3050
168 | 24-06473 | 15477814 | 09/19/2024 07:00 | 09/19/2024 16:00 | PAUL-SATSOP NO 1 500KV LINE INCLUDING PAUL PCBS 4818 AND 4810 | PAUL-SATSOP NO 1 500KV LINE, PAUL: PCB 4810, PAUL: PCB 4818, SATSOP: 500/230KV TRANSFORMER 1 | LOAD, RP, SI, SIG, PA
169 | 24-08257 | 16154954 | 09/19/2024 07:30 | 09/19/2024 17:00 | WENDSON: 115KV MAIN BUS INCLUDING PCB B-1779 AND CENTRAL LINCOLN PUD 115KV FEEDER #1 | WENDSON: 115KV MAIN BUS, WENDSON: PCB B-1783, WENDSON: PCB B-1784, WENDSON: PCB B-1778, WENDSON: PCB B-1779, WENDSON: PCB B-1781, WENDSON: 230/115KV TRANSFORMER 1, MAPLETON-WENDSON SECTION OF LANE-WENDSON NO 1 115KV LINE, WENDSON-BERRYDALE SECTION OF WENDSON-TAHKENITCH NO 1 115KV LINE, WENDSON: CENTRAL LINC PUD 115KV FEEDER 1 | LOAD, SCORC, SWORE
170 | 24-10758 | 16154988 | 09/19/2024 08:00 | 09/19/2024 15:00 | WOODLAND: A-1008 TERMINAL OF ROSS-LEXINGTON NO 1 230KV LINE | SWIFT TAP TO ROSS-LEXINGTON NO 1 230KV LINE, BEAVER BAY: COWLITZ CO PUD 230KV FEEDER 1 BY PACIFICORP (PACW) | SOA, NOPE
171 | 24-11177 | 16153445 | 09/19/2024 08:00 | 09/19/2024 15:00 | WINE COUNTRY: PCB A-1747 BFR | WINE COUNTRY: PCB A-1747 | WOJD, NOH
172 | 24-11307 | 16048775 | 09/19/2024 08:00 | 09/30/2024 15:00 | ALLSTON: PCB 4502, BFR |  | SOA, NOPE
173 | 24-01318 | 14881659 | 09/19/2024 08:00 | 09/19/2024 16:00 | JOHN DAY: 500KV EAST BUS INCLUDING PCBS 4173 & 4137 | JOHN DAY: 500KV EAST BUS | WOJD, NWACI, PDCI
174 | 24-01473 | 15148025 | 09/19/2024 08:00 | 09/19/2024 15:00 | DWORSHAK: PCB 4765 | DWORSHAK: PCB 4765, DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1 | MT-NW, WOH, WOLM
175 | 24-09046 | 15749127 | 09/19/2024 08:00 | 09/19/2024 15:00 | SATSOP: 500/230KV TRANSFORMER 1 INCLUDING PCBS A-622 AND A-625 | SATSOP: PCB A-622, SATSOP: PCB A-625, SATSOP: 500/230KV TRANSFORMER 1 | GEN, LOAD, RP, SI
176 | 24-11338 | 16155030 | 09/19/2024 09:00 | 09/19/2024 15:00 | HARRISBURG-JUNCTION CITY SECTION OF ALBANY-EUGENE NO 1 115KV LINE INCLUDING B-415 AND B-434 LINE SECTIONALIZING DISCONNECTS | HARRISBURG-JUNCTION CITY SECTION OF ALBANY-EUGENE NO 1 115KV LINE, HARRISBURG: B-415 LSD, HARRISBURG: B-434 LSD
177 | 24-01319 | 14881568 | 09/19/2024 16:00 | 11/14/2024 15:00 | JOHN DAY: PCB 4137 INCLUDING MOD 4136 | JOHN DAY: PCB 4137 | NWACI, WOJD, PDCI
178 | 24-10768 | 16155048 | 09/20/2024 08:00 | 09/20/2024 15:00 | WOODLAND: A-1008 TERMINAL OF ROSS-LEXINGTON NO 1 230KV LINE | SWIFT TAP TO ROSS-LEXINGTON NO 1 230KV LINE, BEAVER BAY: COWLITZ CO PUD 230KV FEEDER 1 BY PACIFICORP (PACW) | SOA, NOPE
179 | 24-10767 | 16155049 | 09/21/2024 08:00 | 09/21/2024 15:00 | WOODLAND: A-1008 TERMINAL OF ROSS-LEXINGTON NO 1 230KV LINE | BEAVER BAY: COWLITZ CO PUD 230KV FEEDER 1 BY PACIFICORP (PACW), SWIFT TAP TO ROSS-LEXINGTON NO 1 230KV LINE | SOA, NOPE
180 | 24-11662 |  | 09/21/2024 22:00 | 09/22/2024 08:00 | Underwood Tap-Bald Mountain Section of the Underwood Tap-Bonneville PH-Alcoa #1 and #2 115kV Line | BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | GEN, WOCS, FCRPS, LOAD
181 | 24-10759 | 16155053 | 09/22/2024 08:00 | 09/22/2024 15:00 | WOODLAND: A-1008 TERMINAL OF ROSS-LEXINGTON NO 1 230KV LINE | SWIFT TAP TO ROSS-LEXINGTON NO 1 230KV LINE, BEAVER BAY: COWLITZ CO PUD 230KV FEEDER 1 BY PACIFICORP (PACW) | SOA, NOPE
182 | 24-00886 | 14483395 | 09/22/2024 22:00 | 09/27/2024 19:00 | GRAND COULEE: PCB 7084 | GRAND COULEE: PCB 7084 | GEN, NOH, WOCN
183 | 24-00057 | 12875018 | 09/23/2024 06:30 | 10/24/2024 17:00 | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE | DWORSHAK: 4657/4658 TERMINAL OF DWORSHAK PH-DWORSHAK NO 1 500KV LINE, DWORSHAK PH-DWORSHAK NO 1 500KV LINE | GEN, SIG, FCRPS
184 | 24-00058 | 12908864 | 09/23/2024 06:30 | 10/24/2024 17:00 | DWORSHAK PH: PCB XJ-7 | DWORSHAK PH: PCB XJ-7
185 | 24-08511 | 15740610 | 09/23/2024 07:00 | 09/26/2024 14:00 | GARRISON-TAFT NO 1 500KV LINE, GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1, PCB 4461 | GARRISON: PCB 4418, TAFT: PCB 4114, TAFT: PCB 4119, GARRISON: PCB 4415, GARRISON: HSGS 7885, GARRISON: PCB 4461 | MT-NW, SIG, WOH
186 | 24-04739 | 15233424 | 09/23/2024 07:00 | 09/26/2024 14:00 | GARRISON: PCB 4415 RELAYS | GARRISON: PCB 4415, GARRISON: PCB 4415 RELAYS | MT-NW
187 | 24-11890 | 16154279 | 09/23/2024 08:00 | 10/04/2024 15:00 | JOHN DAY: PCB 4158 SEL BFR AND BREAKER DIFF RELAY | JOHN DAY: PCB 4158 | NWACI, WOJD, PDCI
188 | 24-00872 | 14838958 | 09/23/2024 08:00 | 09/23/2024 15:00 | TUCANNON RIVER: PCB B-2018 INCLUDING B-2017 DISCONNECT AND HOPKINS RIDGE 115KV STUB BUS | TUCANNON RIVER: PCB B-2018, TUCANNON RIVER: PCB B-2018 INCLUDING B-2017 DISCONNECT AND HOPKINS RIDGE 115KV STUB BUS, TUCANNON RIVER: B-2017 DISCONNECT, TUCANNON RIVER: PCB B-2027 | TCLA
189 | 24-00662 |  | 09/23/2024 08:00 | 10/20/2024 15:00 | MCC AND DCC: RAS LIT | MCC AND DCC: RAS LIT
190 | 24-10359 | 16179494 | 09/23/2024 08:00 | 09/23/2024 15:00 | MCMINNVILLE: PCB B-1314 | MCMINNVILLE-PGE DAYTON NO 1 115KV LINE | LOAD, SOA, NOPE
191 | 24-07243 |  | 09/23/2024 08:00 | 09/27/2024 15:00 | HILLTOP: 230 KV CCVT 20H | HILLTOP: SOUTH BUS, HILLTOP: CCVT 20H
192 | 23-00046 | 10030238 | 09/23/2024 08:00 | 10/03/2024 17:30 | LAPINE-CHILOQUIN NO 1 230KV LINE | LAPINE: PCB A-1553, LAPINE-CHILOQUIN NO 1 230KV LINE | COR, NWACI, LOAD
193 | 24-05564 | 15328655 | 09/23/2024 08:00 | 09/24/2024 15:00 | MONROE: 500KV CAP GROUP 3, INCLUDING PCB 5047 | MONROE: 500KV CAP GROUP 3, MONROE: PCB 5047, INCLUDING PCB 5047 | IROL, NOEL, SOC, WOCN, NI
194 | 24-00120 | 15119837 | 09/23/2024 08:00 | 10/03/2024 15:00 | PONDEROSA: 500/230KV TRANSFORMER 1, INCLUDING PCB 4618 | PONDEROSA: 500/230KV TRANSFORMER 1, PONDEROSA TAP TO GRIZZLY-SUMMER LAKE NO 1 500KV LINE, INCLUDING PCB 4618 | NWACI, COR, SIG
195 | 24-07866 | 16155489 | 09/23/2024 08:00 | 09/26/2024 17:00 | MAPLETON-WENDSON SECTION OF LANE-WENDSON NO 1 115KV LINE INCLUDING WENDSON: PCB B-1783 | WENDSON: PCB B-1783, MAPLETON-WENDSON SECTION OF LANE-WENDSON NO 1 115KV LINE | LOAD, SCORC
196 | 24-08406 |  | 09/23/2024 08:00 | 09/26/2024 17:00 | BOUNDARY: 230KV MAIN BUS SECTION 2 INCLUDING PCB'S A-1226, A-1230, A-1234, A-1235, A-1228, A-1233 AND SCL'S: PCB'S 240-354, 240-355, & 240-356 | BOUNDARY: 230KV MAIN BUS SECTION 2, BOUNDARY PH SCL-BOUNDARY NO 4 230KV LINE, BOUNDARY PH SCL-BOUNDARY NO 5 230KV LINE, BOUNDARY PH SCL-BOUNDARY NO 6 230KV LINE, BOUNDARY-WANETA NO 1 230KV LINE, BOUNDARY-SACHEEN NO 1 230KV LINE, USK-BOUNDARY NO 1 230KV LINE, COLVILLE-BOUNDARY NO 1 115KV LINE, BOUNDARY: 230/115KV TRANSFORMER 1, BOUNDARY: PCB A-1226, BOUNDARY: PCB A-1228, BOUNDARY: PCB A-1233, BOUNDARY: PCB A-1234, BOUNDARY: PCB A-1235, 240VAC SECONDARY STATION SERVICE FEED FROM SCL'S 230/23KV STATION SERVICE TRANSFORMER 5 | SOB, GEN, NI, NOEL, SOC, WI, WOLM, LOAD
197 | 23-00350 | 16155307 | 09/23/2024 08:00 | 09/23/2024 15:00 | PORT ANGELES: PCB B-1206 |  | LOAD
198 | 24-10771 | 16155054 | 09/23/2024 08:00 | 09/25/2024 15:00 | WOODLAND: A-1008 TERMINAL OF ROSS-LEXINGTON NO 1 230KV LINE | SWIFT TAP TO ROSS-LEXINGTON NO 1 230KV LINE, BEAVER BAY: COWLITZ CO PUD 230KV FEEDER 1 BY PACIFICORP (PACW) | SOA, NOPE
199 | 24-03659 | 15239423 | 09/23/2024 08:00 | 10/11/2024 15:00 | ALFALFA-MIDWAY SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE | ALFALFA-MIDWAY SECTION OF NORTH BONNEVILLE-MIDWAY NO 1 230KV LINE, ALFALFA: LBD A-1271 LINE SECT DISC, MIDWAY: PCB A-62 | WOM, BGEDY
200 | 24-06472 | 15478134 | 09/24/2024 06:30 | 09/24/2024 18:00 | PAUL: 500KV NORTH BUS INCLUDING PCBS 4808, 4536, 4544, 4554, 4818, 4804, AND THE 500KV REACTOR NO 1 | PAUL: 500KV NORTH BUS, PAUL: PCB 4804, PAUL: PCB 4818, PAUL: PCB 4554, PAUL: PCB 4544, PAUL: PCB 4536, PAUL: PCB 4808, PAUL: 500KV REACTOR 1, PAUL-PSE TONO NO 1 500KV LINE | RP, SIG, WOCS, SOA, NOPE, PA, LOAD
201 | 24-01509 | 15578167 | 09/24/2024 08:00 | 09/24/2024 16:00 | MCMINNVILLE: PCB B-1310 | WINDISHAR-MCMINNVILLE SECTION OF CARLTON-MCMINNVILLE NO 1 115KV LINE | LOAD
202 | 24-08258 | 15652303 | 09/24/2024 08:00 | 10/03/2024 17:00 | MCNARY-ROSS NO 1 345KV LINE | ROSS: 345/230KV TRANSFORMER 4, MCNARY: 345/230KV TRANSFORMER 8, ROSS: PCB A-142, MCNARY: PCB A-432 | SOA, WOCS, WOM, NOPE, LOAD
203 | 24-11183 | 16155556 | 09/24/2024 08:00 | 09/24/2024 15:00 | WINE COUNTRY: PCB A-1741 BFR | WINE COUNTRY: PCB A-1741 | WOJD, NOH
204 | 24-11734 |  | 09/24/2024 08:00 | 09/24/2024 15:00 | FAIRMOUT: 115KV CAP GRP 1 SECT 3 INCLUDING PCB B-1383 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 3, FAIRMOUNT: PCB B-1383
205 | 24-07832 | 15650367 | 09/24/2024 09:30 | 09/24/2024 12:00 | SNO-KING: PCB A-1434, INCLUDING 230KV CAP GROUP 1 SECTIONS 1 & 2 | SNO-KING: 230KV CAP GROUP 1 SECTION 1, SNO-KING: 230KV CAP GROUP 1 SECTION 2, SNO-KING: LBD A-1197, SNO-KING: LBD A-1199 | NOEL, SOC, WOCN
206 | 24-06711 | 15515100 | 09/24/2024 12:00 | 09/28/2024 11:00 | FROM ASHE TO REMOVED JUMPERS AT MARION LINE RISERS SECTION OF ASHE-MARION NO 2 500KV LINE INCLUDING ASHE: PCB 4940 | ASHE-MARION NO 2 500KV LINE, ASHE: PCB 4940, ASHE: PCB 4937, ASHE: PCB 4907, ASHE: 500KV REACTOR 1 | BCHT, BCHW, NI, NWACI, SIG, WOCS, WOJD, WOM, FCRPS, NOH
207 | 24-10951 |  | 09/24/2024 22:00 | 09/25/2024 17:00 | GRAND COULEE: PCB 6382, GRAND COULEE: PCB 6782 |  | NOH, WOCN
208 | 24-05567 | 15328761 | 09/25/2024 08:00 | 09/26/2024 15:00 | MONROE: 500KV CAP GROUP 4, INCLUDING PCB 4508 | MONROE: 500KV CAP GROUP 4, MONROE: PCB 4508, INCLUDING PCB 4508 | IROL, NI, NOEL, SOC, WOCN, STCON, WOCS
209 | 24-11735 |  | 09/25/2024 08:00 | 09/25/2024 15:00 | FAIRMOUNT: 115KV CAP GRP 1 SECT 4 INCLUDING PCB B-1385 | FAIRMOUNT: 115KV CAP GROUP 1 SECTION 4, FAIRMOUNT: PCB B-1385
210 | 24-03822 | 15184282 | 09/26/2024 08:00 | 09/26/2024 15:00 | CHEMAWA: PCB A-669 | CHEMAWA: PCB A-669, CHEMAWA: 230KV CAP GROUP 2 SECTION 1, CHEMAWA: 230KV CAP GROUP 2 SECTION 2 | WOCS, SLAL
211 | 24-07579 | 15568865 | 09/26/2024 08:00 | 09/26/2024 11:00 | SCHULTZ: PCB 5167 |  | WOCN, NOEL
212 | 24-06919 | 15478215 | 09/26/2024 08:00 | 09/26/2024 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
213 | 24-10626 | 16155624 | 09/26/2024 08:00 | 09/26/2024 15:00 | ROSS: PCB'S A-20 AND PCB B-24 | ROSS: PCB A-20, ROSS: PCB B-24 | SOA, NOPE
214 | 24-11152 | 16015469 | 09/26/2024 09:00 | 09/26/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
215 | 24-06921 | 15478373 | 09/26/2024 10:00 | 09/26/2024 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
216 | 24-06922 | 15478381 | 09/26/2024 11:00 | 09/26/2024 12:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
217 | 24-07580 | 15568866 | 09/26/2024 11:00 | 09/26/2024 14:00 | SCHULTZ: PCB 5170 |  | NOH, WOCN
218 | 24-06713 | 15515120 | 09/26/2024 11:00 | 09/26/2024 15:00 | ASHE-MARION NO 2 500KV LINE | ASHE: PCB 4940, ASHE: PCB 4937, ASHE: PCB 4907, MARION: PCB 4377, MARION: PCB 4380, ASHE: 500KV REACTOR 1 | BCHT, BCHW, NI, NWACI, SIG, WOCS, WOJD, WOM, FCRPS, NOH
219 | 24-05869 | 15359361 | 09/27/2024 22:30 | 09/27/2024 23:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
220 | 24-00942 | 14512553 | 09/27/2024 23:00 | 10/25/2024 23:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
221 | 24-00389 | 14702171 | 09/29/2024 08:00 | 10/03/2024 18:00 | ASHE-SLATT NO 1 500KV LINE | ASHE: PCB 5466, ASHE: PCB 5463, SLATT: PCB 5015, SLATT: PCB 5018 | BCHT, BCHW, NI, NOH, SIG, WOM, WOS, NWACI, WOJD, FCRPS
222 | 24-06362 |  | 09/30/2024 03:45 | 09/30/2024 03:59 | LIBBY-TRUMBULL CREEK SECTION OF THE LIBBY-CONKELLEY #1 230KV LINE | LIBBY-HASKILL SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE, HASKILL-TRUMBULL CREEK SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE | MT-NW, GEN, FLAT
223 | 24-05311 |  | 09/30/2024 04:00 | 10/11/2024 22:00 | HASKILL-TRUMBULL CREEK SECTION OF THE LIBBY-CONKELLEY #1 230KV LINE INCLUDING FLATHEAD: PCB A-1958, A-1959, 230KV MAIN BUS SECT 2, AND 230KV AUX BUS | HASKILL-TRUMBULL CREEK SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE, FLATHEAD: 230KV AUX BUS | MT-NW, GEN
224 | 24-02090 | 14839720 | 09/30/2024 06:00 | 10/11/2024 22:00 | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER | RAS - DITTMER: RAS AC-A CONTROLLER, DC-A CONTROLLER, WS-A CONTROLLER AND SYNCHROPHASOR-A CONTROLLER, DITTMER: RAS AC-A CONTROLLER, DITTMER: RAS DC-A CONTROLLER, DITTMER: RAS WS-A CONTROLLER, DITTMER: RAS SYNCHROPHASOR-A CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM, BCHT, BCHW, NOEL, RP, SOA, SOC, NOPE
225 | 24-07783 |  | 09/30/2024 07:00 | 10/05/2024 15:00 | CHEHALIS: 230/115KV TRANSFORMER 2 | CHEHALIS: 115KV AUX BUS, CHEHALIS: 115KV MAIN BUS, CHEHALIS: PCB B-86, CHEHALIS: PCB B-90, CHEHALIS-PE ELL SECTION OF CHEHALIS-RAYMOND NO 1 115KV LINE | LOAD, SOA, RP, NOPE
226 | 24-08517 | 15740894 | 09/30/2024 07:00 | 10/03/2024 14:00 | BROADVIEW-GARRISON NO 1 500KV LINE, GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1, PCB 4469 AND 500KV REACTOR 1 | GARRISON: PCB 4418, GARRISON: PCB 4421, GARRISON: PCB 4469, GARRISON: 500KV REACTOR 1 | MT-NW, GEN
227 | 24-04740 | 15233433 | 09/30/2024 07:00 | 10/03/2024 14:00 | GARRISON: PCB 4418 RELAYS | GARRISON: PCB 4418 RELAYS, GARRISON: PCB 4418 | MT-NW
228 | 24-03959 |  | 09/30/2024 07:00 | 10/18/2024 15:00 | CHEHALIS-SILVER CREEK SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE | CHEHALIS-SILVER CREEK SECTION OF CHEHALIS-MAYFIELD NO 1 230KV LINE | RP, LOAD, SOA
229 | 24-00033 | 11346147 | 09/30/2024 07:00 | 10/04/2024 16:00 | MIDWAY-BENTON NO 2 230KV LINE INCLUDING PCB A-56 | MIDWAY: PCB A-56, BENTON: 230/115KV TRANSFORMER 1 | WOM, TCLA, GEN, LOAD
230 | 23-00721 | 15476517 | 09/30/2024 07:30 | 10/11/2024 16:30 | PORT ANGELES: PCB B-648 INCLUDING 115KV CAP GROUP 1 SECTIONS 1 & 2 & LBD'S B-1883 & B-645 | PORT ANGELES: PCB B-648, PORT ANGELES: LBD B-1883, PORT ANGELES: LBD B-645, PORT ANGELES: 115KV CAP GROUP 1 SECTION 1, PORT ANGELES: 115KV CAP GROUP 1 SECTION 2 | WOCN, LOAD
231 | 24-07881 | 15628814 | 09/30/2024 08:00 | 10/04/2024 15:00 | HATWAI: 500/230KV TRANSFORMER 1 |  | ID-NW, MT-NW
232 | 24-00919 | 14512359 | 09/30/2024 08:00 | 10/02/2024 17:00 | BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY | BIG EDDY: 230KV MAIN BUS SECTION 2, BIG EDDY: 230KV MAIN BUS SECTION 2 MAIN BUS DIFFERENTIAL RELAY, BIG EDDY: PCB A-826, BIG EDDY: PCB A-814, BIG EDDY: PCB A-816, BIG EDDY: PCB A-818, BIG EDDY: PCB A-822, BIG EDDY: PCB A-824, BIG EDDY: PCB A-828, BIG EDDY: 230/13.2KV TRANSFORMER 3, BIG EDDY: 13.2KV PCB L-1711, BIG EDDY: 13.2KV PCB L-1714, BIG EDDY: 230KV CAP GROUP 2 SECTION 1, BIG EDDY: 230KV MAIN BUS SECTION 2 CURRENT LIMITING REACTOR, BIG EDDY-MAUPIN NO 1 230KV LINE, BIG EDDY-CHEMAWA NO 1 230KV LINE, THE DALLES PH-BIG EDDY NO 4 230KV LINE | WOCS, BGEDY, PDCI, WOJD, NWACI, COI, COR, NOH, GEN, FCRPS
233 | 24-08290 |  | 09/30/2024 08:00 | 10/04/2024 15:00 | HATWAI: MOD A-107 MAIN BUS, HATWAI: MOD A-115 AUX BUS
234 | 24-09026 | 16090349 | 09/30/2024 08:00 | 10/02/2024 15:00 | MURRAY: PCB B-1746, INCLUDING BFR AND LINE RELAYS | MURRAY: PCB B-1745, MURRAY: 115KV CAP GROUP 1 SECTION 1, MURRAY: 115KV CAP GROUP 1 SECTION 2