## Request List
ROW | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 15666227 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-14468 |  | 09/20/2022 17:00 | 03/15/2025 15:00 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5
3 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2024 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
4 | 22-14444 | 14231667 | 11/28/2022 08:00 | 10/31/2024 15:00 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576 | -EWEB- CURRIN: 115KV MAIN AND AUX BUS INCLUDING PCB 4576, ALVEY-CURRIN NO 1 115KV LINE, CURRIN-HAYDEN BRIDGE SWITCHING STATION 115KV LINE, CURRIN-LAUREL 115KV LINE, CURRIN-WILLAKENZIE 115KV LINE, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB, SCORC
5 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
6 | 23-01684 | 11460660 | 02/03/2023 15:30 | 10/01/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
7 | 23-03222 | 11461724 | 02/10/2023 18:30 | 10/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
8 | 23-16749 |  | 10/26/2023 07:00 | 03/28/2025 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1, VALHALLA: CHELAN CO PUD 115KV FEEDER T1
9 | 23-16132 | 14436650 | 11/01/2023 00:01 | 10/31/2024 23:59 | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | PDCI
10 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
11 | 23-18564 | 14980739 | 12/20/2023 14:56 | 08/30/2024 16:00 | PACW - BURNS: 500KV SERIES CAP SAGMENT 1 & 2 | PACW - BURNS: 500KV SERIES CAP SAGMENT 1 & 2, BURNS: 500KV SERIES CAP SEGMENT 1, BURNS: 500KV SERIES CAP SEGMENT 2 | NWACI
12 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
13 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
14 | 24-07835 | 15785300 | 05/15/2024 07:00 | 08/01/2024 17:00 | -POPUD- USK-PINE ST. 115KV LINE INCLUDING USK: PCB PU6652 AND PINE STREET: PCB'S PP6952 & PP6652 | USK-PINE STREET 115KV LINE, PINE STREET: PCB PP6952, PINE STREET: PCB PP6652, USK SWYD: PCB PU6652 | SOB
15 | 23-00722 | 15184029 | 05/16/2024 07:30 | 09/30/2024 16:00 | PORT ANGELES: B-1206 TERMINAL OF THE CLALLAM CO PUD 115KV FEEDER 1 | PORT ANGELES: PCB B-1206, PORT ANGELES: CLALLAM CO PUD 115KV FEEDER 1
16 | 24-10193 | 15892145 | 05/31/2024 16:00 | 12/31/2024 15:00 | SATSOP PARK-ABERDEEN TAP SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE
17 | 24-10289 | 15910951 | 06/05/2024 07:00 | 08/31/2024 23:59 | ICE HARBOR-FRANKLIN NO 2 115KV LINE | ICE HARBOR-SACAJAWEA SECTION OF ICE HARBOR-FRANKLIN NO 2 115KV LINE | TCLA
18 | 24-00127 | 14694577 | 06/14/2024 07:00 | 08/16/2024 17:00 | MCNARY-COYOTE SPRINGS NO 1 500KV LINE | MCNARY: PCB 4231, MCNARY: PCB 4234, COYOTE SPRINGS: PCB 5184, COYOTE SPRINGS: PCB 5187 | SIG, WOM, WOJD, NWACI, WOLM
19 | 24-06183 | 13115079 | 06/15/2024 08:00 | 08/31/2024 18:00 | SCL- MASSACHUSETTS ST-UNION ST-BROAD ST 115KV LINES, BROAD ST BKR 120-55, BKR 120-58, BANK 66A, BANK 66, AND UNION ST BKR 120-65 |  | SOC, NOEL
20 | 24-11168 |  | 06/24/2024 08:00 | 08/01/2024 15:00 | ROSS: PCB B-14 LOW VOLTAGE CIRCUITS
21 | 24-10937 |  | 06/26/2024 04:30 | 08/16/2024 02:30 | TROY: B-1807 TERMINAL OF THE ASARCO TAP TO LIBBY-BONNERS FERRY #1 115KV LINE | TROY: NORTHERN LIGHTS 115KV FEEDER 1 TO ASARCO
22 | 24-00667 | 14475604 | 07/01/2024 07:00 | 11/14/2024 15:00 | -USBR- HUNGRY HORSE: PCB'S 2282 AND 2382 | HUNGRY HORSE PH: PCB 2282, -USBR- HUNGRY HORSE: PCB'S 2282 AND 2382, HUNGRY HORSE PH: PCB 2382 | WOH, FLAT, MT-NW
23 | 24-07371 |  | 07/11/2024 17:00 | 08/01/2024 08:00 | WENDSON: 230/115KV TRANSFORMER 1, INCLUDING: PCBs A-1578, B-1784 AND THE A-1578 A/B, B-1784 M/B & B-1784 A/B DISCS | WENDSON: PCB A-1578, WENDSON: PCB B-1784, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1, 230/115KV TIE NO 1 115KV LINE | LOAD, SCORC
24 | 24-01250 | 14744592 | 07/15/2024 07:00 | 08/05/2024 09:00 | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | SOA
25 | 24-08586 | 15704706 | 07/15/2024 07:00 | 08/02/2024 15:30 | -LVE- TESTER TAP-LANES CREEK SECTION OF HOOPER SPRINGS-TINCUP 115KV LINE | HOOPER SPRINGS-LANES CREEK SECTION OF HOOPER SPRINGS-TINCUP 115KV LINE
26 | 24-02162 |  | 07/15/2024 16:30 | 09/06/2024 07:00 | NWE - BOARDVIEW: 500KV REACTOR 2 & 500-30G PCB | NWE - BOARDVIEW: 500KV REACTOR 2 & 500-30G PCB
27 | 24-07139 | 15513694 | 07/16/2024 08:00 | 08/06/2024 15:00 | KEELER: 230KV REACTIVE GROUP 2, REACTOR 1 INCLUDING PCB A-873 | KEELER: 230KV REACTIVE GROUP 2 REACTOR 1, KEELER: PCB A-873 | SOA, NOPE
28 | 24-00458 | 14160770 | 07/22/2024 07:30 | 08/01/2024 16:00 | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE, TROUTDALE: PCB A-122, NORTH BONNEVILLE: PCB A-2 | GEN, LOAD, WOCS, FCRPS
29 | 24-00092 |  | 07/22/2024 08:00 | 08/30/2024 16:00 | -PGE- BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE | BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE, -PGE- BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE | SOA, NOPE, NWACI, WOCS
30 | 24-05402 | 15308317 | 07/22/2024 08:00 | 08/02/2024 15:00 | COWLITZ: B-340 TERMINAL OF THE COWLITZ-COLUMBIA WAY 115KV FEEDER | COWLITZ: B-340 TERMINAL OF THE COWLITZ-COLUMBIA WAY 115KV FEEDER, COWLITZ: PCB B-340, COWLITZ: COWLITZ CO PUD 115KV FEEDER 2 | SOA
31 | 24-01317 | 14886903 | 07/25/2024 18:00 | 09/18/2024 15:00 | JOHN DAY: PCB 4173 INCLUDING MOD 4172 | JOHN DAY: PCB 4173 | NWACI, WOJD, PDCI
32 | 24-00889 | 14489241 | 07/28/2024 22:00 | 08/02/2024 19:00 | GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
33 | 24-06036 |  | 07/29/2024 06:30 | 08/01/2024 16:30 | HILLS CREEK: B-1490 TERMINAL OF THE HILLS CREEK LOOKOUT POINT # 1 115KV LINE | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
34 | 24-03806 | 15190866 | 07/29/2024 07:00 | 08/01/2024 14:00 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4458 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4458, GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 | MT-NW
35 | 24-07687 | 15576917 | 07/29/2024 07:00 | 08/01/2024 16:00 | BELL-MEAD SECTION OF BELL-ADDY NO 1 115KV LINE
36 | 24-06329 |  | 07/29/2024 07:00 | 08/02/2024 14:00 | LIBBY-HASKILL SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE |  | MT-NW, GEN, FLAT
37 | 24-05855 | 15356474 | 07/29/2024 07:30 | 09/05/2024 11:00 | WAPA - OLINDA-TRACY 500KV LINE SHUNT REACTOR KT8A | WAPA - OLINDA-TRACY 500KV LINE SHUNT REACTOR KT8A | COI
38 | 24-09533 | 15909572 | 07/29/2024 08:00 | 08/02/2024 16:30 | SIFTON-ROSS NO 1 115KV LINE | SIFTON: PCB B-1508, ROSS: PCB B-6 | SOA, WOCS
39 | 24-09535 | 15909763 | 07/29/2024 08:00 | 08/02/2024 16:30 | UNDERWOOD-ALCOA SECTION OF BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | ALCOA: PCB B-234, ALCOA: PCB B-236, UNDERWOOD: PCB B-1521 | GEN, WOCS, FCRPS, LOAD, SOA, NOPE
40 | 24-03685 | 15184693 | 07/29/2024 08:00 | 08/03/2024 15:00 | ALLSTON-DRISCOLL NO 1 230KV LINE | ALLSTON-DRISCOLL NO 1 230KV LINE | LOAD, SOA, NOPE
41 | 24-02648 | 14981590 | 07/29/2024 08:00 | 08/01/2024 15:00 | GRIZZLY: PCB 5034 | GRIZZLY: PCB 5034 | NWACI
42 | 24-00443 | 14406479 | 07/29/2024 08:00 | 08/17/2024 15:00 | ASHE: REACTOR 2 INCLUDING PCB 4909 | ASHE: 500KV REACTOR 2, ASHE: REACTOR 2 INCLUDING PCB 4909, ASHE: PCB 4909 | NWACI, FCRPS, NOH
43 | 24-01219 | 14881375 | 07/29/2024 09:30 | 08/01/2024 15:00 | SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4266 | SYCAN: PCB 4266, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4266, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 | NWACI
44 | 24-00495 | 15233221 | 07/30/2024 08:00 | 08/01/2024 15:00 | MALIN: 500 KV REACTOR 2 INCLUDING PCB 4037 | MALIN: 500 KV REACTOR 2 INCLUDING PCB 4037, MALIN: 500KV REACTOR 2, MALIN: PCB 4037 | COI, NWACI
45 | 24-02429 | 15225862 | 07/30/2024 14:00 | 08/01/2024 15:00 | NASELLE: 115KV MAIN BUS INCLUDING PCB'S B-1711, B-1715, B-1717, B-1716, B-1721, 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 AND 115KV STATION SERVICE TRANSFORMER | NASELLE: 115KV MAIN BUS, NASELLE: 115KV MAIN BUS INCLUDING PCB'S B-1711, B-1715, B-1717, B-1716, B-1721, 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 AND 115KV STATION SERVICE TRANSFORMER, NASELLE: PCB B-1711, NASELLE: PCB B-1715, NASELLE: PCB B-1716, NASELLE: PCB B-1717, NASELLE: PCB B-1721, NASELLE: 115KV CAP GROUP 1 SECTION 1, NASELLE: 115KV CAP GROUP 1 SECTION 2, NASELLE: 115KV CAP GROUP 1 SECTION 3 | LOAD
46 | 24-10728 | 15965778 | 08/01/2024 07:00 | 08/01/2024 08:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
47 | 24-05008 | 15917342 | 08/01/2024 07:00 | 08/01/2024 16:30 | MT. VERNON-ALVEY SECTION OF LOOKOUT POINT-ALVEY NO 2 115KV LINE INCLUDING MT VERNON TAP | MT. VERNON-ALVEY SECTION OF LOOKOUT POINT-ALVEY NO 2 115KV LINE | GEN
48 | 24-03978 |  | 08/01/2024 08:00 | 08/01/2024 17:00 | WENDSON: 115KV MAIN BUS | WENDSON: PCB B-1778, WENDSON: PCB B-1779, WENDSON: PCB B-1783, WENDSON: PCB B-1784, WENDSON: PCB B-1781, WENDSON: 230/115KV TRANSFORMER 1, MAPLETON-WENDSON SECTION OF LANE-WENDSON NO 1 115KV LINE, WENDSON-BERRYDALE SECTION OF WENDSON-TAHKENITCH NO 1 115KV LINE, WENDSON: CENTRAL LINC PUD 115KV FEEDER 1, WENDSON: 230/115KV TIE NO 1 115KV LINE | LOAD, SCORC, SWORE
49 | 24-05077 | 15742249 | 08/01/2024 08:00 | 08/01/2024 15:00 | FAIRMOUNT: PCB A-1619 |  | RP
50 | 24-03856 | 15143545 | 08/01/2024 08:00 | 08/01/2024 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
51 | 24-01467 | 14759867 | 08/01/2024 08:00 | 08/01/2024 11:00 | MARION: PCB 4383 | MARION: PCB 4383 | NWACI
52 | 24-11128 | 16015443 | 08/01/2024 09:00 | 08/01/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
53 | 24-03858 | 15143556 | 08/01/2024 10:00 | 08/01/2024 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
54 | 24-09053 | 15909789 | 08/02/2024 08:00 | 08/02/2024 15:00 | HOLCOMB-OXBOW SECTION OF HOLCOMB-NASELLE NO 1 115KV LINE |  | RP
55 | 24-00890 | 14489351 | 08/04/2024 22:00 | 08/09/2024 19:00 | GRAND COULEE: PCB 8692 | GRAND COULEE: PCB 8692 | GEN, NOH, WOCN
56 | 24-10188 |  | 08/05/2024 06:00 | 08/09/2024 11:00 | MALIN-ROUND MOUNTAIN NO 2 500KV LINE |  | BCHT, BCHW, NI, COI
57 | 24-10087 | 15879830 | 08/05/2024 06:00 | 08/05/2024 08:00 | MALIN: PCB 4072, MALIN: PCB 4582 |  | NWACI, COI
58 | 24-05524 | 15327479 | 08/05/2024 06:30 | 08/07/2024 14:00 | GARRISON: PCB 4415 | GARRISON: PCB 4415 | MT-NW
59 | 24-00355 | 14074893 | 08/05/2024 07:00 | 08/05/2024 16:00 | ALLSTON: 500/230KV TRANSFORMER 2 INCLUDING PCB'S 4690, 4696, A-1353, A-1355 AND THE 230KV EAST AUX BUS | ALLSTON: 500/230KV TRANSFORMER 2 INCLUDING PCB'S 4690, 4696, A-1353, A-1355 AND THE 230KV EAST AUX BUS, ALLSTON: PCB A-1355, ALLSTON: PCB A-1353, ALLSTON: PCB 4690, ALLSTON: PCB 4696 | SOA, PA
60 | 24-04778 | 15272018 | 08/05/2024 07:00 | 08/06/2024 16:00 | MORROW FLAT: PCB A-1857 | MORROW FLAT: PCB A-1857 | WOM
61 | 24-02097 | 14841305 | 08/05/2024 07:00 | 08/07/2024 15:00 | YAAK-MOYIE SPRINGS SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE |  | LOAD
62 | 24-01141 | 15278910 | 08/05/2024 07:00 | 08/16/2024 14:00 | FLATHEAD - LION MOUNTAIN SECTION OF THE FLATHEAD - HOT SPRINGS #1 230KV LINE INCLUDING FLATHEAD: PCB A-219, AND THE 230KV AUX BUS | FLATHEAD-LION MOUNTAIN SECTION OF FLATHEAD-HOT SPRINGS NO 1 230KV LINE, FLATHEAD: PCB A-219, FLATHEAD: 230KV AUX BUS | MT-NW, FLAT
63 | 24-09747 | 15852065 | 08/05/2024 07:00 | 08/05/2024 16:00 | SATSOP: PCB A-678 |  | GEN, LOAD
64 | 24-04531 | 15233251 | 08/05/2024 07:00 | 08/11/2024 17:00 | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE, (GROUNDED) | SNOHOMISH: 345/230KV TRANSFORMER 5, CHIEF JOSEPH: 345/230KV TRANSFORMER 1, CHIEF JOSEPH: PCB A-586, SNOHOMISH: PCB A-190, CHIEF JOSEPH: 13.8KV PCB L-126 | GEN, IROL, NOEL, NOH, SOC, WOCN, FCRPS, NI
65 | 24-03811 | 15238603 | 08/05/2024 07:00 | 08/22/2024 16:00 | MONROE: PCB 4715 BFR | MONROE: PCB 4715, MONROE: PCB 4715 BFR, MONROE: 500KV CAP GROUP 2 | WOCN, NI, NOEL, SOC, IROL
66 | 24-08786 | 15705208 | 08/05/2024 07:00 | 08/16/2024 15:30 | -LVE- LANES CREEK TO TINCUP SECTION OF THE HOOPER SPRINGS TO TINCUP 115KV LINE | LANES CREEK-TINCUP SECTION OF HOOPER SPRINGS-TINCUP 115KV LINE | MT-NW
67 | 24-05017 | 15358138 | 08/05/2024 07:00 | 08/15/2024 16:30 | EUGENE-DILLARD SECTION OF EUGENE-ALVEY NO 2 115KV LINE | EUGENE-DILLARD SECTION OF EUGENE-ALVEY NO 2 115KV LINE
68 | 24-00356 |  | 08/05/2024 07:00 | 08/05/2024 16:00 | ALLSTON: A-1353 M/B & T/S MOD'S, 230KV EAST AUX BUS DISCONNECTS, AND A-1355 MAIN BUS MOD | ALLSTON: A-1353 M/B & T/S MOD'S, 230KV EAST AUX BUS DISCONNECTS, AND A-1355 MAIN BUS MOD
69 | 24-09771 | 15886862 | 08/05/2024 07:00 | 08/05/2024 16:00 | SHELTON: PCB A-77 |  | RP
70 | 24-05011 | 15909990 | 08/05/2024 07:00 | 08/15/2024 16:30 | SANTIAM-MARCOLA A500 SECTION OF SANTIAM-ALVEY NO 1&2 230KV LINE |  | EWEB, NWACI, SLAL
71 | 24-02212 | 14880834 | 08/05/2024 07:00 | 09/06/2024 15:00 | MCNARY: 230KV AUX BUS SECTION 2 INCLUDING PCB A-425 | MCNARY: 230KV AUX BUS SECTION 2 INCLUDING PCB A-425, MCNARY: PCB A-425 | WOM
72 | 24-00947 | 14551842 | 08/05/2024 07:00 | 08/07/2024 15:00 | CATTLE CREEK: B-2095 AND B-2092 TERMINALS OF THE PALISADES-CATTLE CREEK NO 1 115KV LINE | CATTLE CREEK: B-2095 AND B-2092 TERMINALS OF THE PALISADES-CATTLE CREEK NO 1 115KV LINE , PALISADES PH: PCB 662, CATTLE CREEK SW STA: PCB B-2092, CATTLE CREEK SW STA: PCB B-2095 | SEIL
73 | 24-03941 | 15665638 | 08/05/2024 07:30 | 08/05/2024 15:30 | WENDSON: 230KV AUX BUS | WENDSON: PCB A-1580 | LOAD, SCORC
74 | 24-02279 | 14908216 | 08/05/2024 07:30 | 08/07/2024 16:30 | CHIEF JOSEPH: PCB 4588 |  | BCHT, BCHW, NOH, WOCN, NWACI
75 | 24-01251 | 14744594 | 08/05/2024 07:35 | 08/05/2024 13:00 | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
76 | 24-01913 | 14800035 | 08/05/2024 08:00 | 08/09/2024 16:00 | DUTCH CANYON-WARREN SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE | DUTCH CANYON-WARREN SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE | LOAD, SOA, NOPE
77 | 24-05446 | 15369838 | 08/05/2024 08:00 | 08/08/2024 15:00 | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE INCLUDING SOUTH ELMA PCB SE-115-4 | SOUTH ELMA-SATSOP PARK NO 1 115KV LINE, SOUTH ELMA: PCB SE115-4 | LOAD, SOA, NOPE
78 | 24-08873 |  | 08/05/2024 08:00 | 08/15/2024 16:00 | -GCPUD- WANAPUM SWYD: PCB W5682 RELAYS
79 | 24-08637 | 15785305 | 08/05/2024 08:00 | 08/06/2024 15:00 | MURRAY: PCB A-1514 |  | BCHT, BCHW, NOEL, SOC
80 | 24-08699 | 15696119 | 08/05/2024 08:00 | 08/08/2024 15:00 | COLUMBIA FALLS: 230/115KV TRANSFORMER 3 |  | WOCN, FLAT
81 | 24-10895 | 15997327 | 08/05/2024 08:00 | 08/15/2024 15:00 | BOUNDARY: PCB A-1226
82 | 24-00381 | 14981607 | 08/05/2024 08:00 | 08/05/2024 15:00 | GRIZZLY: 500KV REACTOR 1, INCLUDING PCB 4222 | GRIZZLY: PCB 4222, GRIZZLY: 500KV REACTOR 1, INCLUDING PCB 4222 | NWACI
83 | 24-02649 | 14981612 | 08/05/2024 08:00 | 08/08/2024 15:00 | GRIZZLY: PCB 5025 | GRIZZLY: PCB 5025 | NWACI
84 | 24-03338 | 15115100 | 08/05/2024 08:00 | 08/05/2024 15:00 | BIG EDDY: PCB 4200 | BIG EDDY: PCB 4200 | PDCI, WOJD, BGEDY, NWACI
85 | 24-01508 | 15578341 | 08/05/2024 08:00 | 08/05/2024 16:00 | MCMINNVILLE: PCB B-381 | BAKER CREEK: MCMINNVILLE W&L 115KV FEEDER 1
86 | 24-09210 | 15929297 | 08/05/2024 10:00 | 09/20/2024 15:00 | LIBBY: A-1590 TERMINAL OF LIBBY POWERHOUSE - LIBBY NO 1 230KV LINE | LIBBY PH: 230/13.8KV BANK T1, LIBBY PH-LIBBY NO 1 230KV LINE | FLAT, GEN, FCRPS
87 | 24-03980 | 15665621 | 08/05/2024 12:00 | 08/05/2024 17:30 | WENDSON: 115KV AUX BUS
88 | 24-00370 | 14075111 | 08/05/2024 16:00 | 08/09/2024 17:00 | ALLSTON: 500/230KV TRANSFORMER 2, INCLUDING PCB'S 4690 & 4696 | ALLSTON: PCB 4690, ALLSTON: PCB 4696 | SIG, SOA, NOPE
89 | 24-08622 |  | 08/06/2024 07:00 | 08/06/2024 17:30 | -PACW- CLEAR LAKE TAP(OR)-PEREZ TAP SECTION OF ADIN TAP-NEWELL 69KV LINE
90 | 24-10120 | 15887858 | 08/06/2024 07:00 | 08/06/2024 16:00 | SNO-KING: PCB A-1196 |  | BCHT, BCHW, NOEL, SOC
91 | 24-04650 | 15231411 | 08/06/2024 07:00 | 08/15/2024 17:00 | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE, TROUTDALE: PCB A-122, NORTH BONNEVILLE: PCB A-2 | GEN, LOAD, WOCS, FCRPS
92 | 24-09242 |  | 08/06/2024 07:00 | 08/07/2024 17:00 | ICE HARBOR-LEVEY SECTION OF ICE HARBOR-FRANKLIN NO 3 115KV LINE |  | TCLA
93 | 24-06031 | 15410805 | 08/06/2024 07:00 | 08/07/2024 15:00 | COUGAR: B-1396 TERMINAL OF THE COUGAR-HOLDEN CREEK # 1 115KV LINE | COUGAR-CARMEN SMITH SECTION OF COUGAR-HOLDEN CREEK NO 1 115KV LINE
94 | 24-09749 | 15852096 | 08/06/2024 07:00 | 08/06/2024 16:00 | SATSOP: PCB A-681 |  | GEN, LOAD
95 | 24-03339 | 15115515 | 08/06/2024 08:00 | 08/06/2024 15:00 | BIG EDDY: PCB 4872 | BIG EDDY: PCB 4872 | PDCI, WOJD, BGEDY, NWACI
96 | 24-00382 | 15369354 | 08/06/2024 08:00 | 08/06/2024 15:00 | GRIZZLY: 500KV REACTOR 2, GRIZZLY: PCB 4720 |  | NWACI
97 | 24-00461 | 15030152 | 08/06/2024 08:00 | 08/30/2024 15:00 | MALIN: 500KV REACTOR 1, INCLUDING PCB 4327 | MALIN: 500KV REACTOR 1, MALIN: PCB 4327, INCLUDING PCB 4327 | COI, NWACI
98 | 24-05646 |  | 08/06/2024 22:00 | 08/07/2024 06:00 | MURRAY HILL (PGE)-ST MARYS 230KV LINE |  | SOA, NOPE
99 | 24-08623 |  | 08/07/2024 07:00 | 08/09/2024 18:00 | -PACW- ADIN TAP-PEREZ TAP SECTION OF ADIN TAP-NEWELL 69KV LINE
100 | 24-10122 | 15887868 | 08/07/2024 07:00 | 08/07/2024 15:00 | SNO-KING: PCB B-1575 |  | NOEL, SOC
101 | 24-09750 | 15852141 | 08/07/2024 07:00 | 08/07/2024 16:00 | SATSOP: PCB A-607 |  | GEN, LOAD
102 | 24-09658 | 15953164 | 08/07/2024 07:00 | 08/07/2024 13:00 | SHELTON: PCBS A-1751 AND A-1754 | SHELTON: PCB A-1751, SHELTON: PCB A-1754, SHELTON-KITSAP NO 3 230KV LINE | RP, LOAD, SOA, NOPE
103 | 24-03340 | 15115586 | 08/07/2024 08:00 | 08/07/2024 15:00 | BIG EDDY: PCB 4209 | BIG EDDY: PCB 4209 | GEN, PDCI, WOJD, BGEDY, NWACI
104 | 24-00383 | 15369367 | 08/07/2024 08:00 | 08/07/2024 15:00 | GRIZZLY: 500KV REACTOR 3, GRIZZLY: PCB 4038 |  | NWACI
105 | 24-08575 | 15785322 | 08/07/2024 08:00 | 08/08/2024 15:00 | MURRAY: PCB A-1510 |  | BCHT, BCHW, NOEL, SOC
106 | 24-01074 | 15886628 | 08/07/2024 09:00 | 08/07/2024 16:00 | CARLTON: PCB B-129 | CARLTON: 230/115KV TRANSFORMER 1 | LOAD, NOPE, SOA
107 | 24-05647 |  | 08/07/2024 22:00 | 08/08/2024 06:00 | MURRAY HILL (PGE)-ST MARYS 230KV LINE |  | SOA, NOPE
108 | 24-05539 | 15327797 | 08/08/2024 06:30 | 08/08/2024 14:00 | GARRISON: PCB 4418 | GARRISON: PCB 4418 | MT-NW
109 | 24-01901 | 15193565 | 08/08/2024 08:00 | 08/08/2024 15:00 | KEELER: PCB A-870 | KEELER: PCB A-870 | SOA, NOPE
110 | 24-00385 | 15449863 | 08/08/2024 08:00 | 08/08/2024 11:00 | HARNEY: PCB B-1709 INCLUDING THE 115KV REACTIVE GROUP 1 REACTOR #1 | HARNEY: PCB B-1709, HARNEY: 115KV REACTIVE GROUP 1 REACTOR 1
111 | 24-00391 | 15476857 | 08/08/2024 11:00 | 08/08/2024 15:00 | HARNEY: 115KV REACTIVE GROUP 1 REACTOR 2, INCLUDING PCB B-1713 | HARNEY: PCB B-1713
112 | 24-08349 | 15696568 | 08/08/2024 16:30 | 08/08/2024 17:00 | MCNARY PH-MCNARY NO 5 230KV LINE | MCNARY PH 230/13.8KV TRANSFORMER T5, MCNARY PH 230/13.8KV TRANSFORMER T6 | GEN, FCRPS, WOM
113 | 24-05648 |  | 08/08/2024 22:00 | 08/09/2024 06:00 | MURRAY HILL (PGE)-ST MARYS 230KV LINE | MURRAY HILL (PGE)-ST MARYS 230KV LINE | SOA, NOPE
114 | 24-05448 | 15364743 | 08/09/2024 08:00 | 08/15/2024 15:00 | SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | ABERDEEN TAP TO SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | RP, LOAD, SOA, NOPE
115 | 24-10088 | 15879814 | 08/09/2024 10:00 | 08/09/2024 12:00 | MALIN: PCB 4072, MALIN: PCB 4582 |  | NWACI, COI
116 | 24-00029 | 10941486 | 08/11/2024 05:00 | 08/11/2024 17:00 | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE, LITTLE GOOSE: PCB 4348, LITTLE GOOSE: PCB 4350, LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | WOLM, GEN
117 | 24-00891 | 14489450 | 08/11/2024 22:00 | 08/16/2024 19:00 | GRAND COULEE: PCB 9092 | GRAND COULEE: PCB 9092 | GEN, NOH, WOCN
118 | 24-00206 | 14398442 | 08/12/2024 06:00 | 08/16/2024 18:00 | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE 1 500KV LINE | LOWER GRANITE: 4771/4773 TERMINAL OF LOWER GRANITE PH-LOWER GRANITE 1 500KV LINE, LOWER GRANITE PH-LOWER GRANITE NO 1 500KV LINE | GEN
119 | 24-05529 | 15327985 | 08/12/2024 06:30 | 08/14/2024 14:00 | GARRISON: PCB 4463 | GARRISON: PCB 4463 | MT-NW
120 | 24-01373 | 14743834 | 08/12/2024 06:30 | 08/30/2024 17:00 | ADDY-COLVILLE NO 1 115KV LINE | ADDY-COLVILLE NO 1 115KV LINE, ADDY: PCB B-1147, COLVILLE: PCB B-1770
121 | 24-00948 | 14552992 | 08/12/2024 07:00 | 08/14/2024 15:00 | SWAN VALLEY: B-1665 TERMINAL OF THE PALISADES-SWAN VALLEY NO 1 115KV LINE | PALISADES PH: PCB 562, SWAN VALLEY: B-1665 TERMINAL OF THE PALISADES-SWAN VALLEY NO 1 115KV LINE, SWAN VALLEY: PCB B-1665, PALISADES-SWAN VALLEY NO 1 115KV LINE | GEN, LOAD, SEIL
122 | 24-04607 | 15233304 | 08/12/2024 07:00 | 08/17/2024 17:00 | CHIEF JOSEPH-SNOHOMISH NO 4 345KV LINE, (GROUNDED) | SNOHOMISH: 345/230KV TRANSFORMER 6, CHIEF JOSEPH: 345/230KV TRANSFORMER 2, CHIEF JOSEPH: PCB A-600, SNOHOMISH: PCB A-194 | GEN, IROL, NOEL, NOH, SOC, WOCN, FCRPS, NI
123 | 24-09315 | 15778573 | 08/12/2024 07:00 | 08/12/2024 11:00 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTIONS 1, 2 AND 3 INCLUDING PCB A-999, PCB A-1005, PCB A-1007, PCB A-1003 AND 230KV REACTOR 1 | COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 1, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 2, COVINGTON: 230KV REACTIVE GROUP 1 CAP SECTION 3, COVINGTON: 230KV REACTIVE GROUP 1 REACTOR 1, COVINGTON: PCB A-1003, COVINGTON: PCB A-1005, COVINGTON: PCB A-1007, COVINGTON: PCB A-999, COVINGTON: PCB A-1004 | NOEL, SOC, WOCN, LOAD, RP
124 | 24-10397 | 15930872 | 08/12/2024 07:00 | 08/19/2024 08:00 | HUNGRY HORSE-COLUMBIA FALLS NO 1 230KV LINE |  | GEN, MT-NW, FLAT
125 | 24-01118 | 14696286 | 08/12/2024 07:00 | 08/12/2024 15:30 | CUSTER: 500KV REACTOR 1 | CUSTER: 500KV REACTOR 1, CUSTER: PCB 4274 | NOEL, SOC, BCHT, BCHW, NI
126 | 24-01061 | 14695761 | 08/12/2024 07:00 | 08/13/2024 15:00 | RAVER: PCB 4858 | RAVER: PCB 4858 | NOEL, RP, SOC, WOCN
127 | 24-03967 | 15185029 | 08/12/2024 07:30 | 08/13/2024 12:00 | DRISCOLL: PCB B-2067 | DRISCOLL: PCB B-2067
128 | 24-04429 | 15490810 | 08/12/2024 08:00 | 08/13/2024 16:00 | REEDSPORT-LAKESIDE SECTION OF REEDSPORT-FAIRVIEW NO 1 115KV LINE | REEDSPORT: PCB B-316 | LOAD, SCORC
129 | 24-01912 | 14800127 | 08/12/2024 08:00 | 08/13/2024 16:00 | ST JOHNS-DUTCH CANYON SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE | ST JOHNS-DUTCH CANYON SECTION OF ST JOHNS-ST HELENS NO 1 115KV LINE | LOAD, SOA, NOPE
130 | 24-02185 | 15391805 | 08/12/2024 08:00 | 08/15/2024 15:00 | KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 2 INCLUDING LBD A-857 | KEELER: 230KV REACTIVE GROUP 2 CAP SECTION 2, KEELER: LBD A-857 | SOA, WOCS, NOPE
131 | 24-10337 |  | 08/12/2024 08:00 | 08/12/2024 15:00 | -GCPUD- LARSON: PCB GC1502
132 | 24-11156 | 16005062 | 08/12/2024 08:00 | 08/21/2024 16:00 | UNIVERSITY (EWEB)-WILLAMETTE 115KV LINE INCLUDING WILLAMETTE: PCBS 6050, 6060 AND 6070 | WILLAMETTE: PCB 6050, WILLAMETTE: PCB 6060, WILLAMETTE: PCB 6070, CURRIN-OAKWAY-WILLAMETTE 115KV LINE, UNIVERSITY (EWEB)-WILLAMETTE 115KV LINE | EWEB
133 | 24-09684 | 15879486 | 08/12/2024 08:00 | 08/15/2024 15:00 | SNO-KING: 230/115KV TRANSFORMER 3 INCLUDING PCB'S A-1200 AND B-1706 | SNO-KING: PCB A-1200, SNO-KING: PCB B-1706, SNOHOMISH: 230/115KV TRANSFORMER 3 | BCHT, BCHW, NOEL, SOC, LOAD
134 | 24-03342 | 15115742 | 08/12/2024 08:00 | 08/13/2024 15:00 | BIG EDDY: PCB 4212 | BIG EDDY: PCB 4212 | GEN, PDCI, WOJD, BGEDY, NWACI
135 | 24-01401 | 15784102 | 08/12/2024 08:00 | 08/12/2024 10:00 | BELL-BOUNDARY NO 3 230KV LINE | BELL-BOUNDARY NO 3 230KV LINE, ADDY-CUSICK NO 1 230KV LINE, ADDY TAP TO BELL-BOUNDARY NO 3 230KV LINE, BELL: PCB A-572 | BCHT, GEN, MT-NW, SOB, WOH
136 | 24-01372 | 14749817 | 08/12/2024 08:00 | 08/30/2024 17:00 | ADDY-BOUNDARY SECTION OF BELL-BOUNDARY NO 3 230KV LINE | ADDY-BOUNDARY SECTION OF BELL-BOUNDARY NO 3 230KV LINE, BOUNDARY: PCB A-1222 | SOB, GEN
137 | 24-01885 |  | 08/12/2024 08:00 | 08/15/2024 15:00 | WALNUT CITY-MCMINNVILLE SECTION OF THE FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | MCMINNVILLE: PCB B-666, WALNUT CITY TAP-BAKER CREEK SECTION OF WALNUT CITY TAP TO FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, WALNUT CITY-MCMINNVILLE SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, CARLTON-WALNUT CITY SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | LOAD
138 | 24-03897 | 15391811 | 08/12/2024 09:00 | 08/15/2024 16:00 | LIBBY-LIBBY FEC SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE |  | FLAT, SOB
139 | 24-08834 | 15780283 | 08/12/2024 13:00 | 08/23/2024 16:00 | CHEHALIS-OLYMPIA NO 1 LINE INCLUDING OLYMPIA: PCB A-220 AND THE 230KV WEST AUX BUS | OLYMPIA: 230KV WEST AUX BUS, OLYMPIA: PCB A-220, CHEHALIS-OLYMPIA NO 1 230KV LINE | NOEL, RP, SOC, WOCN, LOAD, SI
140 | 24-00553 | 14285204 | 08/13/2024 08:00 | 08/13/2024 12:00 | TACOMA: 230KV CAP GROUP 3 SECTIONS 1 & 2, INCLUDING 230KV REACTIVE BUS & LBD'S A-1078, A-1079 | TACOMA: LBD A-1078, TACOMA: LBD A-1079, TACOMA: 230KV CAP GROUP 3 SECTION 2, TACOMA: 230KV REACTIVE BUS, TACOMA: 230KV CAP GROUP 3 SECTION 1 | NOEL, RP, SOC, WOCN
141 | 24-01482 | 15233622 | 08/13/2024 08:00 | 08/20/2024 15:00 | DWORSHAK: 500KV REACTOR 2, INCLUDING PCB 4650 | DWORSHAK: 500KV REACTOR 2, DWORSHAK: PCB 4650, INCLUDING PCB 4650 | GEN, MT-NW, WOH
142 | 24-07517 | 15558775 | 08/13/2024 11:00 | 08/13/2024 16:00 | DRISCOLL: PCB A-1264 | DRISCOLL TAP TO ALLSTON-CLATSOP NO 1 230KV LINE | SOA, NOPE
143 | 24-08093 |  | 08/14/2024 06:00 | 11/01/2024 15:00 | KITSAP-BANGOR NO 1 115KV LINE |  | RP
144 | 24-10011 | 15886796 | 08/14/2024 07:00 | 08/14/2024 15:00 | ROUNDUP: PCB A-559
145 | 24-00720 | 14524877 | 08/14/2024 07:00 | 08/14/2024 15:00 | MAPLE VALLEY: 230KV CAP GROUP 1 SECT 1, 2, 3, 4 INCL LBDs A-1101, A-1102, A-1103, & A-1104 | MAPLE VALLEY: LBD A-1101, MAPLE VALLEY: LBD A-1102, MAPLE VALLEY: LBD A-1103, MAPLE VALLEY: LBD A-1104, MAPLE VALLEY: PCB A-1146, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 1, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 2, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 3, MAPLE VALLEY: 230KV CAP GROUP 1 SECTION 4 | NOEL, SOC, WOCN, NI
146 | 24-03849 | 15396643 | 08/14/2024 07:00 | 08/29/2024 15:00 | NINE MILE-WALLA WALLA SECTION OF FRANKLIN-WALLA WALLA NO 1 115KV LINE |  | GEN, TCLA, WAWA
147 | 24-02308 | 14888599 | 08/14/2024 08:00 | 08/14/2024 16:00 | ST JOHNS-KEELER NO 2 115KV LINE | ST JOHNS-KEELER NO 2 115KV LINE | LOAD, SOA, NOPE
148 | 24-10055 | 15952661 | 08/14/2024 08:00 | 08/15/2024 15:30 | BIG EDDY-SEUFERT SECTION OF BIG EDDY-THE DALLES NO 1 115KV LINE INCLUDING PCB B-1696 | BIG EDDY: PCB B-1696, BIG EDDY-SEUFERT SECTION OF BIG EDDY-THE DALLES NO 1 115KV LINE, CASCADE LOCKS-HOOD RIVER SECTION OF BONNEVILLE PH 1-HOOD RIVER NO 1 115KV LINE, FOSSIL-MUDDY RANCH SECTION OF FOSSIL-MAUPIN 69KV LINE | BGEDY, GEN
149 | 24-09738 | 15831385 | 08/14/2024 08:00 | 08/14/2024 15:00 | PAUL: PCB 4536 |  | RP, WOCS, SOA, NOPE
150 | 24-05540 | 15328034 | 08/15/2024 06:30 | 08/15/2024 14:00 | GARRISON: PCB 4360 | GARRISON: PCB 4360 | MT-NW
151 | 24-05013 | 15930807 | 08/15/2024 07:00 | 08/15/2024 16:00 | LOCHNER-FROMAN SECTION OF ALBANY-LEBANON NO 1 115KV LINE |  | SLAL
152 | 24-10729 | 15965784 | 08/15/2024 07:00 | 08/15/2024 08:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
153 | 24-09625 | 15931162 | 08/15/2024 07:30 | 08/15/2024 15:00 | EAST OMAK: PCB B-72
154 | 24-05146 | 15456848 | 08/15/2024 08:00 | 08/15/2024 15:00 | PORT ANGELES: PCB B-644 | PORT ANGELES: 115KV AUX BUS
155 | 24-00768 | 14530849 | 08/15/2024 08:00 | 08/15/2024 13:00 | RAVER: 500KV CAP GROUP 1 SECTIONS 1, 2, 3 INCLUDING PCB'S 4917, 4919, 4722 AND CAP GROUP 1 REACTIVE BUS | RAVER: PCB 4919, RAVER: PCB 4917, RAVER: PCB 4722, RAVER: 500KV CAP GROUP 1 SECTION 1, RAVER: 500KV CAP GROUP 1 SECTION 2, RAVER: 500KV CAP GROUP 1 SECTION 3 | NOEL, RP, SOC, IROL, WOCN
156 | 24-07650 | 15569035 | 08/15/2024 08:00 | 08/15/2024 12:00 | MAPLE VALLEY: PCB A-1118 |  | NOEL, SOC, WOCN
157 | 24-04768 | 15239050 | 08/15/2024 08:00 | 08/15/2024 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
158 | 24-01910 | 14792431 | 08/15/2024 08:00 | 08/15/2024 16:00 | GOBLE-RAINIER SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE | GOBLE-RAINIER SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE | SOA, NOPE
159 | 24-07747 | 15665742 | 08/15/2024 08:00 | 08/15/2024 17:00 | WENDSON: 115KV MAIN BUS | WENDSON: PCB B-1778, WENDSON: PCB B-1779, WENDSON: PCB B-1783, WENDSON: PCB B-1784, WENDSON: PCB B-1781, WENDSON: 230/115KV TRANSFORMER 1, MAPLETON-WENDSON SECTION OF LANE-WENDSON NO 1 115KV LINE, WENDSON-BERRYDALE SECTION OF WENDSON-TAHKENITCH NO 1 115KV LINE, WENDSON: CENTRAL LINC PUD 115KV FEEDER 1 | LOAD, SCORC, SWORE
160 | 24-11130 | 16015454 | 08/15/2024 09:00 | 08/15/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
161 | 24-04770 | 15239086 | 08/15/2024 10:00 | 08/15/2024 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
162 | 24-07652 | 15569037 | 08/15/2024 12:00 | 08/15/2024 15:00 | MAPLE VALLEY: PCB A-1108 |  | NOEL, SOC
163 | 24-04568 | 15233136 | 08/15/2024 14:00 | 08/15/2024 16:00 | PAUL: PCB 4536 | PAUL: PCB 4536 | RP, WOCS, SOA, NOPE
164 | 24-07543 |  | 08/15/2024 22:00 | 08/16/2024 05:00 | LIBBY FEC-B-277 SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE INCLUDING TROY TAP AND TROY: 115/13.8KV TRANSFORMER 1 | TROY: CITY OF TROY 13.8KV FEEDER 1, TROY: NORTHERN LIGHTS 13.8KV FEEDER 1, TROY: NORTHERN LIGHTS 13.8KV FEEDER 2, LIBBY FEC-TROY SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE, TROY-YAAK SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE, TROY: NORTHERN LIGHTS 115KV FEEDER 1 TO ASARCO | FLAT, MT-NW, LOAD
165 | 24-06335 |  | 08/16/2024 04:30 | 08/16/2024 18:00 | TROY-YAAK SECTION OF LIBBY-BONNERS FERRY NO 1 115KV LINE |  | LOAD, FLAT
166 | 24-00769 | 14531145 | 08/16/2024 08:00 | 08/16/2024 10:00 | ECHO LAKE: 500KV CAP GROUP 1, INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GROUP 1, ECHO LAKE: PCB 5125, INCLUDING PCB 5125 | IROL, NOEL, SOC, WOCN, NI, BCHT, BCHW
167 | 24-01911 | 14793072 | 08/16/2024 08:00 | 08/16/2024 16:00 | RAINIER-ALLSTON SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE | RAINIER-ALLSTON SECTION OF ST HELENS-ALLSTON NO 1 115KV LINE | SOA, NOPE
168 | 24-00771 | 14531111 | 08/16/2024 10:00 | 08/16/2024 12:00 | ECHO LAKE: 500KV CAP GROUP 2, INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GROUP 2, ECHO LAKE: PCB 5127, INCLUDING PCB 5127 | BCHW, IROL, WOCN, NI, NOEL, SOC, BCHT
169 | 24-00961 | 14523600 | 08/18/2024 22:00 | 08/23/2024 19:00 | GRAND COULEE: 115KV MAIN BUS SECTION 2, INCLUDING PCB'S 1672, 2572, 2472, 2372, 2272 AND 2072 | GRAND COULEE: 115KV MAIN BUS SECTION 2, GRAND COULEE: PCB 1672, GRAND COULEE: PCB 2572, INCLUDING PCB'S 1672, 2572, 2472, 2372, 2272 AND 2072, GRAND COULEE: PCB 2472, GRAND COULEE: PCB 2372, GRAND COULEE: PCB 2272, GRAND COULEE: PCB 2072 MAIN BUS SECTIONALIZING, GRAND COULEE: 230/115KV BANK KX2A SWITCHYARD TIE | OKLA, LOAD, GEN, NOH
170 | 24-05542 | 15328065 | 08/19/2024 06:30 | 08/22/2024 14:00 | GARRISON: 500KV REACTOR 5 INCLUDING 500KV PCB 4362 | GARRISON: 500KV REACTOR 5, GARRISON: 500KV REACTOR 5 INCLUDING 500KV PCB 4362, GARRISON: PCB 4362 | MT-NW
171 | 24-01140 | 15959411 | 08/19/2024 07:00 | 09/06/2024 14:00 | COLUMBIA FALLS - FLATHEAD #1 230KV LINE INCLUDING FLATHEAD: PCB A-221 AND 230KV AUX BUS | COLUMBIA FALLS-FLATHEAD NO 1 230KV LINE, FLATHEAD: PCB A-221, FLATHEAD: 230KV AUX BUS | GEN, LOAD, MT-NW, FLAT
172 | 24-06493 | 15431417 | 08/19/2024 07:00 | 08/23/2024 16:00 | COLUMBIA-GRAND COULEE NO 1 230KV LINE |  | CI, NOH
173 | 24-10152 | 15937196 | 08/19/2024 07:00 | 08/19/2024 08:00 | SANTIAM-ALBANY NO 1 230KV LINE INCLUDING THE PACW 230/69KV TRANSFORMER #2 AT SANTIAM | SANTIAM: PCB A-514, SANTIAM: PACW 230/69KV TRANSFORMER 2, SANTIAM: 69KV PCB L-1114, SANTIAM-ALBANY NO 1 230KV LINE, ALBANY: PCB B-520 | SLAL, NWACI, SCORC
174 | 24-04652 | 15233391 | 08/19/2024 07:00 | 08/22/2024 14:00 | GARRISON: PCB 4421 RELAYS | GARRISON: PCB 4421, GARRISON: PCB 4421 RELAYS | MT-NW
175 | 24-08423 | 15740274 | 08/19/2024 07:00 | 08/19/2024 16:00 | SNOHOMISH: PCB A-201 |  | BCHT, BCHW, NOEL, SOC
176 | 24-10353 |  | 08/19/2024 07:00 | 08/19/2024 17:00 | -GCPUD- PCB GC1302
177 | 24-00810 | 14517521 | 08/19/2024 08:00 | 08/20/2024 16:00 | MORROW FLAT: PCB A-1874 BFR | MORROW FLAT: PCB A-1874, MORROW FLAT: PCB A-1874 BFR | TCLA
178 | 24-05449 | 15327390 | 08/19/2024 08:00 | 08/29/2024 15:00 | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE, SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | RP, LOAD, SOA, NOPE
179 | 24-05046 | 15319710 | 08/19/2024 08:00 | 08/23/2024 15:00 | SALEM-GRAND RONDE NO 1 115KV LINE | SALEM-GRAND RONDE NO 1 115KV LINE, SALEM: PCB B-56 | LOAD, SOA, SLAL, NOPE
180 | 24-04442 | 15665948 | 08/19/2024 08:00 | 09/09/2024 15:00 | WENDSON-BERRYDALE SECTION OF WENDSON-TAHKENITCH NO 1 115KV LINE, INCLUDING: PCB B-1778 AND B-1778 MAIN BUS DISCONNECT |  | SWORE
181 | 24-03343 | 15115803 | 08/19/2024 08:00 | 08/20/2024 15:00 | BIG EDDY: PCB 4866 | BIG EDDY: PCB 4866 | GEN, PDCI, WOJD, BGEDY
182 | 24-05562 | 15322220 | 08/19/2024 08:00 | 08/23/2024 15:00 | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | T3BA'DAS-FAIRMOUNT SECTION OF SHELTON-FAIRMOUNT NO 2 115KV LINE | PA
183 | 24-08663 | 15785332 | 08/19/2024 08:00 | 08/20/2024 15:00 | MURRAY: 230/115KV TRANSFORMER 1 |  | NOEL, SOC
184 | 24-00497 | 14450302 | 08/19/2024 08:00 | 08/20/2024 15:00 | CAPTAIN JACK: PCB 4980, BFR | CAPTAIN JACK: PCB 4980, BFR | NWACI, COI
185 | 24-05015 | 15937205 | 08/19/2024 08:01 | 08/21/2024 16:30 | A539-ALBANY SECTION OF SANTIAM-ALBANY NO 1 230KV LINE | ALBANY: 230/115KV TRANSFORMER 1 | COI, PDCI, SLAL
186 | 24-01083 | 15852145 | 08/19/2024 09:00 | 08/19/2024 16:00 | CARLTON: PCB B-127 | CARLTON-WINDISHAR SECTION OF CARLTON-MCMINNVILLE NO 1 115KV LINE | LOAD, NOPE, SOA
187 | 24-00670 | 14701932 | 08/19/2024 09:00 | 08/21/2024 14:00 | FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265 | FORT ROCK: PCB 4265, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4265, FORT ROCK: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 | COI, NWACI
188 | 24-10395 | 15958798 | 08/19/2024 10:00 | 08/29/2024 14:00 | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE |  | GEN, MT-NW, FLAT
189 | 24-04657 | 15231781 | 08/20/2024 07:00 | 08/29/2024 17:00 | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE, TROUTDALE: PCB A-122, NORTH BONNEVILLE: PCB A-2 | GEN, LOAD, WOCS, FCRPS
190 | 24-07771 | 15893411 | 08/20/2024 08:00 | 08/20/2024 16:00 | CARLTON: PCB B-131 | CARLTON-WALNUT CITY SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE
191 | 24-01133 | 14790707 | 08/20/2024 08:00 | 08/20/2024 15:00 | CUSTER: PCB 4268 | CUSTER: PCB 4268 | BCHT, BCHW, NOEL, SOC, NI
192 | 24-09983 |  | 08/20/2024 08:00 | 08/20/2024 15:00 | FOSSIL: PCB B-1370 | CONDON-FOSSIL SECTION OF DE MOSS-FOSSIL NO 1 115KV LINE, FOSSIL: 115/69KV TRANSFORMER 1 | BGEDY
193 | 24-09887 |  | 08/21/2024 07:00 | 08/21/2024 13:00 | SHELTON: PCBS A-83 AND A-941 | SHELTON: PCB A-83, SHELTON: PCB A-941, OLYMPIA-SHELTON NO 5 230KV LINE | RP, LOAD, SOA, NOPE
194 | 24-00862 | 14477886 | 08/21/2024 08:00 | 08/21/2024 15:00 | TUCANNON RIVER: PCB B-2024 | TUCANNON RIVER: PCB B-2024
195 | 24-02315 | 15391527 | 08/21/2024 08:00 | 08/21/2024 12:00 | QUENETT CREEK: PCB A-1931
196 | 24-03345 | 15115826 | 08/21/2024 08:00 | 08/22/2024 15:00 | BIG EDDY: PCB 4870 | BIG EDDY: PCB 4870 | GEN, PDCI, WOJD, BGEDY, SOA, NOPE
197 | 24-01086 |  | 08/21/2024 08:00 | 08/21/2024 16:30 | FOREST GROVE: PCB B-1285 |  | SOA, LOAD, NOPE
198 | 24-02316 | 15391549 | 08/21/2024 12:01 | 08/21/2024 15:00 | QUENETT CREEK: PCB A-1934
199 | 24-00672 | 14701950 | 08/21/2024 14:30 | 08/22/2024 16:00 | FORT ROCK: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5062 | FORT ROCK: PCB 5062, FORT ROCK: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 INCLUDING PCB 5062, FORT ROCK: GRIZZLY-SUMMER LAKE 1 500KV LINE SERIES CAP GROUP 3 | COI, NWACI
200 | 24-10553 | 15937593 | 08/21/2024 16:31 | 08/21/2024 17:31 | SANTIAM-ALBANY NO 1 230KV LINE INCLUDING THE PACW 230/69KV TRANSFORMER #2 AT SANTIAM | SANTIAM: PCB A-514, SANTIAM: PACW 230/69KV TRANSFORMER 2, SANTIAM: 69KV PCB L-1114, SANTIAM-ALBANY NO 1 230KV LINE, ALBANY: PCB B-520 | SLAL, NWACI, SCORC
201 | 24-06702 | 15542904 | 08/21/2024 21:00 | 08/22/2024 03:00 | STILLWATER-TREGO SECTION OF COLUMBIA FALLS-TREGO NO 1 115KV LINE | TREGO: 115KV CAP GROUP 1, COLUMBIA FALLS-STILLWATER SECTION OF COLUMBIA FALLS-TREGO NO 1 115KV LINE, STILLWATER TAP TO COLUMBIA FALLS-TREGO NO 1 115KV LINE
202 | 24-09079 | 15931217 | 08/22/2024 07:00 | 08/22/2024 14:00 | TARGHEE: 115KV CAP GROUP 2 INCLUDING LBD B-1431 | TARGHEE: LBD B-1431, TARGHEE: 115KV CAP GROUP 2 | LOAD
203 | 24-00868 | 14478141 | 08/22/2024 08:00 | 08/22/2024 15:00 | TUCANNON RIVER: PCB B-2027 | TUCANNON RIVER: PCB B-2027
204 | 24-02028 | 14831452 | 08/22/2024 08:00 | 08/22/2024 15:00 | SANTIAM: PCB A-530 | SANTIAM: PCB A-530 | SLAL, NWACI
205 | 24-02314 | 15391564 | 08/22/2024 09:00 | 08/22/2024 12:00 | BIG EDDY-QUENETT CREEK NO. 2 230KV LINE INCLUDING QUENETT CREEK PCBS A-1931, A-1934 AND BIG EDDY PCB A-800 | QUENETT CREEK: PCB A-1931, QUENETT CREEK: PCB A-1934, BIG EDDY: PCB A-800, BIG EDDY-QUENETT CREEK NO 2 230KV LINE | PDCI, WOJD, NWACI, GEN, BGEDY
206 | 24-09577 |  | 08/24/2024 06:30 | 08/24/2024 12:00 | GRAND COULEE: PCB 7182 |  | GEN, NOH, WOCN
207 | 24-10136 | 15957764 | 08/24/2024 07:00 | 08/24/2024 15:00 | FAIRMOUNT-HAPPY VALLEY SECTION OF FAIRMOUNT-PORT ANGELES NO 2 230KV LINE |  | SOA, RP, NOPE
208 | 24-07361 | 15967500 | 08/26/2024 05:00 | 08/26/2024 20:00 | OLYMPIA: 230KV WEST MAIN BUS INCLUDING THE 230KV WEST AUX BUS, 230/115KV TRANSFORMER BANK 1 AND PCB'S A-218 AND A-220 | OLYMPIA: 230KV WEST MAIN BUS, OLYMPIA: 230KV WEST AUX BUS, OLYMPIA: PCB A-218, OLYMPIA: PCB B-682, CHEHALIS-OLYMPIA NO 1 230KV LINE, OLYMPIA-SATSOP NO 2 230KV LINE, OLYMPIA-SHELTON NO 4 230KV LINE, OLYMPIA: 230KV CAP GROUP 2 SECTION 1, OLYMPIA: 230KV CAP GROUP 2 SECTION 2, OLYMPIA: PCB A-210, OLYMPIA: PCB A-216, OLYMPIA: PCB A-208 | RP, LOAD, NOEL, WOCN, SOC, SI, SOA, NOPE
209 | 24-00015 | 9567061 | 08/26/2024 06:00 | 09/20/2024 23:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
210 | 24-07525 | 15557549 | 08/26/2024 06:30 | 08/29/2024 19:00 | POTHOLES: A-969 TERMINAL OF THE POTHOLES-GRAND COULEE #1 230KV LINE | POTHOLES-GRAND COULEE NO 1 230KV LINE, GRAND COULEE: 230KV AUX BUS SECTION 1, GRAND COULEE: PCB 5582, GRAND COULEE: PCB 5886 | NOH, WOCN
211 | 24-04653 | 15233396 | 08/26/2024 07:00 | 08/29/2024 14:00 | GARRISON: PCB 4412 RELAYS | GARRISON: PCB 4412, GARRISON: PCB 4412 RELAYS | MT-NW
212 | 24-08531 | 15740401 | 08/26/2024 07:00 | 08/29/2024 14:00 | BROADVIEW-GARRISON NO 2 500KV LINE, GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2, PCB 4468 AND 500KV REACTOR 2 | GARRISON: PCB 4409, GARRISON: PCB 4412, GARRISON: 500KV REACTOR 2, GARRISON: PCB 4468 | MT-NW, GEN
213 | 24-06037 | 15397191 | 08/26/2024 07:00 | 08/28/2024 15:00 | LOOKOUT POINT: B-566 TERMINAL OF THE LOOKOUT POINT P.H.-LOOKOUT POINT #1 115KV LINE | LOOKOUT POINT PH: 115/13.8KV TRANSFORMER T1, LOOKOUT POINT PH: 115/13.8KV TRANSFORMER T2, LOOKOUT POINT PH: 115/13.8KV TRANSFORMER T3, LOOKOUT POINT PH-LOOKOUT POINT NO 1 115KV LINE | GEN, EWEB
214 | 24-10110 | 15959412 | 08/26/2024 07:00 | 08/27/2024 12:00 | JONES CANYON: PCB A-1685 |  | WOCS
215 | 24-10352 | 15960083 | 08/26/2024 08:00 | 08/27/2024 15:00 | TUCANNON RIVER: PCB B-2038 INCLUDING THE 115KV CAP GROUP 1 SECTION 1 | TUCANNON RIVER: 115KV CAP GROUP 1 SECTION 1, TUCANNON RIVER: PCB B-2038
216 | 24-03277 | 15396585 | 08/26/2024 08:00 | 10/19/2024 15:00 | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | CLYMER-MOXEE SECTION OF ELLENSBURG-MOXEE NO 1 115KV LINE | TCLA
217 | 24-01423 | 14885570 | 08/26/2024 08:00 | 08/29/2024 15:00 | ALVEY: 500KV REACTOR 2, INCLUDING PCB 5099 | ALVEY: 500KV REACTOR 2, ALVEY: PCB 5099, INCLUDING PCB 5099 | NWACI, EWEB, SLAL
218 | 24-09575 | 15959453 | 08/26/2024 08:00 | 08/29/2024 15:00 | KEELER-FOREST GROVE NO 2 115KV LINE |  | LOAD, SOA, NOPE
219 | 24-08757 | 15719367 | 08/26/2024 08:00 | 08/29/2024 15:00 | ALLSTON-DRISCOLL NO 1 230KV LINE |  | LOAD, SOA, NOPE
220 | 24-05047 | 15319730 | 08/26/2024 08:00 | 08/30/2024 15:00 | SALEM-GRAND RONDE NO 1 115KV LINE | SALEM-GRAND RONDE NO 1 115KV LINE, SALEM: PCB B-56 | LOAD, SOA, SLAL, NOPE
221 | 24-07535 | 15557612 | 08/27/2024 06:00 | 08/27/2024 17:00 | -USBR-GRAND COULEE: 230KV AUX BUS SECTIONS 2 & 3 | GRAND COULEE: 230KV AUX BUS SECTION 2, GRAND COULEE: 230KV AUX BUS SECTION 3, GRAND COULEE: PCB 6382, GRAND COULEE: PCB 7382
222 | 24-10059 | 15972235 | 08/27/2024 07:00 | 12/19/2024 17:00 | OLYMPIA: 230/115KV TRANSFORMER 1 INCLUDING PCB'S A-218 AND B-682 | OLYMPIA: 230/115KV TRANSFORMER 1, OLYMPIA: PCB A-218, OLYMPIA: PCB B-682 | NOEL, RP, WOCN, SOC
223 | 24-10111 | 15931665 | 08/27/2024 12:00 | 08/28/2024 15:00 | JONES CANYON: PCB A-1682 |  | WOCS
224 | 24-05544 | 15327839 | 08/28/2024 06:30 | 08/29/2024 14:00 | GARRISON: PCB A-877 | GARRISON: PCB A-877, GARRISON: 230KV AUX BUS
225 | 24-08728 |  | 08/28/2024 07:00 | 08/28/2024 14:00 | KITSAP: PCB B-948
226 | 24-10112 | 15972243 | 08/28/2024 12:00 | 08/29/2024 16:00 | JONES CANYON: PCB A-1675 |  | WOCS
227 | 24-06783 | 15778060 | 08/29/2024 07:00 | 08/29/2024 16:00 | POTHOLES: PCB A-969 RELAYS | POTHOLES-GRAND COULEE NO 1 230KV LINE, GRAND COULEE: PCB 5886, POTHOLES: PCB A-969 | NOH, WOCN
228 | 24-10730 | 15965808 | 08/29/2024 07:00 | 08/29/2024 08:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
229 | 24-04773 | 15239327 | 08/29/2024 08:00 | 08/29/2024 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
230 | 24-10747 | 15972090 | 08/29/2024 08:00 | 08/29/2024 13:00 | BELL: PCB A-552 230KV BUS SECT 3 BUS TIE RELAYS | BELL: PCB A-552
231 | 24-11131 | 16016001 | 08/29/2024 09:00 | 08/29/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
232 | 24-04774 | 15239433 | 08/29/2024 09:00 | 08/29/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
233 | 24-04775 | 15239437 | 08/29/2024 10:00 | 08/29/2024 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
234 | 24-10748 | 15972082 | 08/29/2024 12:30 | 08/29/2024 15:00 | BELL: PCB A-552 230KV BUS SECT 3 BUS TIE RELAYS | BELL: PCB A-558 | MT-NW, WOH
235 | 24-01407 | 15784098 | 08/30/2024 14:00 | 08/30/2024 15:00 | BELL-BOUNDARY NO 3 230KV LINE | ADDY-CUSICK NO 1 230KV LINE, ADDY TAP TO BELL-BOUNDARY NO 3 230KV LINE, BELL: PCB A-572 | BCHT, GEN, MT-NW, SOB, WOH