## Request List
ROW | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 15666227 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-13128 | 15529336 | 08/17/2022 08:00 | 08/29/2024 23:59 | MAPLE VALLEY: 500/230KV TRANSFORMER 2, (DERATED) |  | IROL, NOEL, SIG, SOC, WOCN
3 | 22-14468 |  | 09/20/2022 17:00 | 03/15/2025 15:00 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5 | ALVEY: 115KV BAY 5 (B-578) INCLUDING PCB B-578, B-578 LINE SIDE AND B-578 AUX. BUS DISCS, AND THE LINE DROPS/JACK BUS IN BAY #5
4 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2024 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
5 | 23-04495 |  | 01/28/2023 16:00 | 01/31/2025 15:00 | MAPLE VALLEY: 345/230KV TRANSFORMER 1 |  | NOEL, SOC, WOCN, IROL
6 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
7 | 23-01684 | 11460660 | 02/03/2023 15:30 | 12/15/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
8 | 23-03222 | 11461724 | 02/10/2023 18:30 | 12/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
9 | 23-15950 |  | 10/03/2023 08:00 | 07/31/2026 16:00 | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2) | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2), TACOMA-TPWR NORTHEAST NO 2 230KV LINE | RP
10 | 23-16749 |  | 10/26/2023 07:00 | 03/28/2025 16:00 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1 | VALHALLA: B-280 TERMINAL OF THE VALHALLA-CHELAN CO PUD 115KV FEEDER T1, VALHALLA: CHELAN CO PUD 115KV FEEDER T1
11 | 23-16875 |  | 10/30/2023 07:00 | 09/30/2026 23:59 | ROCKY REACH: MOD A-3016 LINE DISC AND A-1001 TRANSFORMER DISC | ROCKY REACH: MOD A-3016 LINE DISC AND A-1001 TRANSFORMER DISC, ROCKY REACH: 345/230KV TRANSFORMER 1 | GEN, IROL, NOEL, NOH, SOC, WOCN
12 | 23-16132 | 14436650 | 11/01/2023 00:01 | 10/31/2024 23:59 | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | LADWP - SYLMAR: PDCI SOUTH-NORTH LIMITATION | PDCI
13 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
14 | 24-03602 | 15110880 | 01/13/2024 20:07 | 07/01/2024 15:00 | HAYDEN BRIDGE SWITCHING STATION-WEYCO 3 115KV LINE | HAYDEN BRIDGE SWITCHING STATION-WEYCO 3 115KV LINE | EWEB
15 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
16 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
17 | 24-07641 | 15564307 | 04/17/2024 13:00 | 07/18/2024 17:00 | FOSTER: B-188 TERMINAL OF FOSTER TAP TO GREEN PETER-LEBANON NO 1 115KV LINE | NORTH BUTTE-FOSTER PH SECTION OF FOSTER TAP TO GREEN PETER-LEBANON NO 1 115KV LINE
18 | 24-01248 | 14743762 | 05/06/2024 07:00 | 07/14/2024 09:00 | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
19 | 24-02479 |  | 05/09/2024 10:00 | 07/08/2024 15:00 | GRIZZLY: 500KV REACTOR 2, PCB 4720 AND MOD 4719 CONTROL & INDICATION CIRCUITS | GRIZZLY: 500KV REACTOR 2, PCB 4720 AND MOD 4719 CONTROL & INDICATION CIRCUITS
20 | 24-09237 | 15755095 | 05/09/2024 10:26 | 10/01/2024 15:00 | FIRST STREET-STEVENS DRIVE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE |  | TCLA
21 | 23-01561 | 15650210 | 05/09/2024 14:50 | 07/08/2024 14:20 | GRIZZLY: 500KV REACTOR 2, GRIZZLY: PCB 4720, GRIZZLY: MOD 4719 |  | NWACI
22 | 24-07835 | 15785300 | 05/15/2024 07:00 | 08/01/2024 17:00 | -POPUD- USK-PINE ST. 115KV LINE INCLUDING USK: PCB PU6652 AND PINE STREET: PCB'S PP6952 & PP6652 | USK-PINE STREET 115KV LINE, PINE STREET: PCB PP6952, PINE STREET: PCB PP6652, USK SWYD: PCB PU6652 | SOB
23 | 23-00722 | 15184029 | 05/16/2024 07:30 | 09/30/2024 16:00 | PORT ANGELES: B-1206 TERMINAL OF THE CLALLAM CO PUD 115KV FEEDER 1 | PORT ANGELES: PCB B-1206, PORT ANGELES: CLALLAM CO PUD 115KV FEEDER 1
24 | 24-09623 |  | 05/17/2024 11:00 | 07/18/2024 17:00 | -PACW-FOSTER: PCB 2M38
25 | 24-05957 | 15755136 | 05/20/2024 07:00 | 07/02/2024 16:00 | GRAND COULEE-NILLES CORNER SECTION OF GRAND COULEE-FOSTER CREEK NO 1 115KV LINE |  | OKLA
26 | 24-01315 | 14765731 | 05/31/2024 16:00 | 07/25/2024 08:00 | JOHN DAY: MOD 4136, INCLUDING PCB 4137 | JOHN DAY: PCB 4137 | NWACI, WOJD, PDCI
27 | 24-07762 |  | 06/05/2024 10:00 | 07/24/2024 15:00 | SALEM: B-58 TERMINAL OF THE 115KV PACW FEEDER 1 TO DALLAS | SALEM: PCB B-58, SALEM: PACIFICORP (PACW) 115KV FEEDER 1
28 | 24-00127 | 14694577 | 06/14/2024 07:00 | 08/16/2024 17:00 | MCNARY-COYOTE SPRINGS NO 1 500KV LINE | MCNARY-COYOTE SPRINGS NO 1 500KV LINE, MCNARY: PCB 4231, MCNARY: PCB 4234, COYOTE SPRINGS: PCB 5184, COYOTE SPRINGS: PCB 5187 | SIG, WOM, WOJD, WOLM
29 | 24-06183 | 13115079 | 06/15/2024 08:00 | 08/31/2024 18:00 | SCL- MASSACHUSETTS ST-UNION ST-BROAD ST 115KV LINES, BROAD ST BKR 120-55, BKR 120-58, BANK 66A, BANK 66, AND UNION ST BKR 120-65 |  | SOC, NOEL
30 | 24-00613 | 14344448 | 06/17/2024 15:00 | 07/01/2024 14:00 | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | HUNGRY HORSE-CONKELLEY NO 1 230KV LINE | GEN, MT-NW, FLAT
31 | 24-05428 |  | 06/24/2024 06:00 | 07/05/2024 18:00 | -PACW- CHILOQUIN-FISHHOLE SECTION OF CHILOQUIN-MILE HI 115KV LINE | -PACW- CHILOQUIN-FISHHOLE SECTION OF CHILOQUIN-MILE HI 115KV LINE | NWACI
32 | 24-00438 | 14168421 | 06/24/2024 07:30 | 07/03/2024 16:00 | NORTH BONNEVILLE-ROSS NO 1 230KV LINE | NORTH BONNEVILLE-ROSS NO 1 230KV LINE, ROSS: PCB A-34, NORTH BONNEVILLE: PCB A-13, SIFTON: PCB A-163, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE, SIFTON: PCB B-1500, SIFTON: 230/115KV TRANSFORMER 2, SIFTON: 230KV EAST MAIN BUS | GEN, LOAD, WOCS, FCRPS, SOA
33 | 24-04050 | 15514347 | 06/25/2024 08:00 | 07/08/2024 09:00 | WENDSON: 230/115KV TRANSFORMER 1, INCLUDING: PCBs A-1578, B-1784 AND THE A-1578 A/B & B-1784 A/B DISCS | WENDSON: PCB A-1578, WENDSON: PCB B-1784, WENDSON: THREE-PHASE STATION SERVICE TRANSFORMER 1, 230/115KV TIE NO 1 115KV LINE | LOAD, SCORC
34 | 24-07974 | 15837001 | 06/26/2024 04:00 | 08/16/2024 03:00 | TROY: B-1807 TERMINAL OF THE ASARCO TAP TO LIBBY-BONNERS FERRY #1 115KV LINE | LIBBY-BONNERS FERRY NO 1 115KV LINE, MOYIE: BONNERS FERRY ID 115KV FEEDER 1, NORTH BENCH: BONNERS FERRY ID 13.8KV FEEDER 1, TROY: CITY OF TROY 13.8KV FEEDER 1, LIBBY FEC: FLATHEAD E COOP 115KV FEEDER 1, YAAK: NORTHERN LIGHTS 12.5KV FEEDER 1, NORTH BENCH: NORTHERN LIGHTS 13.8KV FEEDER 1, TROY: NORTHERN LIGHTS 13.8KV FEEDER 1, TROY: NORTHERN LIGHTS 13.8KV FEEDER 2, YAAK: 115/12.5KV TRANSFORMER 1, MOYIE: 115/13.8KV TRANSFORMER 1, NORTH BENCH: 115/13.8KV TRANSFORMER 1, TROY: 115/13.8KV TRANSFORMER 1, TROY: NORTHERN LIGHTS 115KV FEEDER 1 TO ASARCO, MOYIE SPRINGS TAP TO LIBBY-BONNERS FERRY NO 1 115KV LINE, TROY TAP TO LIBBY-BONNERS FERRY NO 1 115KV LINE, YAAK TAP TO LIBBY-BONNERS FERRY NO 1 115KV LINE | FLAT, SOB, LOAD
35 | 24-09366 |  | 06/26/2024 08:00 | 07/01/2024 08:00 | LOOKOUT POINT-MT. VERNON SECTION OF LOOKOUT POINT-ALVEY NO 2 115KV LINE |  | GEN
36 | 24-00904 | 14484529 | 06/30/2024 22:00 | 07/03/2024 19:00 | GRAND COULEE: PCB 6382 INCLUDING THE 230KV AUX BUS SECTION 2 | GRAND COULEE: PCB 6382 INCLUDING THE 230KV AUX BUS SECTION 2, GRAND COULEE: PCB 6382, GRAND COULEE: 230KV AUX BUS SECTION 2
37 | 24-00015 | 9567061 | 07/01/2024 06:00 | 07/12/2024 23:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 | GEN, NOH, WOCN
38 | 24-00991 | 14695136 | 07/01/2024 07:00 | 07/02/2024 16:00 | SLATT: PCB 5378 | SLATT: PCB 5378 | WOJD
39 | 24-00667 | 14475604 | 07/01/2024 07:00 | 11/14/2024 15:00 | -USBR- HUNGRY HORSE: PCB'S 2282 AND 2382 | HUNGRY HORSE PH: PCB 2282, -USBR- HUNGRY HORSE: PCB'S 2282 AND 2382, HUNGRY HORSE PH: PCB 2382 | WOH, FLAT, MT-NW
40 | 24-07785 | 15578506 | 07/01/2024 07:00 | 07/01/2024 16:00 | MAPLE VALLEY-TALBOT NO 2 230KV LINE, INCLUDING PCB A-1130 (GROUNDED) | MAPLE VALLEY: PCB A-1130 | NOEL, SOC
41 | 24-01218 | 14879953 | 07/01/2024 08:00 | 07/02/2024 15:00 | HILLTOP: PCB A-1534 | HILLTOP: PCB A-1534 | RATS, NWACI
42 | 24-08207 | 15741601 | 07/01/2024 08:00 | 07/02/2024 15:00 | MONROE: 500KV CAP GROUP #2 INCLUDING PCB 4715 | MONROE: 500KV CAP GROUP 2, MONROE: PCB 4715 | IROL, NI, NOEL, SOC, WOCN
43 | 24-00625 | 14694910 | 07/01/2024 08:00 | 07/02/2024 15:00 | HANFORD: PCB 4092 | HANFORD: PCB 4092 | NOH, WOM, WOS
44 | 24-06838 | 15534688 | 07/01/2024 08:00 | 07/02/2024 16:30 | POTHOLES: PCB A-965 | MIDWAY-POTHOLES NO 1 230KV LINE | NOH, GEN
45 | 24-00697 | 14980189 | 07/01/2024 08:00 | 07/01/2024 15:00 | GRIZZLY: PCB 4058 | GRIZZLY: PCB 4058 | NWACI, WOJD
46 | 24-05839 |  | 07/01/2024 08:00 | 07/03/2024 15:00 | BEAVER-TILLAMOOK SECTION OF BOYER-TILLAMOOK NO 1 115KV LINE |  | SOA, LOAD, NOPE
47 | 24-05442 | 15569020 | 07/01/2024 14:00 | 07/01/2024 14:30 | SNO-KING: PCB A-1206, SNO-KING: 230KV MAIN BUS SECTION 3 LOR
48 | 24-07813 | 15704192 | 07/02/2024 07:00 | 07/03/2024 16:00 | MAPLE VALLEY-TALBOT NO 1 230KV LINE, INCLUDING PCB A-1120 (GROUNDED) |  | NOEL, SOC
49 | 24-09151 |  | 07/02/2024 07:00 | 07/02/2024 16:00 | OLYMPIA: 230KV CAP GROUP 2 SECTIONS 1 AND 2 | OLYMPIA: 230KV CAP GROUP 2 SECTION 1, OLYMPIA: 230KV CAP GROUP 2 SECTION 2 | NOEL, SOC, WOCN
50 | 24-03020 | 15079141 | 07/03/2024 07:00 | 07/03/2024 08:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
51 | 24-02605 | 14971982 | 07/03/2024 08:00 | 07/03/2024 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
52 | 24-02606 | 14972007 | 07/03/2024 09:00 | 07/03/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
53 | 24-02607 | 14972010 | 07/03/2024 10:00 | 07/03/2024 11:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
54 | 24-00886 | 14483395 | 07/07/2024 22:00 | 07/12/2024 19:00 | GRAND COULEE: PCB 7084 | GRAND COULEE: PCB 7084 | GEN, NOH, WOCN
55 | 24-08348 | 15696536 | 07/08/2024 06:30 | 07/08/2024 07:00 | MCNARY PH-MCNARY NO 5 230KV LINE | MCNARY PH 230/13.8KV TRANSFORMER T5, MCNARY PH 230/13.8KV TRANSFORMER T6 | GEN, FCRPS, WOM
56 | 24-02389 | 14907699 | 07/08/2024 07:00 | 07/12/2024 15:00 | OLYMPIA-SOUTH ELMA NO 1 115KV LINE | OLYMPIA-SOUTH ELMA NO 1 115KV LINE | LOAD, SI, RP
57 | 24-08584 |  | 07/08/2024 07:00 | 07/12/2024 15:30 | -LVE- TESTER TAP-VALLEY SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE | HOOPER SPRINGS-VALLEY SECTION OF HOOPER SPRINGS-DRY CREEK 115KV LINE
58 | 24-03799 | 15161901 | 07/08/2024 07:00 | 07/11/2024 14:00 | GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4469 | GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4469, GARRISON: PCB 4469, GARRISON: BROADVIEW 1 500KV LINE SERIES CAP GROUP 1 | MT-NW
59 | 24-02617 | 14972309 | 07/08/2024 07:00 | 07/09/2024 16:00 | SLATT: PCB 5043 | SLATT: PCB 5043 | WOJD, NWACI
60 | 24-04105 | 15199006 | 07/08/2024 07:00 | 07/08/2024 16:00 | COSMOPOLIS: PCB B-1326 | COSMOPOLIS: PCB B-1326, ABERDEEN TAP-COSMOPOLIS SECTION OF SATSOP PARK-COSMOPOLIS NO 1 115KV LINE | RP
61 | 24-05962 |  | 07/08/2024 07:00 | 07/26/2024 16:00 | NILLES CORNER-EAST OMAK SECTION OF GRAND COULEE-FOSTER CREEK NO 1 115KV LINE |  | OKLA
62 | 24-01060 | 14695500 | 07/08/2024 07:00 | 07/10/2024 15:00 | RAVER: PCB 4296 | RAVER: PCB 4296 | NOEL, RP, SOC, WOCN
63 | 24-04901 | 15351074 | 07/08/2024 07:30 | 07/08/2024 15:30 | COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING COLVILLE: PCB B-1766 AND 115KV AUX BUS | COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING COLVILLE: PCB B-1766 AND 115KV AUX BUS, COLVILLE: 115KV AUX BUS, COLVILLE: PCB B-1766, COLVILLE-SPIRIT SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB
64 | 24-04983 | 15527796 | 07/08/2024 07:30 | 07/10/2024 16:30 | EUGENE-BERTELSEN NO 1 115KV LINE | EUGENE: PCB B-558, BERTELSEN: PCB 6450 | EWEB
65 | 24-00439 | 14161188 | 07/08/2024 07:30 | 07/18/2024 16:00 | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP | NORTH BONNEVILLE-ROSS NO 2 230KV LINE INCLUDING SIFTON TAP, ROSS: PCB A-22, NORTH BONNEVILLE: PCB A-14, SIFTON: PCB B-1511, SIFTON: 230KV WEST MAIN BUS, SIFTON: 230KV AUX BUS, SIFTON: 230/115KV TRANSFORMER 1 | SOA, WOCS
66 | 24-02089 | 14841222 | 07/08/2024 08:00 | 07/18/2024 15:00 | ADDY-CUSICK NO 1 230KV LINE | ADDY-CUSICK NO 1 230KV LINE
67 | 24-05081 | 15312783 | 07/08/2024 08:00 | 07/22/2024 17:00 | CASCADE LOCKS-HOOD RIVER SECTION OF BONNEVILLE PH 1-HOOD RIVER NO 1 115KV LINE INCLUDING PCB B-1680 AND 115KV AUX BUS | HOOD RIVER: PCB B-1680, 115KV AUXILIARY BUS, CASCADE LOCKS-HOOD RIVER SECTION OF BONNEVILLE PH 1-HOOD RIVER NO 1 115KV LINE | GEN, LWRCOL, JDAY, WOM
68 | 24-04371 | 15397768 | 07/08/2024 08:00 | 07/11/2024 16:00 | PORT ORFORD-GEISEL MONUMENT SECTION OF BANDON-ROGUE NO 1 115KV LINE | PORT ORFORD-GEISEL MONUMENT SECTION OF BANDON-ROGUE NO 1 115KV LINE
69 | 24-01470 | 14980149 | 07/08/2024 08:00 | 07/10/2024 15:00 | DWORSHAK: PCB 4665, INCLUDING 500KV REACTOR 1 | DWORSHAK: 500KV REACTOR 1 | MT-NW, GEN, WOH
70 | 24-07391 | 15533909 | 07/08/2024 08:00 | 07/08/2024 18:00 | PSE - SEDRO WOOLLEY-SCL BOTHELL-HORSE RANCH 230KV LINE |  | SOC/NOEL
71 | 24-06776 | 15470589 | 07/08/2024 08:00 | 07/18/2024 15:00 | -CPUD- NORTH WOODLAND: 115KV MAIN BUS | NORTH WOODLAND: 115KV MAIN BUS, KALAMA INDUSTRIAL-NORTH WOODLAND 115KV LINE, NORTH WOODLAND-LEWIS RIVER 115KV LINE, NORTH WOODLAND: PCB 115NW1, NORTH WOODLAND: PCB 115NW2, NORTH WOODLAND: PCB 115NW3, NORTH WOODLAND: PCB 115NW4 | LOAD, SOA, NOPE
72 | 24-06840 | 15843925 | 07/08/2024 08:00 | 07/09/2024 16:30 | POTHOLES: PCB A-969 | POTHOLES-GRAND COULEE NO 1 230KV LINE | NOH
73 | 24-00442 | 14198233 | 07/08/2024 08:00 | 07/25/2024 15:00 | ASHE: 500KV REACTOR 1 INCLUDING PCB 4907 | ASHE: 500KV REACTOR 1 INCLUDING PCB 4907, ASHE: 500KV REACTOR 1, ASHE: PCB 4907 | NWACI, FCRPS, NOH
74 | 24-02995 | 15038691 | 07/08/2024 08:00 | 07/11/2024 16:00 | MALIN-ROUND MOUNTAIN NO 1 500 KV LINE INCLUDING MALIN: ROUND MOUNTAIN 1 500 KV SERIES CAP GROUP AND PCB'S 4188, 4189 | MALIN-ROUND MOUNTAIN NO 1 500 KV LINE INCLUDING MALIN: ROUND MOUNTAIN 1 500 KV SERIES CAP GROUP AND PCB'S 4188, 4189, MALIN-ROUND MOUNTAIN NO 1 500KV LINE, MALIN: PG&E ROUND MOUNTAIN 1 500KV LINE SERIES CAP GROUP, MALIN: PCB 4064, MALIN: PCB 4186 | BCHT, BCHW, NI, COI, NWACI, RATS
75 | 24-00508 | 14204016 | 07/08/2024 08:00 | 07/27/2024 17:00 | TAFT-BELL NO 1 500KV LINE | BELL: TAFT 1 500KV LINE SERIES CAP GROUP 1, BELL: 500KV REACTOR 1, TAFT: HSGS 7812 | GEN, MT-NW, SIG, WOH, RP
76 | 24-01884 | 15438093 | 07/08/2024 08:00 | 07/11/2024 15:00 | FILBERT-CARLTON SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | FILBERT: FOREST GROVE OR 115KV FEEDER 1
77 | 24-01492 | 14929647 | 07/08/2024 08:30 | 07/11/2024 16:00 | ALLSTON-CLATSOP # 1 230KV LINE INCLUDING DRISCOLL TAP TO ALLSTON-CLATSOP #1 230KV LINE. | CLATSOP: PACIFICORP (PACW) 115KV FEEDER 1, ALLSTON-CLATSOP # 1 230KV LINE INCLUDING DRISCOLL TAP TO ALLSTON-CLATSOP #1 230KV LINE., CLATSOP: 230/115KV TRANSFORMER 1, ALLSTON-DRISCOLL SECTION OF ALLSTON-CLATSOP NO 1 230KV LINE, DRISCOLL-CLATSOP SECTION OF ALLSTON-CLATSOP NO 1 230KV LINE, DRISCOLL TAP TO ALLSTON-CLATSOP NO 1 230KV LINE | LOAD, SOA, NOPE
78 | 24-03977 |  | 07/08/2024 09:00 | 07/11/2024 17:00 | WENDSON: 115KV MAIN BUS, INCLUDING: 230/115KV XFMR #1 AND PCBs: A-1578, B-1783, B-1784 AND B-1781, AND THREE PHASE STA SERV XFMR #1 | WENDSON: PCB B-1778, WENDSON: PCB B-1779, WENDSON: PCB B-1783, WENDSON: PCB B-1784, WENDSON: 230/115KV TRANSFORMER 1, WENDSON: PCB A-1578, WENDSON SUBSTATION 230/115KV TIE NO 1 115KV LINE, WENDSON-BERRYDALE SECTION OF WENDSON-TAHKENITCH NO 1 115KV LINE, MAPLETON-WENDSON SECTION OF LANE-WENDSON NO 1 115KV LINE, WENDSON: CENTRAL LINC PUD 115KV FEEDER 1 | LOAD, SCORC, SWORE
79 | 24-05039 | 15334979 | 07/08/2024 09:00 | 07/08/2024 17:00 | FOREST GROVE: 115KV SOUTH MAIN BUS INCLUDING PCB B-1286 | KEELER-FOREST GROVE NO 2 115KV LINE, FOREST GROVE: FOREST GROVE OR 115KV FEEDER 1, FOREST GROVE: FOREST GROVE OR 115KV FEEDER 2, FOREST GROVE-FILBERT SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, FOREST GROVE: 115KV SOUTH MAIN BUS | LOAD, SOA, NOPE
80 | 24-09380 | 15793160 | 07/08/2024 10:00 | 07/08/2024 13:00 | SNIPES-ACORD SECTION OF THE GRANDVIEW-RED MOUNTAIN #1 115 KV LINE INCLUDING THE CHANDLER TAP
81 | 24-09381 | 15793095 | 07/08/2024 10:00 | 07/19/2024 14:00 | CHANDLER TAP TO GRANDVIEW-RED MOUNTAIN NO 1 115KV LINE |  | GEN, TCLA, LOAD
82 | 24-04820 | 15272139 | 07/09/2024 07:00 | 07/10/2024 12:00 | MORROW FLAT: PCB B-2211 | MORROW FLAT: PCB B-2211 | WOM
83 | 24-04647 | 15233160 | 07/09/2024 07:00 | 07/18/2024 17:00 | NORTH BONNEVILLE-ROSS NO 1 230KV LINE | NORTH BONNEVILLE-ROSS NO 1 230KV LINE, ROSS: PCB A-34, NORTH BONNEVILLE: PCB A-13, SIFTON: PCB A-163, SIFTON TAP TO NORTH BONNEVILLE-ROSS NO 1 230KV LINE, SIFTON: PCB B-1500, SIFTON: 230/115KV TRANSFORMER 2, SIFTON: 230KV EAST MAIN BUS | GEN, LOAD, WOCS, FCRPS, SOA, NOPE
84 | 24-08190 | 15650234 | 07/09/2024 07:30 | 07/09/2024 16:00 | CUSTER-INTALCO NO 2 230KV LINE INCLUDING INTALCO: PCB'S A-1020 AND A-1016 (GROUNDED) | INTALCO: PCB A-1020, INTALCO: PCB A-1016, CUSTER-INTALCO NO 2 230KV LINE | BCHT, BCHW, LOAD, NOEL, SOC
85 | 24-04902 | 15307118 | 07/09/2024 08:00 | 07/09/2024 11:30 | COLVILLE: PCB B-1768 | COLVILLE: PCB B-1768, COLVILLE-KETTLE FALLS SECTION OF COLVILLE-REPUBLIC NO 1 115KV LINE
86 | 24-08679 | 15695765 | 07/09/2024 08:00 | 07/09/2024 15:00 | COLUMBIA FALLS: PCB A-313 |  | MT-NW, FCRPS, GEN, LOAD, FLAT
87 | 24-00060 | 12879964 | 07/09/2024 08:00 | 07/10/2024 16:00 | GRIZZLY: 500KV SOUTH BUS INCLUDING PCB 4720, 500KV REACTOR 2 | GRIZZLY: 500KV SOUTH BUS, GRIZZLY: PCB 4720, GRIZZLY: 500KV REACTOR 2, GRIZZLY: PCB 4222, GRIZZLY: 500KV REACTOR 1 | NWACI
88 | 24-07385 | 15799578 | 07/09/2024 08:00 | 07/09/2024 15:00 | FOREST GROVE - FILBERT SECTION OF FOREST GROVE - MCMINNVILLE NO 1 115KV LINE INCLUDING FOREST GROVE 115KV AUX BUS
89 | 24-09523 | 15799357 | 07/09/2024 11:00 | 07/09/2024 13:00 | CUSICK: 230KV CAP GROUP 1 |  | SOB
90 | 24-04903 | 15321358 | 07/09/2024 11:30 | 07/09/2024 15:00 | COLVILLE: PCB B-1770 | COLVILLE: PCB B-1770, ADDY-COLVILLE NO 1 115KV LINE | SOB
91 | 24-04112 | 15205430 | 07/09/2024 15:00 | 07/19/2024 15:00 | FOREST GROVE-FILBERT SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE INCLUDING FOREST GROVE PCB B-1286 AND B-1286 M/B, L/S AND A/B DISCONNECTS | FOREST GROVE: PCB B-1286, FOREST GROVE-FILBERT SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | SOA, NOPE
92 | 24-08193 | 15650280 | 07/10/2024 07:30 | 07/10/2024 16:00 | CUSTER-INTALCO NO 1 230KV LINE INCLUDING INTALCO: PCB'S A-1012 AND A-1036 | CUSTER-INTALCO NO 1 230KV LINE, INTALCO: PCB A-1012, INTALCO: PCB A-1036 | LOAD, NOEL, SOC, BCHT, BCHW
93 | 24-04904 | 15352427 | 07/10/2024 08:00 | 07/10/2024 15:00 | ADDY-ARDEN SECTION OF ADDY-AVA KETTLE FALLS 1 115KV LINE INCLUDING ADDY: PCB B-1145 AND 115KV AUX BUS | ADDY-ARDEN SECTION OF ADDY-AVA KETTLE FALLS 1 115KV LINE INCLUDING ADDY: PCB B-1145 AND 115KV AUX BUS, ADDY: 115KV AUX BUS, ADDY: PCB B-1145, ADDY-ARDEN SECTION OF ADDY-AVA KETTLE FALLS NO 1 115KV LINE
94 | 24-06837 | 15843824 | 07/10/2024 08:00 | 07/11/2024 16:30 | POTHOLES: PCB A-964 | POTHOLES-SAND DUNES NO 1 230KV LINE | NOH, GEN, WI
95 | 24-04821 | 15272144 | 07/10/2024 12:00 | 07/11/2024 16:00 | MORROW FLAT: PCB B-2224 | MORROW FLAT: PCB B-2224 | WOM
96 | 24-04227 | 15189580 | 07/11/2024 07:00 | 07/11/2024 16:00 | SATSOP: PCB A-616 | SATSOP: PCB A-616 | GEN, LOAD
97 | 24-06781 |  | 07/11/2024 07:00 | 07/11/2024 16:00 | POTHOLES: PCB A-964 | POTHOLES-SAND DUNES NO 1 230KV LINE | NOH, GEN, WI
98 | 24-04990 | 15704617 | 07/11/2024 07:00 | 07/11/2024 16:30 | PLEASANT HILL-ALVEY SECTION OF LOOKOUT POINT-ALVEY NO 1 115KV LINE |  | GEN
99 | 24-08403 |  | 07/11/2024 08:00 | 07/11/2024 16:00 | KEELER: A-866 TERMINAL OF KEELER-PGE ST MARYS NO 1230KV LINE | KEELER-PGE ST MARYS NO 1 230KV LINE | LOAD, SOA, NOPE
100 | 24-08693 | 15695880 | 07/11/2024 08:00 | 07/11/2024 15:00 | COLUMBIA FALLS: PCB A-299 | COLUMBIA FALLS: 230KV AUX BUS
101 | 24-04037 | 15321745 | 07/11/2024 08:00 | 07/11/2024 15:00 | ROSS: HAZEL DELL 115KV LINE RFL9700 FOTT (BPA CKT 7B39) | ROSS: HAZEL DELL 115KV LINE RFL9700 FOTT (BPA CKT 7B39), ROSS: PCB B-16, HAZEL DELL SW STA: PCB 1, HAZEL DELL SW STA: PCB 4
102 | 24-01249 | 14743971 | 07/14/2024 09:00 | 07/14/2024 12:00 | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | OAKRIDGE-LOOKOUT POINT SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
103 | 24-00887 | 14483418 | 07/14/2024 22:00 | 07/19/2024 19:00 | GRAND COULEE: PCB 6084 | GRAND COULEE: PCB 6084 | NOH, WOCN
104 | 24-00028 | 10941480 | 07/15/2024 05:00 | 07/15/2024 17:00 | LITTLE GOOSE: 4349/4351 TERMINAL OF LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | LITTLE GOOSE: PCB 4348, LITTLE GOOSE: PCB 4350, LITTLE GOOSE PH-LITTLE GOOSE NO 1 500KV LINE | WOLM, GEN
105 | 24-08862 | 14655807 | 07/15/2024 06:00 | 07/29/2024 10:00 | PG&E - Round Mountain #1 500/230kV Bank including #2 500kV Bus |  | COI
106 | 24-05462 | 15351948 | 07/15/2024 07:00 | 08/02/2024 17:00 | SNOHOMISH-MURRAY NO 1 230KV LINE, (GROUNDED) | SNOHOMISH-MURRAY NO 1 230KV LINE, (GROUNDED) | NOEL, SOC
107 | 24-03804 | 15163380 | 07/15/2024 07:00 | 07/18/2024 14:00 | GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4468 | GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4468, GARRISON: PCB 4468, GARRISON: BROADVIEW 2 500KV LINE SERIES CAP GROUP 2 | MT-NW
108 | 24-01250 | 14744592 | 07/15/2024 07:00 | 08/05/2024 09:00 | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE | SOA
109 | 24-06035 | 15416089 | 07/15/2024 07:00 | 07/16/2024 15:00 | DEXTER PH: B-1009 TERMINAL OF THE DEXTER TAP TO LOOKOUT POINT-ALVEY NO 1 115KV LINE | DEXTER PH: 115/13.8KV BANK 1, DEXTER TAP TO LOOKOUT POINT-ALVEY NO 1 115KV LINE | GEN, EWEB
110 | 24-02080 | 14848621 | 07/15/2024 07:00 | 07/25/2024 12:30 | THE DALLES PH: 115/13.2KV BANK 1 | THE DALLES PH: 115/13.2KV BANK 1
111 | 24-08586 | 15704706 | 07/15/2024 07:00 | 08/02/2024 15:30 | -LVE- TESTER TAP-LANES CREEK SECTION OF HOOPER SPRINGS-TINCUP 115KV LINE | HOOPER SPRINGS-LANES CREEK SECTION OF HOOPER SPRINGS-TINCUP 115KV LINE
112 | 24-02142 | 14848980 | 07/15/2024 07:00 | 07/15/2024 07:30 | THE DALLES PH-BIG EDDY NO 1 115KV LINE | THE DALLES PH-BIG EDDY NO 1 115KV LINE | GEN, SOA, FCRPS, NOPE
113 | 23-10144 | 13764703 | 07/15/2024 07:00 | 07/26/2024 16:00 | FLATHEAD: 230KV MAIN BUS INCLUDING PCB A-276 AND 230KV AUX BUS | FLATHEAD: 230KV MAIN BUS INCLUDING PCB A-276 AND 230KV AUX BUS, FLATHEAD: 230KV MAIN BUS, FLATHEAD: 230KV AUX BUS, FLATHEAD: PCB A-276, COLUMBIA FALLS-FLATHEAD NO 1 230KV LINE, FLATHEAD-LION MOUNTAIN SECTION OF FLATHEAD-HOT SPRINGS NO 1 230KV LINE, FLATHEAD: FLATHEAD E COOP 230KV FEEDER 1, FLATHEAD: FLATHEAD E COOP 230KV FEEDER 2, FLATHEAD: PCB A-227, FLATHEAD: PCB A-221, FLATHEAD: PCB A-219, FLATHEAD: PCB A-217 | MT-NW, GEN, LOAD, FLAT
114 | 24-00542 | 14285447 | 07/15/2024 07:00 | 07/19/2024 17:00 | ICE HARBOR-FRANKLIN NO 3 115KV LINE | ICE HARBOR-FRANKLIN NO 3 115KV LINE, ICE HARBOR-LEVEY SECTION OF ICE HARBOR-FRANKLIN NO 3 115KV LINE, FRANKLIN: PCB B-608, LEVEY TAP TO ICE HARBOR-FRANKLIN NO 3 115KV LINE | GEN, TCLA
115 | 24-03964 | 15184940 | 07/15/2024 07:30 | 07/16/2024 12:00 | DRISCOLL: PCB B-2061 | DRISCOLL: PCB B-2061
116 | 24-01497 | 14936812 | 07/15/2024 07:30 | 07/18/2024 17:00 | ALLSTON-CLATSOP # 1 230KV LINE INCLUDING DRISCOLL TAP TO ALLSTON-CLATSOP #1 230KV LINE. | CLATSOP: PACIFICORP (PACW) 115KV FEEDER 1, ALLSTON-CLATSOP # 1 230KV LINE INCLUDING DRISCOLL TAP TO ALLSTON-CLATSOP #1 230KV LINE., CLATSOP: 230/115KV TRANSFORMER 1, ALLSTON-DRISCOLL SECTION OF ALLSTON-CLATSOP NO 1 230KV LINE, DRISCOLL-CLATSOP SECTION OF ALLSTON-CLATSOP NO 1 230KV LINE, DRISCOLL TAP TO ALLSTON-CLATSOP NO 1 230KV LINE | LOAD, SOA, NOPE
117 | 24-07675 | 15569639 | 07/15/2024 08:00 | 07/25/2024 15:00 | GRIZZLY: 500KV REACTOR 1, INCLUDING PCB 4222 | GRIZZLY: PCB 4222 | NWACI
118 | 24-01453 | 15239809 | 07/15/2024 08:00 | 07/25/2024 15:00 | DWORSHAK: 500KV REACTOR 1, INCLUDING PCB 4665 | DWORSHAK: PCB 4665 | GEN, MT-NW, WOH
119 | 24-08677 | 15740174 | 07/15/2024 08:00 | 07/15/2024 15:00 | LITTLE GOOSE: PCB'S 4348 AND 4350 | LITTLE GOOSE: PCB 4350, LITTLE GOOSE: PCB 4348 | WOLM
120 | 24-01207 | 14881349 | 07/15/2024 08:00 | 07/19/2024 15:00 | MALIN: PCB 4066 |  | NWACI, COI
121 | 24-08234 | 15651485 | 07/15/2024 08:00 | 07/18/2024 16:00 | ALVEY: 115/34.5KV TRANSFORMER 1, INCLUDING: PCBS B-574 AND L-994 | ALVEY: 34.5KV PCB L-994, ALVEY: PCB B-574 | SCORC
122 | 24-05037 | 15286492 | 07/15/2024 08:00 | 07/18/2024 15:00 | LOWER MONUMENTAL-ASHE NO 1 500KV LINE | LOWER MONUMENTAL-ASHE NO 1 500KV LINE | GEN, SIG, WOLM, NOH
123 | 24-02162 |  | 07/15/2024 16:30 | 09/06/2024 07:00 | NWE - BOARDVIEW: 500KV REACTOR 2 & 500-30G PCB | NWE - BOARDVIEW: 500KV REACTOR 2 & 500-30G PCB
124 | 24-02732 | 15213387 | 07/16/2024 08:00 | 07/16/2024 15:00 | CHENOWETH: QUENETT CREEK-CHENOWETH 1 230KV LINE INCLUDING CHENOWETH 230/115/13.8KV TRANSFORMER BANK 1, CHENOWETH PCB B-1220 AND QUENETT CREEK PCBs A-1934 AND A-1937 | CHENOWETH: QUENETT CREEK-CHENOWETH 1 230KV LINE INCLUDING CHENOWETH 230/115/13.8KV TRANSFORMER BANK 1, CHENOWETH PCB B-1220 AND QUENETT CREEK PCBs A-1934 AND A-1937, CHENOWETH: 230/115KV TRANSFORMER 1, CHENOWETH: PCB B-1220, QUENETT CREEK: PCB A-1934, QUENETT CREEK: PCB A-1937, QUENETT CREEK-CHENOWETH NO 1 230KV LINE | GEN
125 | 24-07139 | 15513694 | 07/16/2024 08:00 | 08/06/2024 15:00 | KEELER: 230KV REACTIVE GROUP 2, REACTOR 1 INCLUDING PCB A-873 | KEELER: 230KV REACTIVE GROUP 2 REACTOR 1, KEELER: PCB A-873 | SOA, NOPE
126 | 24-03965 | 15184950 | 07/16/2024 12:00 | 07/17/2024 16:00 | DRISCOLL: PCB B-2064 | DRISCOLL: PCB B-2064
127 | 24-07555 | 15559498 | 07/17/2024 08:00 | 07/18/2024 16:00 | METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY 1 115KV LINE INCLUDING BOUNDARY: 230/115KV TRANSFORMER 1, PCB B-1398, PCB A-1228, AND 230KV AUX BUS | ADDY: 115KV AUX BUS, BOUNDARY: PCB B-1398, BOUNDARY: PCB A-1228, BOUNDARY: PCB A-1226, BOUNDARY: 230/115KV TRANSFORMER 1, METALINE FALLS-BOUNDARY SECTION OF COLVILLE-BOUNDARY NO 1 115KV LINE | SOB, LOAD, NI, NOEL, SOC
128 | 24-08947 | 15735607 | 07/17/2024 12:00 | 07/19/2024 23:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 |  | GEN, NOH, WOCN
129 | 24-09828 | 15837996 | 07/18/2024 07:00 | 07/18/2024 08:00 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 |  | GEN, NOH, WOCN
130 | 23-03260 | 12970653 | 07/18/2024 07:01 | 07/18/2024 16:00 | WHITE BLUFFS: 115KV AUX BUS INCLUDING PCB B-215 | WHITE BLUFFS: 115KV AUX BUS, WHITE BLUFFS: 115KV AUX BUS INCLUDING PCB B-215, WHITE BLUFFS: PCB B-215
131 | 24-08256 | 15665022 | 07/18/2024 08:00 | 07/18/2024 12:00 | SHELTON: 230/115KV TRANSFORMER #1 INCLUDING PCB'S A-77, A-278, B-1148, AND B-1140 | SHELTON: 115KV AUX BUS, SHELTON: 230/115KV TRANSFORMER 1, SHELTON: PCB A-77, SHELTON: PCB A-278, SHELTON: PCB B-1148, SHELTON: PCB B-1140 | RP
132 | 24-03969 | 15185341 | 07/18/2024 08:00 | 07/18/2024 16:00 | NASELLE: PCB B-1715 INCLUDING 115KV AUX BUS | NASELLE: PCB B-1715, NASELLE: PCB B-1715 INCLUDING 115KV AUX BUS, NASELLE: 115KV AUX BUS
133 | 24-03058 | 15079162 | 07/18/2024 08:00 | 07/18/2024 09:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 |  | GEN, NOH, WOCN
134 | 24-05509 |  | 07/18/2024 08:00 | 07/18/2024 14:00 | FIDALGO-LOPEZ 115kV CABLE #4 INCLUDING FIDALGO PCB B-9, AND LOPEZ PCB L-7 | LOPEZ ISLAND: 115/69KV TRANSFORMER 4, FIDALGO-LOPEZ ISLAND NO 4 115KV LINE, FIDALGO: PCB B-9, LOPEZ ISLAND: 69KV PCB L-7
135 | 24-09376 |  | 07/18/2024 08:00 | 07/18/2024 15:00 | FOREST GROVE: 115KV SOUTH MAIN BUS INCLUDING PCB B-1286 | KEELER-FOREST GROVE NO 2 115KV LINE, FOREST GROVE: FOREST GROVE OR 115KV FEEDER 1, FOREST GROVE: FOREST GROVE OR 115KV FEEDER 2, FOREST GROVE-FILBERT SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, FOREST GROVE: 115KV SOUTH MAIN BUS | LOAD, SOA, NOPE
136 | 24-03059 | 15079175 | 07/18/2024 09:00 | 07/18/2024 10:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 |  | GEN, NOH, WOCN
137 | 24-03061 | 15079212 | 07/18/2024 10:00 | 07/18/2024 11:00 | GRAND COULEE: PCB 2492, GRAND COULEE: PCB 2496 |  | GEN, NOH, WOCN
138 | 23-03283 | 12971216 | 07/19/2024 07:01 | 07/19/2024 16:00 | WHITE BLUFFS: 115KV MAIN BUS SECTION 2 INCLUDING PCB B-215 | WHITE BLUFFS: 115KV MAIN BUS SECTION 2, WHITE BLUFFS: 115KV MAIN BUS SECTION 2 INCLUDING PCB B-215, WHITE BLUFFS: PCB B-215, WHITE BLUFFS: PCB B-263, WHITE BLUFFS-451B NO 1 115KV LINE, WHITE BLUFFS: PCB B-1362, WHITE BLUFFS: CAP GROUP 1, WHITE BLUFFS: PCB B-271, WHITE BLUFFS-SAND HILL CRANE SECTION OF WHITE BLUFFS-RICHLAND NO 1 115KV LINE | TCLA, LOAD, GEN
139 | 24-09374 |  | 07/19/2024 08:00 | 07/19/2024 15:00 | FOREST GROVE - FILBERT SECTION OF FOREST GROVE - MCMINNVILLE NO 1 115KV LINE INCLUDING FOREST GROVE 115KV AUX BUS
140 | 24-09383 | 15792888 | 07/19/2024 10:00 | 07/19/2024 13:00 | SNIPES-ACORD SECTION OF THE GRANDVIEW-RED MOUNTAIN #1 115 KN LINE INCLUDING THE CHANDLER TAP
141 | 24-04992 |  | 07/21/2024 10:00 | 07/26/2024 16:30 | SANTIAM-WREN SECTION OF SANTIAM-TOLEDO NO 1 230KV LINE |  | LOAD, SCORC
142 | 24-00888 | 14489200 | 07/21/2024 22:00 | 07/26/2024 19:00 | GRAND COULEE: PCB 2092 | GRAND COULEE: PCB 2092 | GEN, NOH, WOCN
143 | 23-00115 | 11597761 | 07/21/2024 22:00 | 07/21/2024 22:30 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2092, GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
144 | 23-16490 | 14491243 | 07/22/2024 05:00 | 07/23/2024 19:00 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GRAND COULEE: PCB 1992, GRAND COULEE: PCB 1996 | GEN, NOH, WOCN
145 | 24-04469 | 15232781 | 07/22/2024 07:00 | 07/26/2024 14:00 | GARRISON-TAFT NO 1 500KV LINE | GARRISON-TAFT NO 1 500KV LINE, GARRISON: PCB 4415, GARRISON: PCB 4418, GARRISON: HSGS 7885, TAFT: HSGS 7879, TAFT: PCB 4114, TAFT: PCB 4119 | MT-NW, SIG, WOH
146 | 24-03805 | 15163415 | 07/22/2024 07:00 | 07/26/2024 14:00 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4461 | GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4461, GARRISON: PCB 4461, GARRISON: TAFT 1 500KV LINE SERIES CAP GROUP 1 | MT-NW
147 | 24-09852 | 15845945 | 07/22/2024 07:00 | 07/22/2024 14:00 | TARGHEE: LBD B-1431 INCLUDING 115KV CAP GROUP 2 | TARGHEE: LBD B-1431, TARGHEE: 115KV CAP GROUP 2 | LOAD
148 | 24-07550 | 15559222 | 07/22/2024 07:00 | 07/23/2024 15:00 | GARRISON: PCB A-877 | GARRISON: 230KV AUX BUS
149 | 24-05002 | 15358083 | 07/22/2024 07:00 | 07/25/2024 16:30 | EUGENE-LANE NO 1 115KV LINE | EUGENE-LANE NO 1 115KV LINE | EWEB
150 | 24-08741 | 15697353 | 07/22/2024 07:00 | 07/23/2024 16:00 | WHATCOM PUD - REFINERY-76W SECTION OF BELLINGHAM-REFINERY 115KV LINE INCLUDING REFINERY: PCB'S 5513, 5514 AND PCB 5516 | REFINERY: PCB 5513, REFINERY: PCB 5514, REFINERY: PCB 5516, REFINERY-76W SECTION OF BELLINGHAM-REFINERY 115KV LINE | SOC/NOEL
151 | 24-00458 | 14160770 | 07/22/2024 07:30 | 08/01/2024 16:00 | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE | NORTH BONNEVILLE-TROUTDALE NO 1 230KV LINE, TROUTDALE: PCB A-122, NORTH BONNEVILLE: PCB A-2 | GEN, LOAD, WOCS, FCRPS
152 | 24-07805 | 15577687 | 07/22/2024 07:30 | 07/26/2024 16:30 | KEELER-OREGON CITY NO 2 115KV LINE |  | LOAD, SOA, NOPE
153 | 24-02700 | 14986953 | 07/22/2024 08:00 | 07/25/2024 15:00 | GRIZZLY: PCB 5037 | GRIZZLY: PCB 5037 | NWACI
154 | 24-00092 |  | 07/22/2024 08:00 | 08/30/2024 16:00 | -PGE- BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE | BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE, -PGE- BETHEL (PGE)-MONITOR-MCLOUGHLIN 230KV LINE | SOA, NOPE, NWACI, WOCS
155 | 24-05402 | 15308317 | 07/22/2024 08:00 | 08/02/2024 15:00 | COWLITZ: B-340 TERMINAL OF THE COWLITZ-COLUMBIA WAY 115KV FEEDER | COWLITZ: B-340 TERMINAL OF THE COWLITZ-COLUMBIA WAY 115KV FEEDER, COWLITZ: PCB B-340, COWLITZ: COWLITZ CO PUD 115KV FEEDER 2 | SOA
156 | 24-02032 | 14840214 | 07/22/2024 08:00 | 07/22/2024 15:00 | HOOD RIVER: PCB B-1678 | HOOD RIVER: PCB B-1678, HOOD RIVER-THE DALLES NO 1 115KV LINE | WOCS, FCRPS, GEN
157 | 24-02010 | 14848381 | 07/22/2024 08:00 | 07/26/2024 15:00 | DIAMOND LAKE-ALBENI FALLS SECTION OF SACHEEN-ALBENI FALLS NO 1 115KV LINE | DIAMOND LAKE-ALBENI FALLS SECTION OF SACHEEN-ALBENI FALLS NO 1 115KV LINE
158 | 24-08999 | 15800888 | 07/22/2024 08:00 | 07/26/2024 15:00 | CARLTON-TILLAMOOK NO 1 230KV LINE |  | LOAD, SOA, NOPE, NWACI
159 | 24-01500 | 14942119 | 07/22/2024 08:30 | 07/25/2024 16:00 | ALLSTON-DRISCOLL NO 1 230KV LINE | ALLSTON-DRISCOLL NO 1 230KV LINE | LOAD, SOA, NOPE
160 | 24-01219 | 14881375 | 07/22/2024 09:30 | 07/25/2024 15:00 | SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4266 | SYCAN: PCB 4266, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 INCLUDING PCB 4266, SYCAN: GRIZZLY-CAPTAIN JACK 1 500KV LINE SERIES CAP GROUP 1 | NWACI
161 | 24-03836 | 15497991 | 07/23/2024 08:00 | 07/23/2024 16:00 | FILBERT-WALNUT CITY SECTION OF THE FOREST GROVE-MCMINNVILLE #1 115KV LINE INCLUDING THE CARLTON TAP | CARLTON: PCB B-131, FILBERT-CARLTON SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, CARLTON-WALNUT CITY SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, CARLTON TAP TO FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, FOREST GROVE: PCB B-1286, FOREST GROVE-FILBERT SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE, FILBERT TAP TO FOREST GROVE-MCMINNVILLE NO 1 115KV LINE
162 | 23-16507 | 14491264 | 07/24/2024 05:00 | 07/25/2024 19:00 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GRAND COULEE: PCB 2192, GRAND COULEE: PCB 2196 | GEN, NOH, WOCN
163 | 24-07875 | 15608742 | 07/24/2024 07:00 | 07/24/2024 12:00 | JONES CANYON: PCB A-1644 |  | WOCS
164 | 24-08743 | 15697301 | 07/24/2024 07:00 | 07/25/2024 16:00 | WHATCOM PUD - TERRELL-REFINERY 115KV LINE INCLUDING REFINERY: PCB'S 5515, 5516 AND PCB 5507 | REFINERY: PCB 5515, REFINERY: PCB 5516, REFINERY: PCB 5507, TERRELL-REFINERY 115KV LINE | SOC/NOEL
165 | 24-03970 | 15189565 | 07/24/2024 08:00 | 07/24/2024 16:00 | NASELLE: PCB B-1717 INCLUDING THE 115KV AUX BUS AND NASELLE-HAGEN SECTION OF NASELLE-TARLETT NO 2 115KV LINE | NASELLE-HAGEN SECTION OF NASELLE-TARLETT NO 2 115KV LINE, NASELLE: PCB B-1717 INCLUDING THE 115KV AUX BUS AND NASELLE-HAGEN SECTION OF NASELLE-TARLETT NO 2 115KV LINE , NASELLE: PCB B-1717, NASELLE: 115KV AUX BUS
166 | 24-05070 | 15711300 | 07/24/2024 08:00 | 07/25/2024 15:00 | FAIRMOUNT: PCB A-1625 |  | RP
167 | 24-07879 |  | 07/24/2024 12:00 | 07/25/2024 16:00 | JONES CANYON: 230KV CAP GROUP 1 SECTION 2 INCLUDING PCB A-1689 | JONES CANYON: PCB A-1689 | WOCS
168 | 24-08744 | 15697297 | 07/25/2024 07:00 | 07/26/2024 16:00 | WHATCOM PUD - REFINERY PCB 5514 AND PCB 5515 | REFINERY: PCB 5514, REFINERY: PCB 5515 | SOC/NOEL
169 | 24-01316 | 14886718 | 07/25/2024 08:00 | 07/25/2024 18:00 | JOHN DAY: 500KV EAST BUS INCLUDING PCBS 4137 & 4155 | JOHN DAY: PCB 4137, JOHN DAY: PCB 4155, JOHN DAY: 500KV EAST BUS | NWACI, WOJD, PDCI
170 | 24-02738 | 15213746 | 07/25/2024 08:00 | 07/25/2024 15:00 | CHENOWETH: QUENETT CREEK-CHENOWETH 2 230KV LINE INCLUDING CHENOWETH 230/115/13.8KV TRANSFORMER BANK 2, CHENOWETH PCB B-1208 AND QUENETT CREEK PCBs A-1924 AND A-1927 | CHENOWETH: QUENETT CREEK-CHENOWETH 2 230KV LINE INCLUDING CHENOWETH 230/115/13.8KV TRANSFORMER BANK 2, CHENOWETH PCB B-1208 AND QUENETT CREEK PCBs A-1924 AND A-1927, QUENETT CREEK-CHENOWETH NO 2 230KV LINE, CHENOWETH: 230/115KV TRANSFORMER 2, CHENOWETH: PCB B-1208, QUENETT CREEK: PCB A-1924, QUENETT CREEK: PCB A-1927 | BGEDY, WOM, GEN, NWACI
171 | 24-02741 | 15213699 | 07/25/2024 12:00 | 07/25/2024 13:00 | CHENOWETH: PCB B-1214 | CHENOWETH: PCB B-1214, CHENOWETH: 115KV AUX BUS
172 | 24-02148 | 14849021 | 07/25/2024 12:00 | 07/25/2024 12:30 | THE DALLES PH-BIG EDDY NO 1 115KV LINE | THE DALLES PH-BIG EDDY NO 1 115KV LINE | GEN, SOA, FCRPS, NOPE
173 | 24-03757 | 15142927 | 07/25/2024 16:00 | 07/25/2024 17:00 | RAVER: PCB 4311 | RAVER: PCB 4311 | NOEL, RP, SOC, WOCN
174 | 24-01317 | 14886903 | 07/25/2024 18:00 | 09/18/2024 15:00 | JOHN DAY: MOD 4154 INCLUDING PCB 4155 | JOHN DAY: PCB 4155 | NWACI, WOJD, PDCI
175 | 24-05159 |  | 07/27/2024 08:00 | 07/27/2024 15:00 | HOOD RIVER: 115KV MAIN BUS INCLUDING FUTURE PCB B-1682 | HOOD RIVER-THE DALLES NO 1 115KV LINE, BONNEVILLE PH 1-HOOD RIVER NO 1 115KV LINE, HOOD RIVER-HOOD RIVER ELEC COOP NO 1 12.5KV FDR, HOOD RIVER: 115/12.5KV TRANSFORMER 1, HOOD RIVER: 115KV MAIN BUS | WOCS, FCRPS, GEN, LOAD
176 | 24-00889 | 14489241 | 07/28/2024 22:00 | 08/02/2024 19:00 | GRAND COULEE: PCB 2096 | GRAND COULEE: PCB 2096 | GEN, NOH, WOCN
177 | 24-06036 |  | 07/29/2024 06:30 | 08/01/2024 16:30 | HILLS CREEK: B-1490 TERMINAL OF THE HILLS CREEK LOOKOUT POINT # 1 115KV LINE | HILLS CREEK-OAKRIDGE SECTION OF HILLS CREEK-LOOKOUT POINT NO 1 115KV LINE
178 | 24-03806 | 15190866 | 07/29/2024 07:00 | 08/01/2024 14:00 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4458 | GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 INCLUDING PCB 4458, GARRISON: TAFT 2 500KV LINE SERIES CAP GROUP 2 | MT-NW
179 | 24-09241 |  | 07/29/2024 07:00 | 07/30/2024 17:00 | ICE HARBOR-FRANKLIN NO 3 115KV LINE | LEVEY: FRANKLIN CO PUD 115KV FEEDER 1, ELTOPIA: BIG BEND COOP 115KV FEEDER 1 BY FRANKLIN CO PUD, ICE HARBOR-LEVEY SECTION OF ICE HARBOR-FRANKLIN NO 3 115KV LINE, LEVEY-FRANKLIN SECTION OF ICE HARBOR-FRANKLIN NO 3 115KV LINE, LEVEY TAP TO ICE HARBOR-FRANKLIN NO 3 115KV LINE | GEN, TCLA
180 | 24-05005 | 15358121 | 07/29/2024 07:00 | 07/31/2024 16:30 | EUGENE-LANE NO 1 115KV LINE | EUGENE-LANE NO 1 115KV LINE | EWEB
181 | 24-07687 | 15576917 | 07/29/2024 07:00 | 08/01/2024 16:00 | BELL-MEAD SECTION OF BELL-ADDY NO 1 115KV LINE
182 | 24-06329 |  | 07/29/2024 07:00 | 08/02/2024 14:00 | LIBBY-HASKILL SECTION OF LIBBY-CONKELLEY NO 1 230KV LINE |  | MT-NW, GEN, FLAT
183 | 24-09378 |  | 07/29/2024 07:00 | 07/31/2024 15:00 | EUGENE-ALVEY NO 2 115KV LINE |  | EWEB
184 | 24-03626 | 15643072 | 07/29/2024 07:00 | 07/29/2024 16:00 | BOARDMAN-B-1103 SECTION OF THE BOARDMAN-ALKALI NO 1 115KV LINE | BOARDMAN: PCB B-1102, BOARDMAN-HORN BUTTE SECTION OF BOARDMAN-ALKALI NO 1 115KV LINE, ALKALI: COLUMBIA BASIN 115KV FEEDER 1
185 | 24-05935 | 15364816 | 07/29/2024 07:30 | 07/29/2024 16:00 | LONGVIEW-COWLITZ NO 1 115KV LINE INCLUDING COWLITZ PCB'S B-200, B-343 AND 115 KV AUX BUS | LONGVIEW-COWLITZ NO 1 115KV LINE, COWLITZ: PCB B-200, COWLITZ: PCB B-343, COWLITZ: 115KV AUX BUS, LONGVIEW: PCB B-324 | PA, SOA
186 | 24-05855 | 15356474 | 07/29/2024 07:30 | 09/05/2024 11:00 | WAPA - OLINDA-TRACY 500KV LINE SHUNT REACTOR KT8A | WAPA - OLINDA-TRACY 500KV LINE SHUNT REACTOR KT8A | COI
187 | 24-01463 | 15147852 | 07/29/2024 08:00 | 07/29/2024 15:00 | DWORSHAK: PCB 4652 | DWORSHAK: PCB 4652 | MT-NW
188 | 24-09535 |  | 07/29/2024 08:00 | 08/02/2024 16:30 | UNDERWOOD-ALCOA SECTION OF BONNEVILLE PH 1-ALCOA NO 1&2 115KV LINE | ALCOA: PCB B-234, ALCOA: PCB B-236, UNDERWOOD: PCB B-1521 | GEN, WOCS, FCRPS, LOAD, SOA, NOPE
189 | 24-03685 | 15184693 | 07/29/2024 08:00 | 08/03/2024 15:00 | ALLSTON-DRISCOLL NO 1 230KV LINE | ALLSTON-DRISCOLL NO 1 230KV LINE | LOAD, SOA, NOPE
190 | 24-02648 | 14981590 | 07/29/2024 08:00 | 08/01/2024 15:00 | GRIZZLY: PCB 5034 | GRIZZLY: PCB 5034 | NWACI
191 | 24-00443 | 14406479 | 07/29/2024 08:00 | 08/17/2024 15:00 | ASHE: REACTOR 2 INCLUDING PCB 4909 | ASHE: 500KV REACTOR 2, ASHE: REACTOR 2 INCLUDING PCB 4909, ASHE: PCB 4909 | NWACI, FCRPS, NOH
192 | 24-09533 |  | 07/29/2024 08:00 | 08/02/2024 16:30 | SIFTON-ROSS NO 1 115KV LINE | SIFTON: PCB B-1508, ROSS: PCB B-6 | SOA, WOCS
193 | 24-00495 | 15233221 | 07/30/2024 08:00 | 08/01/2024 15:00 | MALIN: 500 KV REACTOR 2 INCLUDING PCB 4037 | MALIN: 500 KV REACTOR 2 INCLUDING PCB 4037, MALIN: 500KV REACTOR 2, MALIN: PCB 4037 | COI, NWACI
194 | 24-01483 | 15147879 | 07/30/2024 08:00 | 07/30/2024 15:00 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, INCLUDING PCB 4765 | DWORSHAK: TAFT 1 500KV LINE SERIES CAP GROUP 1, DWORSHAK: PCB 4765, INCLUDING PCB 4765 | MT-NW, WOH, WOLM
195 | 24-05074 | 15711341 | 07/30/2024 08:00 | 07/30/2024 15:00 | FAIRMOUNT: 230KV REACTOR 1 INCLUDING PCB A-1634 | FAIRMOUNT: PCB A-1634, FAIRMOUNT: 230KV REACTOR 1 | LOAD, RP
196 | 24-02158 | 15197646 | 07/30/2024 08:00 | 07/30/2024 10:30 | NASELLE: 115KV AUX BUS INCLUDING PACIFIC COUNTY PUD 115KV FEEDER #1 AND 115KV CAP GROUP 1, SECTION 1,2 & 3 | NASELLE: 115KV AUX BUS, NASELLE: 115KV AUX BUS INCLUDING PACIFIC COUNTY PUD 115KV FEEDER #1 AND 115KV CAP GROUP 1, SECTION 1,2 & 3, NASELLE: PACIFIC CO PUD 115KV FEEDER 1, NASELLE: 115KV CAP GROUP 1 SECTION 1, NASELLE: 115KV CAP GROUP 1 SECTION 2, NASELLE: 115KV CAP GROUP 1 SECTION 3
197 | 24-02428 | 15198031 | 07/30/2024 11:00 | 07/30/2024 14:00 | NASELLE: 115KV MAIN BUS INCLUDING PACIFIC COUNTY PUD 115KV FEEDER 1, PCB'S B-1711, B-1715, B-1717, B-1716, B-1721, 115KV STATION SERVICE TRANSFORMER AND 115KV CAP GROUP 1, SECTIONS 1,2&3 | NASELLE: 115KV MAIN BUS, NASELLE: 115KV MAIN BUS INCLUDING PACIFIC COUNTY PUD 115KV FEEDER 1, PCB'S B-1711, B-1715, B-1717, B-1716, B-1721, 115KV STATION SERVICE TRANSFORMER AND 115KV CAP GROUP 1, SECTIONS 1,2&3, NASELLE: PACIFIC CO PUD 115KV FEEDER 1, NASELLE: PCB B-1711, NASELLE: PCB B-1715, NASELLE: PCB B-1716, NASELLE: PCB B-1717, NASELLE: PCB B-1721, NASELLE: 115KV CAP GROUP 1 SECTION 1, NASELLE: 115KV CAP GROUP 1 SECTION 2, NASELLE: 115KV CAP GROUP 1 SECTION 3 | LOAD
| 24-02429 | 15225862 | 07/30/2024 14:00 | 08/01/2024 15:00 | NASELLE: 115KV MAIN BUS INCLUDING PCB'S B-1711, B-1715, B-1717, B-1716, B-1721, 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 AND 115KV STATION SERVICE TRANSFORMER | NASELLE: 115KV MAIN BUS, NASELLE: 115KV MAIN BUS INCLUDING PCB'S B-1711, B-1715, B-1717, B-1716, B-1721, 115KV CAP GROUP 1 SECTIONS 1, 2, & 3 AND 115KV STATION SERVICE TRANSFORMER, NASELLE: PCB B-1711, NASELLE: PCB B-1715, NASELLE: PCB B-1716, NASELLE: PCB B-1717, NASELLE: PCB B-1721, NASELLE: 115KV CAP GROUP 1 SECTION 1, NASELLE: 115KV CAP GROUP 1 SECTION 2, NASELLE: 115KV CAP GROUP 1 SECTION 3 | LOAD
| 24-05076 | 15711328 | 07/31/2024 08:00 | 07/31/2024 15:00 | FAIRMOUNT: PCB A-1613 |  | RP
| 24-00072 |  | 07/31/2024 09:00 | 07/31/2024 15:00 | MCMINNVILLE: PCB B-666 | WALNUT CITY-MCMINNVILLE SECTION OF FOREST GROVE-MCMINNVILLE NO 1 115KV LINE | LOAD
| 24-01413 |  | 07/31/2024 22:00 | 08/01/2024 06:00 | PRIEST RIVER: 115/34.5KV TRANSFORMER 1 INCLUDING PCB L-188 | PRIEST RIVER: 115/34.5KV TRANSFORMER 1, PRIEST RIVER: NORTHERN LIGHTS 34.5KV FEEDER 1, PRIEST RIVER: 34.5KV PCB L-188