## Request List
Row | Request# | CAISO# | Start | End | Main Element Impacted | Elements Involved | Path Affected
1 | 21-01711 | 9741845 | 02/03/2021 09:00 | 02/28/2030 17:00 | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV) | -USBR- GRAND COULEE 287/230KV TRANSFORMER KX-17-A (OLYMPIA-GRAND COULEE NO 1 287KV LINE OPERATING AT 230KV), OLYMPIA: 287/230KV TRANSFORMER 3, GRAND COULEE: 287/230KV TRANSFORMER 1 | NOEL, PA, RP, SOC, WOCN, IROL, NOH, OKLA
2 | 22-17044 | 13262318 | 11/16/2022 14:00 | 11/16/2024 19:00 | (EWEB) CURRIN: PCB'S 4590 & 4584 | (EWEB) CURRIN: PCB'S 4590 & 4584, CURRIN: PCB 4590, CURRIN: PCB 4584, CURRIN-OAKWAY-WILLAMETTE 115KV LINE | EWEB
3 | 23-04125 | 13016840 | 01/28/2023 17:00 | 09/30/2026 23:59 | ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV | ROCKY REACH: 345/230KV TRANSFORMER 1, ROCKY REACH-MAPLE VALLEY NO 1 345kV LINE OPERATING AT 230KV, MAPLE VALLEY: 345/230KV TRANSFORMER 1 | WOCN, SOC/NOEL, CI, GEN, IROL, NOEL, NOH, SOC
4 | 23-01684 | 11460660 | 02/03/2023 15:30 | 12/15/2024 09:00 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | PG&E -TABLE MOUNTAIN: ROUND MOUNTAIN 1 500KV LINE SERIES CAP 1 | COI, NWACI
5 | 23-03222 | 11461724 | 02/10/2023 18:30 | 12/15/2024 09:00 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | PG&E- TABLE MOUNTAIN: ROUND MOUNTAIN 500KV LINE SERIES CAP GROUP 2 | NWACI, COI
6 | 23-15950 |  | 10/03/2023 08:00 | 07/31/2026 16:00 | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2) | TPWR - NORTHEAST: PCB 20-10 (230/115KV BANK 2), TACOMA-TPWR NORTHEAST NO 2 230KV LINE | RP
7 | 23-18445 | 14853282 | 12/14/2023 06:40 | 03/31/2025 16:00 | BCH - CHAPMAN: 5CX1 | BCH - CHAPMAN: 5CX1 | NI
8 | 24-03188 | 15061704 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125 | ECHO LAKE: 500KV CAP GRP 1 INCLUDING PCB 5125, ECHO LAKE: PCB 5125, ECHO LAKE: 500KV CAP GROUP 1 | BCHT, BCHW, NOEL, SOC, WOCN, NI, IROL
9 | 24-03190 | 15142411 | 01/15/2024 18:00 | 01/31/2025 15:00 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127 | ECHO LAKE: 500KV CAP GRP 2 INCLUDING PCB 5127, ECHO LAKE: PCB 5127, ECHO LAKE: 500KV CAP GROUP 2 | BCHT, NOEL, SOC, WOCN, NI, BCHW, IROL
10 | 24-03472 |  | 01/22/2024 08:00 | 06/22/2025 15:00 | MALIN: PG&E ROUND MOUNTAIN 1 500KV SERIES CAP GRP SEGMENT 1 and 2
11 | 24-01319 | 14881568 | 09/19/2024 16:00 | 11/14/2024 15:00 | JOHN DAY: PCB 4164 INCLUDING MOD 4163 | JOHN DAY: PCB 4164, JOHN DAY: PCB 4164 INCLUDING MOD 4163 | NWACI, WOJD, PDCI
12 | 24-05901 | 15358908 | 10/01/2024 08:00 | 01/30/2025 16:00 | WAPA - TRACY: 500KV SHUNT CAPACITOR PT10A & PT10B | WAPA - TRACY: 500KV SHUNT CAPACITOR PT10A & PT10B | COI
13 | 24-06620 | 15443654 | 10/03/2024 08:00 | 11/18/2024 17:00 | ROSS-ST JOHNS NO 1 230KV LINE |  | LOAD, SOA, NOPE
14 | 24-06621 | 15443578 | 10/03/2024 08:00 | 11/18/2024 17:00 | ROSS-RIVERGATE NO 1 230KV LINE |  | LOAD, SOA, NOPE
15 | 24-00004 | 10955457 | 10/13/2024 22:00 | 11/14/2024 17:00 | -USBR- GRAND COULEE: PCB 5382 | -USBR- GRAND COULEE: PCB 5382 | NOH, WOCN, COI, NWACI, PDCI
16 | 24-02802 | 15226281 | 10/15/2024 07:30 | 11/14/2024 15:00 | ALVEY: 230/115KV TRANSFORMER BK 3 INCLUDING: PCBs A-242, B-584, 13.2KV STATION SERVICE PCB 16W, 13.2KV TERTIARY BUS, 13.2KV REGULATED BUS, 13.2KV-240V 3-PHASE STATION SERVICE TRANSFORMER, AND 13.2KV-120/240V 1-PHASE STATION SERVICE LIGHTING TRANSFORMER | ALVEY: 230/115KV TRANSFORMER BK 3 INCLUDING: PCBs A-242, B-584, 13.2KV STATION SERVICE PCB 16W, 13.2KV TERTIARY BUS, 13.2KV REGULATED BUS, 13.2KV-240V 3-PHASE STATION SERVICE TRANSFORMER, AND 13.2KV-120/240V 1-PHASE STATION SERVICE LIGHTING TRANSFORMER, ALVEY: 230/115KV TRANSFORMER 3, ALVEY: PCB A-242, ALVEY: PCB B-584, ALVEY: 13.2KV PCB 16W STATION SERVICE | SCORC, EWEB, NWACI
17 | 24-05532 |  | 10/21/2024 07:00 | 11/01/2024 17:00 | DETROIT PH: 230/13.8KV BANK 2, DETROIT PH-DETROIT NO 2 230KV LINE | DETROIT PH: 230/13.8KV BANK 2, DETROIT PH-DETROIT NO 2 230KV LINE | GEN
18 | 24-00053 | 15359522 | 10/30/2024 08:00 | 01/30/2025 16:00 | WAPA - TRACY: 500KV SHUNT CAPACITOR PT8A & PT8B | WAPA - TRACY: 500KV SHUNT CAPACITOR PT8A & PT8B | COI
19 | 24-00047 | 12888891 | 11/01/2024 04:00 | 11/30/2024 20:00 | BIG EDDY-CELILO NO 1 500KV LINE, BIG EDDY-CELILO NO 2 500KV LINE, CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: GROUND SWITCH 7939 | BIG EDDY-CELILO NO 1 500KV LINE, BIG EDDY-CELILO NO 2 500KV LINE, CELILO-SYLMAR POLE NO 3 1000KV LINE, CELILO-SYLMAR POLE NO 4 1000KV LINE, CELILO: GROUND SWITCH 7939 | PDCI, SIG, COI, NWACI, BGEDY
20 | 23-00050 | 10793523 | 11/01/2024 07:00 | 11/04/2024 18:30 | HILLTOP-WARNER NO 1 230KV LINE | HILLTOP-WARNER NO 1 230KV LINE, WARNER: PCB B-165, WARNER: 230/115KV TRANSFORMER 1, HILLTOP: PCB A-1534, HILLTOP: PCB A-1525 | NWACI, RATS
21 | 24-02094 | 14839794 | 11/02/2024 06:00 | 11/03/2024 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER, DITTMER: RAS DC-A CONTROLLER, MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM
22 | 24-05207 |  | 11/02/2024 07:00 | 11/03/2024 19:00 | HOOD RIVER: 115KV MAIN BUS | HOOD RIVER: 115KV MAIN BUS, HOOD RIVER-THE DALLES NO 1 115KV LINE, BONNEVILLE PH 1-HOOD RIVER NO 1 115KV LINE, HOOD RIVER-PACIFICORP TUCKER FEED, HOOD RIVER: 115/12.5KV TRANSFORMER 1, HOOD RIVER: HOOD RIVER ELEC 12.5KV FEEDER 1 | LOAD, WOCS, FCRPS, GEN
23 | 24-01057 | 14702701 | 11/04/2024 06:30 | 11/14/2024 12:30 | THE DALLES PH: ZMT4 DSC | THE DALLES PH: 230/13.2KV BANK 4, THE DALLES PH: ZMT4 DSC, THE DALLES PH: 230/13.8KV TRANSFORMER T3
24 | 24-01058 | 14558696 | 11/04/2024 06:30 | 11/04/2024 07:00 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T3, THE DALLES PH: 230/13.8KV TRANSFORMER T4 | GEN, FCRPS
25 | 24-00984 | 14701073 | 11/04/2024 07:00 | 11/04/2024 16:00 | COYOTE SPRINGS: PCB 5193 | COYOTE SPRINGS: PCB 5193 | WOLM, WOM
26 | 24-00035 | 11345946 | 11/04/2024 07:00 | 11/08/2024 16:00 | HANFORD-WAUTOMA NO 2 500KV LINE | HANFORD-WAUTOMA NO 2 500KV LINE, HANFORD: PCB 4101, HANFORD: PCB 4104, WAUTOMA: PCB 5259, WAUTOMA: PCB 5262 | NOH, NWACI, PDCI, SIG, COI, WOM, WOS, WOCN
27 | 24-00975 | 15119584 | 11/04/2024 07:30 | 11/06/2024 15:30 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | CAPTAIN JACK: OLINDA 1 500KV LINE SERIES CAP GROUP 1 | NWACI, COI
28 | 24-00801 | 14677709 | 11/04/2024 07:30 | 11/05/2024 15:00 | MORROW FLAT: PCB A-1871 BFR | MORROW FLAT: PCB A-1871, MORROW FLAT: PCB A-1871 BFR
29 | 24-00103 | 13140986 | 11/05/2024 06:30 | 11/05/2024 07:00 | MALIN-HILLTOP NO 1 230KV LINE | MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI
30 | 24-00068 | 12851260 | 11/05/2024 07:00 | 11/06/2024 16:00 | CANBY-HILLTOP SECTION OF MALIN-HILLTOP NO 1 230KV LINE | CANBY-HILLTOP SECTION OF MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI
31 | 24-00994 | 14701091 | 11/05/2024 07:00 | 11/07/2024 16:00 | SLATT: PCB 5021 | SLATT: PCB 5021 | WOJD
32 | 24-00104 | 13166525 | 11/06/2024 16:00 | 11/06/2024 16:30 | MALIN-HILLTOP NO 1 230KV LINE | MALIN-HILLTOP NO 1 230KV LINE | RATS, NWACI
33 | 24-04049 | 15161580 | 11/07/2024 08:30 | 11/07/2024 15:00 | SOUTH TACOMA: PCB A-1090 | SOUTH TACOMA: PCB A-1090 | RP
34 | 24-04051 | 15161571 | 11/07/2024 08:30 | 11/07/2024 15:00 | SOUTH TACOMA: PCB A-1087 | SOUTH TACOMA: PCB A-1087 | RP
35 | 24-02095 | 14839819 | 11/09/2024 06:00 | 11/09/2024 23:00 | RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS WS-A CONTROLLER, RAS - DITTMER: RAS WS-A CONTROLLER AND MUNRO: RAS WS-B CONTROLLER (ALTERNATE DATE), MUNRO: RAS WS-B CONTROLLER | BCHT, BCHW, NI, NOEL, RP, SIG, SOA, SOC, COI, NWACI, PDCI, NOPE
36 | 24-02096 | 14839836 | 11/10/2024 06:00 | 11/10/2024 23:00 | RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER (ALTERNATE DATE) | DITTMER: RAS DC-A CONTROLLER, RAS - DITTMER: RAS DC-A CONTROLLER AND MUNRO: RAS DC-B CONTROLLER (ALTERNATE DATE), MUNRO: RAS DC-B CONTROLLER | SIG, COI, NOH, NWACI, PDCI, WOM, WOS, NI, WOJD, WOLM
37 | 24-00989 | 14701103 | 11/12/2024 07:00 | 11/13/2024 16:00 | MCNARY: PCB 5199 | MCNARY: PCB 5199 | WOM, WOS
38 | 24-00036 | 11350942 | 11/12/2024 07:00 | 11/15/2024 16:00 | LOWER MONUMENTAL-ASHE NO 1 500KV LINE, LOWER MONUMENTAL-ASHE NO 1 500KV LINE | ASHE: PCB 5324, LOWER MONUMENTAL-ASHE NO 1 500KV LINE, LOWER MONUMENTAL-ASHE NO 1 500KV LINE, ASHE: PCB 5327, LOWER MONUMENTAL: PCB 4599, LOWER MONUMENTAL: PCB 4676 | GEN, NWACI, COI, FCRPS, PDCI, SIG, WOLM
39 | 24-03229 | 15417738 | 11/12/2024 08:00 | 11/22/2024 15:00 | CONDON-FOSSIL SECTION OF DE MOSS-FOSSIL NO 1 115KV LINE |  | BGEDY
40 | 24-01059 | 14558703 | 11/14/2024 12:00 | 11/14/2024 12:30 | THE DALLES PH-BIG EDDY NO 3 230KV LINE | THE DALLES PH-BIG EDDY NO 3 230KV LINE, THE DALLES PH: 230/13.8KV TRANSFORMER T3, THE DALLES PH: 230/13.8KV TRANSFORMER T4 | GEN, FCRPS
41 | 24-00996 |  | 11/18/2024 07:00 | 11/20/2024 16:00 | SLATT: PCB 5003 | SLATT: PCB 5003 | GEN, NWACI
42 | 24-00426 | 14701247 | 11/18/2024 08:00 | 11/20/2024 15:00 | WAUTOMA: PCB 5247 | WAUTOMA: PCB 5247 | WOCN
43 | 24-03962 | 15377120 | 11/18/2024 08:00 | 11/21/2024 15:00 | ECHO LAKE: PCB 5111 | Echo Lake: PCB 5111 BFR | BCHT, BCHW, NOEL, SOC, NI, WOCN
44 | 24-01047 | 14701261 | 11/19/2024 23:00 | 11/21/2024 23:00 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GRAND COULEE: PCB 2292, GRAND COULEE: PCB 2296 | GEN, NOH, WOCN
45 | 24-06130 |  | 11/21/2024 14:30 | 11/21/2024 15:00 | ECHO LAKE: 500KV NORTH BUS LOR, PCB 5111 BFR
46 | 24-01048 | 14702362 | 11/21/2024 23:00 | 11/23/2024 23:00 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GRAND COULEE: PCB 2392, GRAND COULEE: PCB 2396 | GEN, NOH, WOCN
47 | 24-02232 | 15023365 | 11/25/2024 08:00 | 11/25/2024 10:00 | CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE OPERATING AT 230KV | CHIEF JOSEPH: 345/230KV TRANSFORMER 1, CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE OPERATING AT 230KV, SNOHOMISH: 345/230KV TRANSFORMER 5, CHIEF JOSEPH-SNOHOMISH NO 3 345KV LINE | NOEL, NOH, SOC, WOCN, FCRPS, NI, GEN, IROL
48 | 24-02794 |  | 11/25/2024 09:00 | 01/27/2025 14:00 | CHIEF JOSEPH: 345/230KV TRANSFORMER 1, CHIEF JOSEPH: 13.8KV PCB L-126 | CHIEF JOSEPH: 345/230KV TRANSFORMER 1, CHIEF JOSEPH: 13.8KV PCB L-126 | NOEL, NOH, SOC, WOCN, FCRPS, NI